By Duncan	H.B. No. 1991

A BILL TO BE ENTITLED

AN ACT

relating to the connection of residential or other private water systems to public water supplies in such a manner as to prevent backflow into the public water supply system; and providing a penalty.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1. Chapter 756 of the Health and Safety Code is amended by adding a new Subchapter E to read as follows:

SUBCHAPTER 3.  CONNECTION TO PUBLIC WATER SYSTEM.

Sec. 756.050.  Backflow Prevention; Approval by Health Authorities.

All connections to public water supply systems for residential or other use shall be made in such a way that all water received from the public water supply shall be consumed or discharged into an approved sewage disposal system and shall not be intentionally returned to the public water supply.  All such connections shall be approved by local and state health or water authorities.

Sec. 756.051.  Criminal Penalty.

A person commits an offense if the person violates Section 756.050, which offense shall be a Class C misdemeanor punishable by a fine not to exceed the maximum amount permissible for such offenses stated in the Texas Code of Criminal Procedure.  Each day of a continuing violation constitutes a separate offense.

SECTION 2.  EMERGENCY CLAUSE. The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.