By:  Earley	H.B. No. 2622

A BILL TO BE ENTITLED

AN ACT

relating to regulation of natural gas underground storage facilities; providing penalties.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1. Title 102, Revised Statutes, is amended by adding Article 6053-3 to read as follows:

Art. 6053-3.  UNDERGROUND STORAGE FACILITIES FOR NATURAL GAS

Sec. 1.  DEFINITIONS. In this article:

(1)  "Commission" means the Railroad Commission of Texas.

(2)  "Executive director" means the executive director of the commission.

(3)  "Natural gas" has the meaning assigned by Section 91.173, Natural Resources Code, and its subsequent amendments.

(4)  "Natural gas underground storage" means the storage of natural gas beneath the surface in a formation, strata, or reservoir.

(5)  "Storage facility" has the meaning assigned by Section 91.173, Natural Resources Code, and its subsequent amendments.

Sec. 2.  APPLICABILITY. This article does not apply to the storage of natural gas covered by the provisions of the Natural Gas Pipeline Safety Act of 1968 (49 U.S.C. Section 1671 et seq.) and its subsequent amendments or by Article 6053-1, Revised Statutes, and its subsequent amendments, or to the storage of a hazardous liquid governed under Chapter 117, Natural Resources Code, and its subsequent amendments.

Sec. 3.  JURISDICTION. Except as provided by Section 2 of this article, the commission has jurisdiction over natural gas underground storage and over surface and subsurface equipment and facilities used for natural gas underground storage.

Sec. 4.  SAFETY STANDARDS AND PRACTICES. (a)  The commission by rule shall adopt safety standards and practices for natural gas underground storage and storage facilities.  The standards and practices must:

(1)  require the installation and periodic testing of safety devices;

(2)  establish emergency notification procedures in the event of a release of natural gas from the facility if the owner or operator determines that the release poses a substantial risk to the public;

(3)  establish fire prevention and response procedures;

(4)  require employee safety training for the employees of the storage facility; and

(5)  establish other safety standards and practices that the commission finds are reasonable and necessary for underground natural gas storage and the safe construction, operation, and maintenance of storage facilities.

(b)  The commission shall require that records of tests of a safety device required by Subsection (a)(1) of this section be filed with the commission.

(c)  The commission may adopt different standards and practices for different types of storage facilities and may distinguish between natural gas underground storage in salt dome caverns, depleted reservoirs, and embedded salt formations.

(d)  The commission may grant an exception in a permit or amended permit issued to a storage facility to standards and practices adopted under this section if granting the exception does not constitute an unreasonable danger to the public.  The commission may impose additional standards and practices in a permit or amended permit issued to a storage facility.

(e)  The commission may require the owner or operator of a storage facility to prepare a safety procedure manual for each storage facility and file a copy of the manual with the commission or make the manual available for inspection under Section 6 of this article.

Sec. 5.  RECORDS AND REPORTS. (a)  An owner or operator of a storage facility shall:

(1)  maintain records and make reports relating to construction, operation, or maintenance of the facility as required by commission rule; and

(2)  provide any other information required by the commission relating to construction, operation, or maintenance of the facility.

(b)  The commission may provide forms for reports required under this section.

Sec. 6.  INSPECTION AND EXAMINATION OF FACILITY AND RECORDS. (a)  The commission may inspect a storage facility for compliance with the safety standards and practices adopted under Section 4 of this article and the record-keeping requirements adopted under Section 5 of this article.  To conduct the inspection, a commissioner or a designated employee or agent of the commission may enter property on which a storage facility is located at a reasonable time and in a reasonable manner to examine:

(1)  the facility and any related buildings or equipment; and

(2)  the records required to be maintained under Section 5 of this article.

(b)  Before entering the premises of a storage facility, a commissioner or an employee or agent of the commission must present to a person designated by the owner or operator of the storage facility identification demonstrating that the commissioner, employee, or agent is a commissioner or a designated employee or agent of the commission.

Sec. 7.  DAMAGE TO STORAGE FACILITY; DISABLING A SAFETY DEVICE. A person may not intentionally damage or destroy a storage facility and may not disable a safety device in a storage facility except to repair, maintain, or replace the device.

Sec. 8.  INJUNCTION; CIVIL PENALTY. (a)  The attorney general, at the request of the commission, shall institute a civil suit against a person who has violated or is violating this chapter or a rule adopted by the commission under this chapter for:

(1)  injunctive relief to restrain the person from the violation;

(2)  the assessment and recovery of a civil penalty for a violation; or

(3)  both injunctive relief and a civil penalty.

(b)  The penalty must be not less than $50 or more than $1,000 for each violation.

(c)  Each day of a continuing violation may be considered a separate violation for the purpose of penalty assessment.

(d)  The maximum penalty assessed for a related series of violations may not exceed $200,000.

Sec. 9.  ADMINISTRATIVE PENALTY. (a)  The commission may assess as provided by this section an administrative penalty against a person who violates this chapter or a rule or order adopted by the commission.

(b)  Except as provided by Subsection (c) of this section, the penalty for each violation may be in an amount not to exceed $1,000.  Each day a violation continues or occurs may be considered a separate violation for the purpose of penalty assessment.  The maximum penalty assessed for a related series of violations under this subsection may not exceed $200,000.

(c)  The penalty for each violation of Section 7 of this article may be in an amount not to exceed $25,000.  Each day a violation continues or occurs may be considered a separate violation for the purpose of penalty assessment.

(d)  In determining the amount of the penalty, the executive director shall consider:

(1)  the seriousness of the violation, including the nature, circumstances, extent, and gravity of the prohibited acts, and the hazard or potential hazard created to the health, safety, or economic welfare of the public;

(2)  the economic damage to property or the environment caused by the violation;

(3)  the history of previous violations;

(4)  the amount necessary to deter future violations;

(5)  efforts to correct the violation; and

(6)  any other matter that justice may require.

(e)  If, after investigation of a possible violation and the facts surrounding that possible violation, the executive director determines that a violation has occurred, the executive director may issue a violation report stating the facts on which the conclusion that a violation occurred is based, recommending that an administrative penalty under this section be imposed on the person charged, and recommending the amount of that proposed penalty.  The executive director shall base the recommended amount of the proposed penalty on the seriousness of the violation determined by consideration of the factors set forth in Subsection (d) of this section.

(f)  Not later than the 14th day after the date on which the report is issued, the executive director shall give written notice of the report to the person charged.  The notice shall include a brief summary of the charges, a statement of the amount of the penalty recommended, and a statement of the right of the person charged to a hearing on the occurrence of the violation or the amount of the penalty, or both the occurrence of the violation and the amount of the penalty.

(g)  Not later than the 20th day after the date on which notice is received, the person charged may accept the determination of the executive director made under Subsection (e) of this section, including the recommended penalty, or make a written request for a hearing on the determination.

(h)  If the person charged with the violation accepts the determination of the executive director, the commission shall issue an order approving the determination and ordering the payment of the recommended penalty.

(i)  If the person charged requests a hearing or does not timely respond to the notice, the executive director shall set a hearing and give notice of the hearing.  The hearing shall be held by a hearing examiner designated by the commission.  The commission may designate the State Office of Administrative Hearings to hold the hearing.  The hearing examiner shall make findings of fact and conclusions of law and promptly issue to the commission a proposal for decision as to the occurrence of the violation, including a recommendation as to the amount of the proposed penalty if a penalty is warranted.  Based on the findings of fact, conclusions of law, and recommendations of the hearing examiner, the commission by order may find that a violation has occurred and may assess a penalty or may find that no violation has occurred.  All proceedings under this subsection are subject to the Administrative Procedure and Texas Register Act (Article 6252-13a, Vernon's Texas Civil Statutes) and its subsequent amendments.

(j)  The executive director shall give notice of the commission's order to the person charged.  The notice shall include:

(1)  the findings of fact and conclusions of law separately stated;

(2)  the amount of the penalty ordered, if any;

(3)  a statement of the right of the person charged to judicial review of the commission's order, if any; and

(4)  other information required by law.

(k)  Not later than the 30th day after the date on which the commission's order becomes final as provided by Section 16(c), Administrative Procedure and Texas Register Act (Article 6252-13a, Vernon's Texas Civil Statutes), and its subsequent amendments, the person charged with the violation shall:

(1)  pay the amount of the penalty;

(2)  pay the amount of the penalty and file a petition for judicial review contesting either the amount of the penalty or the fact of the violation or both the amount of the penalty and the fact of the violation; or

(3)  without paying the amount of the penalty, file a petition for judicial review contesting the amount of the penalty, the fact of the violation, or both the amount of the penalty and the fact of the violation.

(l)  Within the 30-day period, a person who acts under Subsection (k)(3) of this section may:

(1)  stay the enforcement of the penalty by:

(A)  paying the amount of the penalty to the court for placement in an escrow account; or

(B)  giving to the court a supersedeas bond in a form approved by the court that is effective until all judicial review of the order or decision is final; or

(2)  request the court to stay enforcement of the penalty by:

(A)  filing with the court a sworn affidavit of the person stating that the person is financially unable to pay the amount of the penalty and is financially unable to give the supersedeas bond; and

(B)  delivering a copy of the affidavit to the executive director.

(m)  If the executive director receives a copy of an affidavit under Subsection (l) of this section the executive director may file with the court not later than the fifth day after the date the copy is received a contest to the affidavit.  The court shall hold a hearing on the facts alleged in the affidavit as soon as practicable.  The person who files an affidavit has the burden of proving that the person is financially unable to pay the amount of the penalty and to give a supersedeas bond.

(n)  If the person does not pay the amount of the penalty and the penalty is not stayed, the executive director may refer the matter to the attorney general for enforcement.

(o)  Judicial review of the order of the commission is:

(1)  instituted by filing a petition as provided by Section 19, Administrative Procedure and Texas Register Act (Article 6252-13a, Vernon's Texas Civil Statutes), and its subsequent amendments; and

(2)  under the substantial evidence rule.

(p)  If the person paid the amount of the penalty and if that amount is reduced or is not assessed by the court, the court shall order that the appropriate amount plus accrued interest be remitted to the person.  The rate of interest is the rate charged on loans to depository institutions by the New York Federal Reserve Bank and shall be paid for the period beginning on the date the penalty is paid and ending on the date the penalty is remitted.  If the person gave a supersedeas bond, the court shall order the release of the bond:

(1)  without further action by the person if the penalty is not assessed by the court; or

(2)  on payment of the penalty in the amount determined by the court.

(q)  A penalty collected under this section shall be remitted to the comptroller for deposit to the general revenue fund.

Sec. 10.  LIMITATION ON POWERS OF MUNICIPALITIES AND COUNTIES. A municipality or county may not adopt or enforce an ordinance that establishes safety standards or practices applicable to storage facilities that are subject to regulation under this article or another state or federal law.

SECTION 2. (a)  This Act takes effect September 1, 1993.

(b)  Not later than January 1, 1994, the Railroad Commission of Texas shall adopt rules and safety standards and practices required by Article 6053-3, Revised Statutes, as added by this Act.

(c)  This Act applies only to natural gas underground storage in storage facilities on or after January 1, 1994, including storage in facilities that commenced before January 1, 1994.  Natural gas underground storage in storage facilities before January 1, 1994, is governed by the law as it existed immediately before the effective date of this Act, and that law is continued in effect for that purpose.

SECTION 3. The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.