By:  Moncrief	S.B. No. 28

A BILL TO BE ENTITLED

AN ACT

relating to procedural and fire safety requirements relating to long-term care facilities licensed by the Texas Department of Health.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 242.039, Health and Safety Code, is amended to read as follows:

Sec. 242.039.  FIRE SAFETY REQUIREMENTS.  (a)  The board shall adopt rules consistent with the most current Life Safety Code of the National Fire Protection Association required by federal law and regulations necessary to establish the life safety requirements for institutions licensed under this chapter.

(b)  The board shall adopt the most current Life Safety Code required by federal law and regulations for a facility or a portion of a facility that is constructed after September 1, 1993.

(c)  The board shall adopt rules consistent with federal laws and regulations, including waivers, for a facility or a portion of a facility that was operating or approved for construction on or before September 1, 1993.

(d)  The board may not require more stringent standards than those required by federal law and regulation.  The rules adopted under this section may not prevent an institution licensed under this chapter from voluntarily conforming to fire safety standards that are higher than those adopted by the board or from voluntarily conforming to additional fire safety standards that are compatible with, equal to, or more stringent than those adopted by the board.

(d)  The board is the sole authority for setting fire safety standards in institutions licensed under this chapter.  The institutions may not be required by another agency or governmental jurisdiction to meet additional or conflicting fire safety standards.  [An institution licensed under this chapter shall comply with the 1985 edition of the Code for Safety to Life from Fire in Buildings and Structures, known as the Life Safety Code (Pamphlet No. 101) of the National Fire Protection Association.  The department shall determine which occupancy chapter of that code is applicable to an institution other than a nursing home or custodial care home.

[(b)  A nursing home or custodial care home or a portion of a home that was operating or approved for construction before September 1, 1987, must comply with the Life Safety Code provisions relating to existing construction.

[(c)  A nursing home or custodial care home or a portion of a home that is operating or approved for construction on or after September 1, 1987, must comply with the Life Safety Code provision relating to new construction.

[(d)  This section does not preclude an institution from conforming to a higher or additional fire safety standard or provision.]

SECTION 2.  Section 242.094, Health and Safety Code, is amended by adding Subsection (e) to read as follows:

(e)  Venue for actions brought under this section shall be in Travis County.

SECTION 3.  This Act takes effect September 1, 1993.

SECTION 4.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.