By:  Barrientos	S.B. No. 1180

A BILL TO BE ENTITLED

AN ACT

relating to the regulation of indoor air quality.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subtitle C, Title 5, Health and Safety Code, is amended by adding Chapter 384 to read as follows:

CHAPTER 384.  INDOOR AIR QUALITY ACT

SUBCHAPTER A.  GENERAL PROVISIONS

Sec. 384.001.  SHORT TITLE.  This chapter may be cited as the Texas Indoor Air Quality Act.

Sec. 384.002.  DEFINITIONS.  In this chapter:

(1)  "Air contaminant" means a gaseous, liquid, or solid substance or combination of substances that is in a form that is transported by or in air and has the potential to be detrimental to an environment and includes aerosols, dusts, fibers, microorganisms, fumes, mists, and smoke from sources other than tobacco products.

(2)  "Board" means the Texas Board of Health.

(3)  "Department" means the Texas Department of Health.

(4)  "Director" means the commissioner of the Texas Department of Health.

(5)  "Governmental entity" includes the state, a county, a municipality, a special district, a public school district, or any other political subdivision of the state.

(6)  "Indoor air pollution" means the presence, in an indoor environment, of one or more air contaminants in sufficient concentration and of sufficient duration to be capable of causing adverse effects to public health or welfare, animals, vegetation, or property.

(7)  "Public building" means a building owned or leased by a governmental entity that is used or intended for use for purposes that provide for public access and that are directly related to the activity of the governmental entity.

Sec. 384.003.  EXEMPTIONS.  This chapter does not apply to:

(1)  a federal building or installation;

(2)  the regulation of asbestos; or

(3)  the regulation of indoor air pollution resulting from the smoking of tobacco products or similar products.

[Sections 384.004 to 384.010 reserved for expansion]

SUBCHAPTER B.  POWERS AND DUTIES OF BOARD AND DEPARTMENT

Sec. 384.011.  DEPARTMENT AS PRINCIPAL AUTHORITY.  The department is the principal authority in this state on matters relating to indoor air pollution.

Sec. 384.012.  POWERS AND DUTIES OF BOARD.  (a)  The board by rule shall establish voluntary guidelines for indoor air quality in public buildings, including guidelines for ventilation and guidelines for indoor air pollution control systems.  The board shall adopt other rules as necessary to implement this chapter.

(b)  In establishing guidelines to achieve acceptable indoor air quality, the board shall consider:

(1)  the potential chronic effects of air contaminants on public health;

(2)  the potential effects on public health of insufficient ventilation in the indoor environment;

(3)  the potential costs of health care for the short-term and long-term effects on public health that may result from exposure to indoor air contaminants; and

(4)  the potential costs of compliance with a proposed guideline.

(c)  A guideline adopted under this chapter may include a contaminant concentration, a control method, a sampling method, a ventilation rate, design, or procedure, or a similar recommendation.

(d)  The guidelines adopted by the board may differ for different pollution sources or different areas of the state.

(e)  The board may prescribe the procedures and sampling methods to be used in compliance with guidelines of the board.

Sec. 384.013.  POWERS AND DUTIES OF DEPARTMENT.  (a)  The department shall administer and enforce this chapter in accordance with the rules of the board.

(b)  The department may:

(1)  collect and disseminate information on indoor air conditions;

(2)  conduct education and training programs relating to indoor air quality;

(3)  encourage voluntary cooperation of persons to achieve the purposes of this chapter;

(4)  assist persons in evaluating existing or potential health hazards from indoor air pollution, including health hazards from external sources that infiltrate the indoor environment and those from materials, processes, or human activities in the indoor environment;

(5)  advise persons about methods to control, remove, or minimize sources of indoor air contaminants; and

(6)  advise, consult, and cooperate on matters of common interest in indoor air quality with other agencies of the state, political subdivisions of the state, industries, other states, the federal government, and interested persons or groups.

Sec. 384.014.  ADVISORY COMMITTEE.  (a)  The board shall appoint an advisory committee to:

(1)  advise the board in the development of guidelines and procedures;

(2)  make recommendations to the board relating to the content of the rules adopted to implement this chapter; and

(3)  perform any other functions requested by the board in implementing and administering this chapter.

(b)  The advisory committee is composed of:

(1)  one person who represents an association of public building owners or an association of public building managers;

(2)  one person who represents an association of building materials manufacturers;

(3)  one architect who specializes in the construction of public buildings;

(4)  one professional engineer who specializes in the design of ventilation systems for public buildings;

(5)  one physician licensed to practice in this state;

(6)  one toxicologist;

(7)  one certified industrial hygienist; and

(8)  one public member and one licensed interior designer.

(c)  A person is not eligible for appointment as a public member if the person or the person's spouse:

(1)  is licensed by an occupational regulatory agency in the health care field;

(2)  is employed by a health care facility, corporation, or agency or by a corporation authorized to underwrite health care insurance;

(3)  governs or administers a health care facility, corporation, or agency;

(4)  has a financial interest, other than a consumer's interest, in a health care facility, corporation, or agency; or

(5)  would qualify for appointment under Subsections (b)(1)-(7).

(d)  An advisory committee member serves for a six-year term, with the terms of three members expiring on August 31 of each odd-numbered year.

(e)  A vacancy on the advisory committee is filled for the unexpired portion of the term in the same manner as other appointments to the advisory committee.

(f)  A member of the advisory committee is entitled to reimbursement for expenses incurred in performing duties under this chapter.  The reimbursement may not exceed the amount specified in the General Appropriations Act for travel and per diem allowances for state employees.

(g)  The advisory committee may elect a chairman, vice-chairman, and secretary from among its members and may adopt rules for the conduct of its own activities.

[Sections 384.015 to 384.050 reserved for expansion]

SUBCHAPTER C.  MUNICIPAL AUTHORITY

Sec. 384.051.  MUNICIPAL REGULATION.  (a)  A municipality by ordinance may adopt guidelines and standards for indoor air quality for the public buildings within its jurisdiction.

(b)  Standards established under this section must be compatible with and be at least as strict as the guidelines established by the board under this chapter.

(c)  A guideline or standard adopted by a municipality under this section does not apply to the state or a department, commission, board, institution, or other agency of the state.

SECTION 2.  In appointing the initial members of the advisory committee established by Section 384.014, Health and Safety Code, as added by this Act, the Texas Board of Health shall designate three members to serve terms expiring August 31, 1995, three members to serve terms expiring August 31, 1997, and three members to serve terms expiring August 31, 1999.

SECTION 3.  This Act takes effect September 1, 1993.

SECTION 4.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.