By:  Barrientos	S.B. No. 1180

A BILL TO BE ENTITLED

AN ACT

relating to the regulation of indoor air quality; providing civil penalties.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subtitle C, Title 5, Health and Safety Code, is amended by adding Chapter 384 to read as follows:

CHAPTER 384.  INDOOR AIR QUALITY ACT

SUBCHAPTER A.  GENERAL PROVISIONS

Sec. 384.001.  SHORT TITLE. This chapter may be cited as the Texas Indoor Air Quality Act.

Sec. 384.002.  DEFINITIONS. In this chapter:

(1)  "Air contaminant" means a gaseous, liquid, or solid substance or combination of substances that is in a form that is transported by or in air and has the potential to be detrimental to an environment, and includes aerosols, dusts, fibers, microorganisms, fumes, mists, and smoke.

(2)  "Board" means the Board of Public Health.

(3)  "Department" means the Department of Public Health.

(4)  "Director" means the director of the Department of Public Health.

(5)  "Indoor air pollution" means the presence, in an indoor environment, of one or more air contaminants in sufficient concentration and of sufficient duration to be capable of causing adverse effects to public health or welfare, animals, vegetation, or property.

(6)  "Public building" means a building that is used or intended for use for a purpose that provides for public access or occupancy.

Sec. 384.003.  EXEMPTIONS. This chapter does not apply to:

(1)  a workplace classified in Standard Industrial Classification (SIC) Codes 20-39, access to which is limited to workers and invited guests under controlled conditions;

(2)  a federal building or installation;

(3)  the regulation of asbestos; or

(4)  a freestanding single-family residence or a private residential building that contains four or fewer dwelling units.

Sec. 384.004.  CONFIDENTIAL INFORMATION. Information that relates to secret processes or methods of manufacture, production, or application that is identified as confidential at the time it is given to the department is confidential and may be used only for the purposes of this chapter.

[Sections 384.005-384.010 reserved for expansion]

SUBCHAPTER B.  POWERS AND DUTIES OF BOARD AND DEPARTMENT

Sec. 384.011.  DEPARTMENT AS PRINCIPAL AUTHORITY. The department is the principal authority in this state on matters relating to indoor air pollution.

Sec. 384.012.  POWERS AND DUTIES OF BOARD. (a)  The board by rule shall establish voluntary guidelines and enforceable standards for indoor air quality in public buildings, including guidelines and standards for ventilation and guidelines and standards for indoor air pollution control systems.  The board shall adopt other rules as necessary to implement this chapter.

(b)  In establishing guidelines and standards to achieve acceptable indoor air quality, the board shall consider:

(1)  the potential chronic effects of air contaminants on public health;

(2)  the potential effects on public health of insufficient ventilation of the indoor environment;

(3)  the potential costs of health care for the short-term and long-term effects on public health that may result from exposure to indoor air contaminants; and

(4)  the potential costs of compliance with a proposed standard.

(c)  A guideline or standard adopted under this chapter may include a contaminant concentration, a control method, a sampling method, a ventilation rate, design, or procedure or a similar recommendation or standard.

(d)  The board may adopt a rule establishing an enforceable standard only if:

(1)  a related voluntary guideline has been in effect for three years; or

(2)  the advisory committee by a two-thirds majority recommends that the board establish an emergency standard the committee believes is necessary to prevent a significant public harm.

(e)  The board shall adopt enforceable standards in accordance with the best information available at the time of adoption.  A standard may be established at a level that differs from a related guideline.

(f)  The guidelines and standards adopted by the board may differ for different pollution sources or different areas of the state.

(g)  The board may prescribe the procedures and sampling methods to be used in determining violations of and compliance with rules and orders of the board.

(h)  Compliance with the minimum standards adopted by the board does not constitute a defense in a civil action for damages arising from indoor air pollution or in a civil action for injunctive relief or a civil penalty for a violation of this chapter or of a rule adopted or order issued under this chapter.

Sec. 384.013.  POWERS AND DUTIES OF DEPARTMENT. (a)  The department shall administer and enforce this chapter in accordance with the rules of the board.

(b)  The department may:

(1)  conduct and supervise development programs and studies to determine the cause, effects, and hazards of indoor air pollution and methods to control indoor air pollution;

(2)  conduct research, including research to:

(A)  determine the cause, effects, and hazards of indoor air pollution;

(B)  establish procedures for the identification and control of indoor air pollution; and

(C)  establish sampling methods;

(3)  collect and disseminate information on indoor air conditions;

(4)  conduct education and training programs relating to indoor air quality;

(5)  make contracts and execute instruments that are necessary or convenient to the exercise of its powers or the performance of its duties under this chapter;

(6)  encourage voluntary cooperation of persons to achieve the purposes of this chapter;

(7)  assist persons in evaluating existing or potential health hazards from indoor air pollution, including health hazards from external sources that infiltrate the indoor environment and those from materials, processes, or human activities in the indoor environment;

(8)  advise persons about methods to control, remove, or minimize sources of indoor air contaminants;

(9)  advise, consult, and cooperate on matters of common interest in indoor air quality with other agencies of the state, political subdivisions of the state, industries, other states, the federal government, and interested persons or groups; and

(10)  represent the state in matters relating to indoor air quality.

Sec. 384.014.  ADVISORY COMMITTEE. (a)  The board shall appoint an advisory committee to:

(1)  advise the board in the development of guidelines, standards, and procedures;

(2)  make recommendations to the board relating to the content of the rules adopted to implement this chapter; and

(3)  perform any other function requested by the board in implementing and administering this chapter.

(b)  The advisory committee is composed of:

(1)  one person who represents an association of public building owners or an association of public building managers;

(2)  one person who represents an association of building materials manufacturers;

(3)  one architect who specializes in the construction of public buildings;

(4)  one professional engineer who specializes in the design of ventilation systems for public buildings;

(5)  one physician licensed to practice in this state;

(6)  one toxicologist;

(7)  one certified industrial hygienist; and

(8)  two public members.

(c)  A person is not eligible for appointment as a public member if the person or the person's spouse:

(1)  is licensed by an occupational regulatory agency in the health care field;

(2)  is employed by a health care facility, corporation, or agency or by a corporation authorized to underwrite health care insurance;

(3)  governs or administers a health care facility, corporation, or agency;

(4)  has a financial interest, other than a consumer's interest, in a health care facility, corporation, or agency; or

(5)  would qualify for appointment under Subsections (b)(1)-(7).

(d)  An advisory committee member serves for a six-year term, with the terms of three members expiring August 31 of each odd-numbered year.

(e)  A vacancy on the advisory committee is filled for the unexpired portion of the term in the same manner as other appointments to the advisory committee.

(f)  A member of the advisory committee is entitled to reimbursement for expenses incurred in performing duties under this chapter.  The reimbursement may not exceed the amount specified in the General Appropriations Act for travel and per diem allowances for state employees.

(g)  The advisory committee may elect a chairman, vice-chairman, and secretary from among its members and may adopt rules for the conduct of its own activities.

Sec. 384.015.  INVESTIGATIONS; ORDERS. (a)  The director or a person designated by the director may conduct investigations as necessary to administer this chapter and the rules adopted and orders issued under this chapter, including investigations of violations and general indoor air pollution problems or conditions in public buildings.

(b)  A department employee who conducts an investigation authorized by this chapter may enter a public building to determine whether a person is violating this chapter or a rule adopted or order issued under this chapter.

(c)  If the department determines that a person is violating this chapter or a rule adopted under this chapter, the director may order the corrective action indicated by the circumstances to be necessary to control the condition.  The director shall grant time for the person to comply with its order in accordance with the rules of the board.

[Sections 384.016-384.030 reserved for expansion]

SUBCHAPTER C.  PROHIBITIONS AND ENFORCEMENT

Sec. 384.031.  PROHIBITIONS. (a)  A person may not use, in the furnishing or construction of a public building, products or materials that contaminate the air in violation of the standards for indoor air quality established by the board.

(b)  A person may not allow indoor air pollution in a public building or allow the performance of an activity that violates this chapter or a rule adopted or order issued under this chapter.

(c)  A person may not reduce or be responsible for having reduced the minimum required amount of outside fresh air ventilation in a public building in violation of this chapter or a rule adopted or order issued under this chapter.

(d)  A tenant of a public building may not contaminate the air in the building in violation of a rule adopted or order issued under this chapter or conduct an activity that causes indoor air pollution.  A tenant who causes indoor air pollution shall take remedial action to alleviate the pollution.  A tenant is responsible for negotiating with the landlord any building modifications necessary for compliance with this chapter.  This chapter does not require an owner of a public building to modify a building to alleviate indoor air pollution caused by a tenant.

Sec. 384.032.  INJUNCTION; CIVIL PENALTY. (a)  If it appears that a person has violated, is violating, or is threatening to violate this chapter or a rule adopted or order issued under this chapter, the department, a county, or a municipality may institute a civil suit in a district court for:

(1)  injunctive relief to direct compliance or restrain the person from continuing the violation or threat of violation;

(2)  the assessment and recovery of a civil penalty; or

(3)  both injunctive relief and a civil penalty.

(b)  The department is a necessary and indispensable party in a suit brought by a county or municipality under this section.

(c)  On the director's request, the attorney general shall institute and conduct a suit in the name of the state for injunctive relief, to recover a civil penalty, or for both injunctive relief and civil penalty.

(d)  The suit may be brought in Travis County, in the county in which the defendant resides, or in the county in which the violation or threat of violation occurs.

(e)  In a suit under this section to enjoin a violation or threat of violation of this chapter or a rule adopted or order issued under this chapter, the court shall grant the state, county, or municipality, without bond or other undertaking, any injunction that the facts may warrant, including temporary restraining orders, temporary injunctions after notice and hearing, and permanent injunctions.

(f)  Civil penalties recovered in a suit brought under this section by a county or municipality shall be equally divided between:

(1)  the state; and

(2)  the county or municipality that first brought the suit.

(g)  The penalty may be in an amount of not less than $50 or more than $1,000 for each violation.  Each day of a continuing violation constitutes a separate violation for purposes of assessing the civil penalty.

(h)  In determining the amount of the penalty, the court shall consider:

(1)  the person's history of previous violations;

(2)  the seriousness of the violation;

(3)  any hazard to the health and safety of the public;

(4)  the demonstrated good faith of the person charged;

(5)  any economic benefit to the person that results from the violation; and

(6)  such other matters as justice may require.

(i)  The director and the attorney general may each recover reasonable expenses incurred in obtaining injunctive relief or civil penalties or both under this section, including investigative costs, court costs, reasonable attorney's fees, witness fees, and deposition expenses.

[Sections 384.033-384.050 reserved for expansion]

SUBCHAPTER D.  MUNICIPAL AUTHORITY

Sec. 384.051.  MUNICIPAL REGULATION. (a)  A municipality by ordinance may adopt guidelines and standards for indoor air quality for the public buildings within its jurisdiction.

(b)  Standards established under this section must be compatible with and be at least as strict as the standards established by the board under this chapter.

(c)  A guideline or standard adopted by a municipality under this section does not apply to the state or a department, commission, board, institution, or other agency of the state.

SECTION 2.  In appointing the initial members of the advisory committee, the Board of Public Health shall designate three members to serve terms expiring August 31, 1995, three members to serve terms expiring August 31, 1997, and  three members to serve terms expiring August 31, 1999.

SECTION 3.  This Act takes effect September 1, 1993.

SECTION 4.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency   and   an   imperative   public   necessity   that   the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.