By Van de Putte	H.B. No. 530

Substitute the following for H.B. No. 530:

By Giddings	C.S.H.B. No. 530

A BILL TO BE ENTITLED

AN ACT

relating to the installation of smoke detectors with visual alarms in leased dwellings.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 92.251, Property code, is amended to read as follows:

Sec. 92.251.  DEFINITIONS [DEFINITION].  In this subchapter: [,]

(1)  "Dwelling ["dwelling] unit" means a home, mobile home, duplex unit, apartment unit, condominium unit, or any dwelling unit in a multiunit residential structure.  It also means a "dwelling" as defined by Section 92.001.

(2)  "Hearing-impaired tenant" means a tenant with:

(A)  a hearing impairment of such severity that the tenant must depend on visual methods to communicate; or

(B)  a hearing impairment that results in a loss of hearing function to the tenant so that the tenant:

(i)  relies on residual hearing; and

(ii)  may depend on visual methods to communicate.

(3)  "Smoke detector" means a smoke detector that satisfies the requirements of Section 92.254.

(4)  "Visual alarm smoke detector" means a smoke detector that satisfies the requirements of Section 92.2545.

SECTION 2.  Section 92.252, Property Code, is amended to read as follows:

Sec. 92.252.  APPLICATION OF OTHER LAW; MUNICIPAL REGULATION.  (a)  The duties of a landlord and the remedies of a tenant under this subchapter are in lieu of common law, other statutory law, and local ordinances regarding a residential landlord's duty to install, inspect, or repair a smoke detector or visual alarm smoke detector in a dwelling unit.  However, this subchapter does not:

(1)  affect a local ordinance adopted before September 1, 1981, that requires landlords to install smoke detectors or visual alarm smoke detectors in new or remodeled dwelling units before September 1, 1981, if the ordinance conforms with or is amended to conform with this subchapter;

(2)  limit or prevent adoption or enforcement of a local ordinance relating to fire safety as a part of a building, fire, or housing code, including any requirements relating to the installation of smoke detectors or visual alarm smoke detectors or the type of smoke detectors or visual alarm smoke detectors; or

(3)  otherwise limit or prevent the adoption of a local ordinance that conforms to this subchapter but which contains additional enforcement provisions, except as provided by Subsection (b).

(b)  If a smoke detector powered by battery has been installed in a dwelling unit built before September 1, 1987, in compliance with this subchapter and local ordinances, a local ordinance may not require that a smoke detector powered by alternating current be installed in the unit unless:

(1)  the interior of the unit is repaired, remodeled, or rebuilt at a projected cost of more than $2,500 and the repair, remodeling, or rebuilding requires a municipal building permit;

(2)  an addition occurs to the unit at a projected cost of more than $2,500;

(3)  a smoke detector powered by alternating current was actually installed in the unit at any time prior to September 1, 1987; or

(4)  a smoke detector powered by alternating current was required by lawful city ordinance at the time of initial construction of the unit.

SECTION 3.  Subchapter F, Chapter 92, Property Code, is amended by adding Section 92.2545 to read as follows:

Sec. 92.2545.  VISUAL ALARM SMOKE DETECTOR.  (a)  A landlord shall, within a reasonable time after receiving a request by a hearing-impaired tenant, install one visual alarm smoke detector in each separate bedroom that is occupied by a hearing-impaired tenant or occupant in a dwelling unit.  The visual alarm smoke detector may be powered by battery or alternating current.  The tenant shall purchase and provide, at the tenant's expense, the visual alarm smoke detector.  At the landlord's option and with the prior approval of the tenant, the landlord may purchase the visual alarm smoke detector at the landlord's expense or may allow the tenant to reimburse the landlord for the purchase of the detector.  The landlord shall pay the cost of installing the visual alarm smoke detector.  The hearing-impaired tenant may require the landlord to install additional visual alarm smoke detectors if the tenant pays for both the purchase price of the visual alarm smoke detectors and reasonable installation costs.

(b)  A visual alarm smoke detector must meet the requirements of Sections 92.254(a)(1), (3), (4), and (5).

(c)  In a civil action that arises from personal injury, death, or property damage sustained by a hearing-impaired tenant or occupant as a result of fire and that alleges the landlord failed to provide adequate fire safety measures, it is an affirmative defense that the landlord installed a visual alarm smoke detector in accordance with Section 92.257 before the fire.

(d)  When permanently vacating a dwelling, a hearing-impaired tenant may require the landlord, at the landlord's expense, to disconnect and remove a visual alarm smoke detector that was paid for by the tenant; and the tenant shall be entitled to possession and ownership of the visual alarm smoke detector at that time.

(e)  For purposes of this section, a hearing-impaired person shall be considered as occupying only one bedroom; and a bedroom shall mean a room designed for sleeping purposes.

SECTION 4.  Section 92.254, Property Code, is amended to read as follows:

Sec. 92.257.  INSTALLATION PROCEDURE.  (a)  Subject to Subsections (b), [and] (c), and (d), a smoke detector or visual alarm smoke detector must be installed according to the manufacturer's recommended procedures.

(b)  A smoke detector or visual alarm smoke detector must be installed on a ceiling or wall.  If on a ceiling, it must be no closer than [six] four inches to a wall.  If on a wall, it must be no closer than [six] four inches and no farther than 12 inches from the ceiling.

(c)  A smoke detector or visual alarm smoke detector may be located other than as required by Subsection (b) if a local ordinance or a local or state fire marshal approves.

(d)  A landlord shall not be required to pay for the purchase price or the installation costs of visual alarm smoke detectors in addition to one visual alarm smoke detector in each bedroom occupied by a tenant or occupant who is hearing-impaired.  A landlord shall not be required to install a visual alarm smoke detector for guests of a tenant.

SECTION 5.  Add a new Section 92.2581, to read as follows:

Section 92.2581.  VISUAL ALARM SMOKE DETECTOR INSPECTION AND REPAIR.  (a)  The landlord shall inspect and repair a visual alarm smoke detector according to this section.

(b)  The landlord shall determine that the visual alarm smoke detector is in good working order at the time of installation, or at the beginning of the tenant's possession if the detector was installed prior to that time.  The determination of good working order shall be by testing the visual alarm smoke detector with smoke, by operating the testing button on the smoke detector, or by following other recommended test procedures of the manufacturer for the particular model.

(c)  During the term of a lease or during a renewal or extension, the landlord has a duty to inspect and repair a visual alarm smoke detector, but only if the tenant gives the landlord notice of a malfunction or requests to the landlord that the visual alarm smoke detector be inspected or repaired.  This duty does not exist with respect to damage or a malfunction caused by the tenant, the tenant's family, or the tenant's guests or invitees during the term of the lease or a renewal or extension, except that the landlord has a duty to repair or replace the visual alarm smoke detector if the tenant pays in advance the reasonable repair or replacement cost, including labor, materials, taxes, and overhead.

(d)  The landlord must comply with the tenant's request for inspection or repair within a reasonable time, considering the availability of material, labor, and utilities.

(e)  The landlord has met the duty to inspect and repair if the visual alarm smoke detector is in good working order after the landlord tests it with smoke, operates the testing button on it, or follows other recommended test procedures of the manufacturer for the particular model.

(f)  The landlord is not obligated to provide batteries for a battery-operated visual alarm smoke detector after it has been tested by the landlord as required by Subsection (b).

(g)  A visual alarm smoke detector that is in good working order at the time it must be tested under Subsection (b) is presumed to be in good working order until the tenant requests repair of it as provided by this subchapter.

SECTION 6.  Section 92.259(a), Property Code, is amended to read as follows:

(a)  A landlord is liable according to this subchapter if:

(1)  the landlord did not install a smoke detector at the time of initial occupancy by the tenant as required by this subchapter or a municipal ordinance permitted by this subchapter; or the landlord did not install a visual alarm smoke detector at the time of initial occupancy by the tenant or within a reasonable time after receiving a request from the tenant for installation of a visual alarm smoke detector, as required by this subchapter or a municipal ordinance permitted by this subchapter; or [after the tenant requested the landlord to install, inspect, or repair a smoke detector in the tenant's dwelling unit as required by this subchapter, the landlord did not install the smoke detector or inspect or repair the smoke detector within a reasonable time after the tenant's notice of malfunction or request for repair, considering the availability of materials, labor, and utilities; and]

(2)  the landlord does not install, inspect, or repair the smoke detector or visual alarm smoke detector on or before the seventh day after the date the tenant gives the landlord written notice that the tenant may exercise his remedies under this subchapter if the landlord does not comply with the request within seven days.

(b)  If the tenant gives notice under Subsection (a)(2) and the tenant's lease is in writing, the lease may require the tenant to make the initial request for installation, inspection, or repair in writing.

SECTION 7.  The legislature recognizes the danger of fire to the life of an individual with a hearing impairment and to the property of a landlord who leases property to a tenant with a hearing impairment.  In enacting this Act, the legislature does not intend to impose any duty on a landlord to meet special needs of a tenant with a disability or impairment, other than the specific duties with respect to the installation of a visual alarm smoke detector imposed by Subchapter F, Chapter 92, Property Code, as amended by this Act.

SECTION 8.  (a)  This Act takes effect September 1, 1995.

(b)  Section 92.2545, Property Code, as added by this Act, applies only to a civil action that accrues on or after the effective date of this Act.  A civil action that accrued on or after the effective date of this Act is governed by the law applicable to the action immediately before the effective date of this Act, and that law is continued in effect for that purposes.

SECTION 9.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.