By Van de Putte	H.B. No. 530

A BILL TO BE ENTITLED

AN ACT

relating to the installation of smoke detectors with visual alarms in leased dwellings.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 92.251, Property Code, is amended to read as follows:

Sec. 92.251.  DEFINITIONS [DEFINITION].   In this subchapter:[,]

(1)  "Dwelling ["dwelling] unit" means a home, mobile home, duplex unit, apartment unit, condominium unit, or any dwelling unit in a multiunit residential structure.  It also means a "dwelling" as defined by Section 92.001.

(2)  "Smoke detector" means a smoke detector that satisfies the requirements of Section 92.254.

(3)  "Visual alarm smoke detector" means a smoke detector that satisfies the requirements of Section 92.2545.

SECTION 2.  Section 92.252, Property Code, is amended to read as follows:

Sec. 92.252.  APPLICATION OF OTHER LAW; MUNICIPAL REGULATION.  (a)  The duties of a landlord and the remedies of a tenant under this subchapter are in lieu of common law, other statutory law, and local ordinances regarding a residential landlord's duty to install, inspect, or repair a smoke detector or visual alarm smoke detector in a dwelling unit.  However, this subchapter does not:

(1)  affect a local ordinance adopted before September 1, 1981, that requires landlords to install smoke detectors or visual alarm smoke detectors in new or remodeled dwelling units before September 1, 1981, if the ordinance conforms with or is amended to conform with this subchapter;

(2)  limit or prevent adoption or enforcement of a local ordinance relating to fire safety as a part of a building, fire, or housing code, including any requirements relating to the installation of smoke detectors or visual alarm smoke detectors or the type of smoke detectors or visual alarm smoke detectors;  or

(3)  otherwise limit or prevent the adoption of a local ordinance that conforms to this subchapter but which contains additional enforcement provisions, except as provided by Subsection (b).

(b)  If a smoke detector powered by battery has been installed in a dwelling unit built before September 1, 1987, in compliance with this subchapter and local ordinances, a local ordinance may not require that a smoke detector powered by alternating current be installed in the unit unless:

(1)  the interior of the unit is repaired, remodeled, or rebuilt at a projected cost of more than $2,500 and the repair, remodeling, or rebuilding requires a municipal building permit;

(2)  an addition occurs to the unit at a projected cost of more than $2,500;

(3)  a smoke detector powered by alternating current was actually installed in the unit at any time prior to September 1, 1987; [or]

(4)  a smoke detector powered by alternating current was required by lawful city ordinance at the time of initial construction of the unit; or

(5)  a hearing-impaired tenant requests the installation of a visual alarm smoke detector.

SECTION 3.  Subchapter F, Chapter 92, Property Code, is amended by adding Section 92.2545 to read as follows:

Sec. 92.2545.  VISUAL ALARM SMOKE DETECTOR.  (a)   A landlord shall, at the request of a hearing-impaired tenant, install at least one visual alarm smoke detector in each separate bedroom in the dwelling unit that is occupied by the hearing-impaired tenant.  The visual alarm smoke detector must be hard-wired to a smoke detector installed in accordance with Section 92.256.

(b)  A visual alarm smoke detector must:

(1)  meet the requirements of Sections 92.254(a)(1), (4), and (5);

(2)  use a strobe light with a visible effective intensity of not less than 177 candela;

(3)  operate on 120-volt alternating current; and

(4)  be otherwise substantially equivalent or superior to a BRK model 100S, as produced by BRK Electronics Company, hard-wired to a BRK model 4914, as produced by BRK Electronics Company.

(c)  In a civil action arising from personal injury, death, or property damage sustained by a hearing-impaired tenant as a result of fire and alleging that the landlord failed to provide adequate fire safety measures, it is an affirmative defense that the landlord:

(1)  installed a visual alarm smoke detector before the fire; and

(2)  inspected and maintained the visual alarm smoke detector in accordance with this subchapter.

(d)  In this section, "bedroom" has the meaning assigned by Section 92.255(b).

SECTION 4.  Section 92.257, Property Code, is amended to read as follows:

Sec. 92.257.  INSTALLATION PROCEDURE.  (a)  Subject to Subsections (b)  and (c), a smoke detector or visual alarm smoke detector must be installed according to the manufacturer's recommended procedures.

(b)  A smoke detector or visual alarm smoke detector must be installed on a ceiling or wall.  If on a ceiling, it must be no closer than six inches to a wall.  If on a wall, it must be no closer than six inches and no farther than 12 inches from the ceiling.

(c)  A smoke detector or visual alarm smoke detector may be located other than as required by Subsection (b)  if a local ordinance or a local or state fire marshal approves.

SECTION 5.  Sections 92.258(a), (b), (c), and (e), Property Code, are amended to read as follows:

(a)  The landlord shall inspect and repair a smoke detector or visual alarm smoke detector according to this section.

(b)  The landlord shall determine that the smoke detector or visual alarm smoke detector is in good working order by following the recommended test procedures of the manufacturer for the particular model:

(1)  at the beginning of a tenant's possession if the dwelling unit contains a smoke detector or visual alarm smoke detector; or

(2)  at the time of installation if the landlord installs the smoke detector or visual alarm smoke detector in the dwelling unit after the tenant has taken possession.

(c)  During the term of a lease or during a renewal or extension, the landlord has a duty to inspect and repair a smoke detector or visual alarm smoke detector, but only if the tenant gives the landlord notice of a malfunction or requests to the landlord that the smoke detector or visual alarm smoke detector be inspected or repaired.  This duty does not exist with respect to damage or a malfunction caused by the tenant, the tenant's family, or the tenant's guests or invitees during the term of the lease or a renewal or extension, except that the landlord has a duty to repair or replace the smoke detector or visual alarm smoke detector if the tenant pays in advance the reasonable repair or replacement cost, including labor, materials, taxes, and overhead.

(e)  The landlord has met the duty to inspect and repair if the smoke detector or visual alarm smoke detector is in good working order after the landlord follows the recommended test procedures of the manufacturer for the particular model.

SECTION 6.  Section 92.259(a), Property Code, is amended to read as follows:

(a)  A landlord is liable according to this subchapter if:

(1)  after the tenant requested the landlord to install, inspect, or repair a smoke detector or visual alarm smoke detector in the tenant's dwelling unit as required by this subchapter, the landlord did not install the smoke detector or visual alarm smoke detector or inspect or repair the smoke detector or visual alarm smoke detector within a reasonable time after the tenant's notice of malfunction or request for repair, considering the availability of materials, labor, and utilities; and

(2)  the landlord does not install, inspect, or repair the smoke detector or visual alarm smoke detector on or before the seventh day after the date the tenant gives the landlord written notice that the tenant may exercise his remedies under this subchapter if the landlord does not comply with the request within seven days.

SECTION 7.  (a)   This Act takes effect September 1, 1995.

(b)  Section 92.2545(c), Property Code, as added by this Act, applies only to a civil action that accrues on or after the effective date of this Act.  A civil action that accrued before the effective date of this Act is governed by the law applicable to the action immediately before the effective date of this Act, and that law is continued in effect for that purpose.

SECTION 8.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.