By Jackson	H.B. No. 2052

A BILL TO BE ENTITLED

AN ACT

relating to the regulation of the use and installation of certain fire  detection devices and fire alarms.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Chapter 419, Government Code, is amended by adding Subchapter F to read as follows:

SUBCHAPTER F.  FIRE DETECTION DEVICES AND ALARM SYSTEMS

Sec. 419.101.  PURPOSE.  In the interest of safeguarding lives and property, this subchapter is adopted to:

(1)  regulate the planning, certifying, leasing, selling, servicing, inspecting, installing, and monitoring of fire detection devices,  fire alarm systems, and single station alarm devices; and

(2)  prohibit the use of devices  that are not labeled or listed by a testing laboratory approved by the commission.

Sec. 419.102.  DEFINITIONS.  (a)  In this subchapter:

(1)  "Adopted standards" means the standards adopted by the commission by rule to administer this subchapter.

(2)  "Advisory council" means the fire detection device and fire alarm advisory council.

(3)  "Fire detection device" means a device designed to detect the presence of fire or smoke and initiate action through notification appliances or equipment as part of a fire alarm system.

(4)  "Inspection" means the inspection and testing of fire detection devices, fire alarm systems, or single station alarm devices to verify proper operation of the device or system.

(5)  "Installation" means the initial placement of equipment or the extension, modification, or alteration of equipment already in place.

(6)  "Monitoring" means the receipt of fire alarm and supervisory signals and retransmission or communication of those signals to a fire service communications center.

(7)  "Planning" means the preparation and approval of fire alarm plans that depict all applicable requirements for the installation of fire detection devices, fire alarm systems, or single station alarm devices.

(8)  "Sale" means the sale or offering for sale, lease, or rent to any person of merchandise, equipment, or a service at wholesale or retail, for an agreed sum of money or other consideration.

(9)  "Service" means to repair or maintain in a condition that will allow performance as originally designed or intended.

(10)  "Single station alarm device" means an assembly  incorporating a detector for the presence of fire or smoke, control equipment, and an alarm sounding device in one unit operated from a power supply either in the unit or obtained at the point of installation, which may be interconnected with two or more of those devices in a manner that makes the actuation of one device cause all alarms to operate.

(b)  For the purposes of this subchapter:

(1)  an installation is "certified" if the installation:

(A)  is performed in accordance with fire alarm plans approved by an authorized license holder or a registered professional engineer and the local governmental entity with jurisdiction, if applicable; and

(B)  meets the standards adopted by rule under this subchapter;

(2)  a service is "certified" if the installed device or system performs as originally designed or intended;

(3)  an inspection is "certified" if the proper operation of a device or system is verified; and

(4)  a fire alarm plan is "certified" if the plan meets the requirements of the applicable adopted standards as modified by the governmental entity with jurisdiction.

Sec. 419.103.  LICENSE OR CERTIFICATE OF REGISTRATION REQUIRED; PROHIBITED ACTS.  (a)  A person may not:

(1)  plan, certify, lease, sell, install, service, inspect, or monitor fire detection devices, fire alarm systems, or single station alarm devices unless the person holds a license or certificate of registration issued under this subchapter;

(2)  obtain, or attempt to obtain, a license or certificate of registration by a fraudulent representation; or

(3)  plan, certify, lease, sell, install, service, inspect, or monitor fire detection devices, fire alarm systems, or single station alarm devices in a manner that is contrary to the provisions of this subchapter or the rules adopted by the commission under the authority of this subchapter.

(b)  A person may not install a fire detection device, fire alarm system, or single station alarm device, including a conduit, raceway, backbox, junction box, or similar electrical enclosure that may be required by the adopted standards, in any location other than a single-family or two-family residence, until the person has:

(1)  established a certified fire alarm plan; and

(2)  received the approval of the local governmental entity with jurisdiction, if that approval is required.

Sec. 419.104.  EXEMPTIONS.  The registration and licensing requirements of this subchapter do not apply to:

(1)  a person in the business of building construction who installs electrical wiring and devices that may include in part the installation of fire detection devices or a fire alarm system if the person:

(A)  does not plan, certify, lease, sell, install, service, or inspect fire detection devices or fire alarm systems;

(B)  does not install a conduit, raceway, backbox, junction box, or similar electrical enclosure that may be required by the adopted standards for the installation of a fire detection device or fire alarm system in any location other than a single-family or two-family residence; and

(C)  does not install a fire detection device or fire alarm system except under the direct supervision of a licensed employee of a registered firm;

(2)  a registered professional engineer acting solely in the engineer's professional capacity;

(3)  a law enforcement officer or firefighter acting in an official capacity in response to an alarm from a fire detection device, fire alarm system, or single station alarm device;

(4)  a regular employee of a registered firm who is engaged in installing fire detection devices or fire alarm systems under the direct supervision of a license holder;

(5)  a person who sells or installs single station alarm devices if:

(A)  the device is approved or listed by a testing laboratory approved by the commission;

(B)  the installation complies with the adopted standards;

(C)  the installer is knowledgeable in the proper use of those devices; and

(D)  the device is installed in a single-family or two-family residence; or

(6)  a person who sells fire detection devices or fire alarm systems if:

(A)  the sales are exclusively over-the-counter or by mail order; and

(B)  the person does not plan, certify, install, service, or maintain the device or system.

Sec. 419.105.  ADMINISTRATION; ADVISORY COUNCIL.  (a)  The commission shall administer this subchapter through the state fire marshal.

(b)  The commission may adopt rules as necessary to administer this subchapter.  In adopting rules, the commission may use or consider:

(1)  recognized standards, including standards:

(A)  adopted by the National Fire Protection Association;

(B)  enacted by federal law or regulation; or

(C)  published by any nationally recognized standards-making organization; or

(2)  information furnished to the commission by individual manufacturers.

(c)  The fire detection device and fire alarm advisory council is appointed by the commission to advise the commission on the adoption of rules necessary to administer this subchapter.  The advisory council is composed of seven members as follows:

(1)  three members must be employed by a registered firm in the fire detection industry with experience in planning, certifying, leasing, selling, installing, servicing, or inspecting fire detection devices, fire alarm systems, or single station alarm devices;

(2)  one member must be experienced in the engineering of fire prevention services or a member of a fire protection association;

(3)  two members must be employed by a municipality or county as fire prevention officers and must have demonstrable experience; and

(4)  one member must be employed by a registered firm and must be experienced in the operation of a fire alarm monitoring station.

(d)  Each member of the advisory council must have at least three years of experience in the person's designated classification.

(e)  The advisory council is not subject to Article 6252-33, Revised Statutes.

Sec. 419.106.  POWERS AND DUTIES OF COMMISSION AND STATE FIRE MARSHAL.  (a)  The commission shall delegate authority to exercise all or part of its functions, powers, and duties under this subchapter, including the issuance of certificates of registration and licenses, to the state fire marshal.

(b)  The commission, with the assistance of the advisory council, shall adopt rules as  determined by the commission to be necessary for the protection and preservation of life and property in controlling:

(1)  the registration of persons engaging in the business of planning, certifying, leasing, selling, installing, servicing, inspecting, or monitoring fire detection devices, fire alarm systems, and single system alarm devices; and

(2)  the requirements for the planning, certifying, leasing, selling, installing, servicing, inspecting, or monitoring of fire detection devices, fire alarm systems, and single station alarm devices by:

(A)  conducting examinations and evaluating the qualifications of an applicant for a certificate of registration to engage in the business of planning, certifying, leasing, selling, installing, servicing, inspecting, or monitoring fire detection devices, fire alarm systems, or single station alarm devices;

(B)  conducting examinations and evaluating the qualifications of an applicant for a license established under the rules adopted under this subchapter;

(C)  evaluating and approving testing laboratories for the purpose of this subchapter; and

(D)  evaluating and approving required training programs for all persons who engage in the business of planning, certifying, leasing, selling, installing, servicing, inspecting, or monitoring fire detection devices, fire alarm systems, or single station alarm devices.

(c)  The commission shall submit changes in a rule proposed by the advisory council to the advisory council.  If the commission does not adopt a rule proposed by the advisory council, the commission shall indicate to the council the reasons that the rule was not adopted, and return the proposed rule to the council for further development.

(d)  With the assistance of the advisory council, the commission shall issue formal interpretations of the rules adopted under this chapter on receipt of a written request from any person to promote clarification and understanding of those rules.  The commission shall adopt rules relating to required procedures for a rules interpretation under this subchapter.

Sec. 419.107.  TESTING LABORATORIES; APPROVAL OF EQUIPMENT.  (a)  Except as provided by Subsection (b), a fire detection device, fire alarm system, single station alarm device, or monitoring equipment a purpose of which is to detect or give alarm of fire may not be sold, offered for sale, leased, installed, or used to monitor systems, devices, and property in this state unless it carries a label of approval of, or is listed by, a testing laboratory approved by the commission.  This subsection does not prohibit the continued use or monitoring of equipment in place that complied with applicable law at the time of its original placement, if the equipment has not been extended, modified, or altered.

(b)  Auxiliary components that are not required by the adopted standards and that do not impair the operation of fire detection devices or fire alarm systems required by the adopted standards are exempt from the requirement imposed under Subsection (a) if those components are approved by the local governmental entity with jurisdiction.

(c)  A fire detection device, fire alarm system, or single station alarm device may not be sold or installed in this state unless it is accompanied by printed information supplied to the owner by the supplier or installing contractor that provides:

(1)  instructions describing the installation, operation, testing, and proper maintenance of the device or system;

(2)  information to aid in establishing an emergency evacuation plan for the protected premises; and

(3)  the telephone number and location, including notification procedures, of the nearest fire department.

Sec. 419.108.  REGISTRATION.  (a)  Each person that engages in the business of planning, certifying, leasing, selling, installing, servicing, inspecting, or monitoring fire detection devices, fire alarm systems, or single station alarm devices as a corporation, partnership, association, or other organization must hold a certificate of registration as a registered firm issued by the state fire marshal.

(b)  Each separate office location of a registered firm, other than the main location identified on the certificate of registration, must have a branch office registration certificate issued by the state fire marshal.  Each branch office location must be identified as a part of a registered firm before a branch office registration certificate may be issued.

(c)  The commission may not issue a certificate of registration under this section until the applicant files with the state fire marshal evidence of insurance coverage as prescribed by the rules adopted under this subchapter.  The insurance coverage must include at least:

(1)  $100,000 combined single limits for bodily injury and property damage for each occurrence; and

(2)  $300,000 in the aggregate for all occurrences per policy year.

(d)  The commission, after notice and an opportunity for a hearing, may increase or decrease the limits of insurance coverage required for registered firms.

(e)  A certificate of registration issued under this section  is not transferable.

(f)  The commission shall prescribe the annual fees to be charged for a certificate of registration under this section, not to exceed $500 for the main office of a registered firm and $150 for a branch office.  The commission shall set the fees with the advice of the advisory council.

(g)  The commission shall charge a fee in an amount not to exceed $20 for a duplicate certificate of registration or any requested change made to a certificate of registration.

Sec. 419.109.  LICENSES.  (a)  Each person that engages in the business of planning, certifying, installing, servicing, or inspecting fire detection devices, fire alarm systems, or single station alarm devices as an individual must hold a license issued by the state fire marshal.

(b)  The commission, with the assistance of the advisory council, shall establish license classifications and examination requirements as necessary to administer this subchapter.  The state fire marshal shall administer an examination required under this section to ensure competency in the classification in which a license applicant seeks to engage in business.

(c)  The commission shall set the fees for licenses established under this section.  An annual license fee may not exceed $100.

(d)  The commission shall set nonrefundable fees for examinations conducted under this section.  The fee for an initial examination may not exceed $30.  The fee for a reexamination may not exceed $20.

(e)  The commission shall set the fee for a duplicate license or change in a license.  The fee under this subsection may not exceed $20.

(f)  A license issued under this section is not transferable.

(g)  Each registered firm that employs persons who are exempt from the licensing requirements of this subchapter under Section 419.104 shall appropriately train and supervise those persons to ensure that:

(1)  each installation complies with the adopted standards;

(2)  each device installed carries a label or listing of approval by a testing laboratory approved by the commission; and

(3)  the persons are knowledgeable in fire protection and the proper use and placement of the devices.

Sec. 419.110.  APPLICATION FOR LICENSE OR CERTIFICATE; HEARINGS.  (a)  The commission by rule shall determine the requirements for an application for a certificate of registration or license issued under this subchapter and the qualifications required for applicants.

(b)  The state fire marshal may refuse to issue or renew or may suspend or revoke a certificate of registration or license if, after notice and hearing, the state fire marshal finds that the applicant, registrant, or license holder has engaged in acts that:

(1)  violate this subchapter;

(2)  violate rules or standards adopted under this subchapter; or

(3)  constitute misrepresentation made in connection with an inspection performed, or the sale of products or services rendered, under this subchapter.

(c)  A certificate of registration, license, or testing laboratory approval may be denied, suspended, or revoked, or renewal refused, if, after notice and public hearing, the commission, through the state fire marshal, finds from the evidence presented at the hearing that this subchapter or a rule adopted  under this subchapter has been violated.

(d)  A person who has had a certificate of registration, license, or testing laboratory approval revoked may not reapply for the certificate, license, or approval until the first anniversary of the date of the revocation.  A person who reapplies under this subsection must request a public hearing to show cause why a certificate of registration, license, or testing laboratory approval should not be denied.

(e)  A person who reapplies under Subsection (d) must disclose in the reapplication the name of any person with a financial interest in the certificate of registration, license, or approval that was revoked who was charged with a violation of this subchapter or a rule adopted under this subchapter.

Sec. 419.111.  UNIFORM FORCE AND EFFECT.  (a)  This subchapter and the rules adopted under this subchapter shall have uniform force and effect throughout this state.

(b)  A municipality or county may not enact an ordinance, rule, or other regulation that is inconsistent with the provisions of this subchapter or rules adopted under this subchapter.  However, a municipality or county may:

(1)  mandate that a fire detection device or fire alarm system be installed in certain facilities if the installation conforms to applicable adopted standards; and

(2)  require a better type of fire detection device or fire alarm system or otherwise safer conditions than the minimum required by the adopted standards.

(c)  A municipality, county, or other political subdivision of this state may not require a registered firm, a license holder, or an employee of a license holder to:

(1)  obtain a registration, franchise, or license from the political subdivision;

(2)  pay a fee or franchise tax to the political subdivision; or

(3)  post a bond payable to the political subdivision to engage in business or perform any activities authorized under this subchapter in that political subdivision.

(d)  Notwithstanding Subsection (c), a municipality or county may require a registered firm to obtain a permit and pay a permit fee for the installation of a fire detection device, fire alarm system, or single station alarm device and require that the installation of the device or system conform to the building and fire code or other construction requirements of the municipality or county and of state law, but may not impose a qualification or financial responsibility requirement other than proof of a valid certificate of registration.

Sec. 419.112.  DISPOSITION OF FEES.  Fees and penalties collected under this subchapter shall be deposited in the state treasury to the credit of the special account in the general revenue fund established under Section 419.026(d).

Sec. 419.113.  CITATION; CRIMINAL PENALTY.  (a)  The state fire marshal or the state fire marshal's designee shall issue a citation to a person regulated under this subchapter who violates the rules adopted under this subchapter and shall collect any fine imposed for a violation under this chapter.  An appeal of a citation imposed under this subsection must be brought not later than the 30th day after the date on which the citation was issued.

(b)  A person commits an offense if the person performs a function that requires a certificate of registration or license  under this subchapter without holding the certificate of registration or license.  An offense under this subsection is a Class B misdemeanor.

SECTION 2.  Section 417.0041(a), Government Code, is amended to read as follows:

(a)  This section applies to rules adopted under Articles 5.43-1, 5.43-3, and  [through] 5.43-4, Insurance Code,  and to the advisory councils established under these articles.

SECTION 3.  Article 5.43-2, Insurance Code, is repealed effective January 1, 1996.

SECTION 4.  The advisory council established under Article 5.43-2, Insurance Code, as that article existed before its repeal by this Act, is abolished on December 31, 1995.  A person serving on that advisory council is eligible for appointment to the fire detection device and fire alarm advisory council established under Section 419.105, Government Code, as added by this Act.

SECTION 5.  (a)  The change in law made by Section 419.113(b), Government Code, as added by this Act, applies only to an offense committed on or after the effective date of this Act.  For purposes of this section, an offense is committed before the effective date of this Act if any element of the offense occurs before that date.

(b)  An offense committed under Article 5.43-2, Insurance Code, before the effective date of this Act is governed by the law in effect when the offense was committed, and the former law is continued in effect for that purpose.

SECTION 6.  A person is not required to hold a license or certificate of registration under Subchapter F, Chapter 419, Government Code, as added by this Act, until January 1, 1996.

SECTION 7.  (a)  Except as provided by Subsection (b) of this section, this Act takes effect September 1, 1995.

(b)  Sections 419.103 and 419.113, Government Code, as added by this Act, take effect January 1, 1996.

SECTION 8.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.