H.B. No. 2587

AN ACT

relating to the regulation of certain aboveground and underground storage tanks and the regulation of underground storage tank installers; providing penalties.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 26.341(b), Water Code, is amended to read as follows:

(b)  The legislature declares that it is the policy of this state and the purpose of this subchapter to:

(1)  maintain and protect the quality of groundwater and surface water resources in the state from certain substances in underground and aboveground storage tanks that may pollute groundwater and surface water resources; and

(2)  require the use of all reasonable methods, including risk-based corrective action, to implement this policy.

SECTION 2.  Section 26.342, Water Code, is amended by adding a new Subdivision (13) and renumbering subsequent subdivisions to read as follows:

(13)  "Risk-based corrective action" means site assessment or site remediation, the timing, type, and degree of which is determined according to case-by-case consideration of actual or potential risk to public health from environmental exposure to a regulated substance released from a leaking underground or aboveground storage tank.

(14) [(13)]  "Spent oil" means a regulated substance that is a lubricating oil or similar petroleum substance which has been refined from crude oil, used for its designed or intended purposes, and contaminated as a result of that use by physical or chemical impurities, including spent motor vehicle lubricating oils, transmission fluid, or brake fluid.

(15) [(14)]  "Underground storage tank" means any one or combination of underground tanks and any connecting underground pipes used to contain an accumulation of regulated substances, the volume of which, including the volume of the connecting underground pipes, is 10 percent or more beneath the surface of the ground.

(16) [(15)]  "Vehicle service and fueling facility" means a facility where motor vehicles are serviced or repaired and where petroleum products are stored and dispensed from fixed equipment into the fuel tanks of motor vehicles.

SECTION 3.  Section 26.346, Water Code, is amended by adding Subsections (e) and (f) to read as follows:

(e)  The owner or operator of an underground or aboveground storage tank installed before December 1, 1995, that is required to be registered under this section and that has not been registered on or before December 31, 1995, is not eligible to receive reimbursement for that tank from the petroleum storage tank remediation fund except for:

(1)  an owner of a registered facility who discovers an unregistered tank while removing, upgrading, or replacing a tank or while performing a site assessment;

(2)  a state or local governmental agency that purchases a right-of-way and discovers during construction an unregistered tank in the right-of-way; or

(3)  a property owner who reasonably could not have known that a tank was located on the property because a title search or the previous use of the property does not indicate a tank on the property.

(f)  The owner or operator of an underground or aboveground storage tank installed on or after December 1, 1995, must register the tank under this section not later than the 30th day after the date the installation is completed to be eligible for reimbursement for the new tank.

SECTION 4.  Subchapter I, Chapter 26, Water Code, is amended by adding Section 26.3475 to read as follows:

Sec. 26.3475.  RELEASE DETECTION REQUIREMENTS; SPILL AND OVERFILL PREVENTION; CORROSION PROTECTION; NOTICE OF VIOLATION; SHUTDOWN.  (a)  All piping in an underground storage tank system that routinely conveys regulated substances under pressure must comply with commission requirements for pressurized piping release detection equipment.

(b)  All piping in an underground storage tank system that routinely conveys regulated substances under suction must comply with commission requirements for suction-type piping release detection equipment.

(c)  A tank in an underground storage tank system must comply with commission requirements for:

(1)  tank release detection equipment; and

(2)  spill and overfill equipment.

(d)  An underground storage tank system must comply with commission requirements for applicable tank integrity assessment and corrosion protection not later than December 22, 1998.

(e)  The commission may issue a notice of violation to the owner or operator of an underground storage tank system that does not comply with this section, informing the owner or operator of the nature of the violation and that the commission may order the noncomplying underground storage tank system placed out of service if the owner or operator does not correct the violation within 30 days after the date the notice is received.  If the owner or operator does not correct the violation within the prescribed time, the commission may order the noncomplying underground storage tank system out of service.

SECTION 5.  Section 26.3512, Water Code, is amended by amending Subsections (b) and (e) and by adding Subsections (f)-(k) to read as follows:

(b)  Funds from the petroleum storage tank remediation fund may not be used to pay, and the owner or operator of a petroleum storage tank ordered by the commission to take corrective action is responsible for payment of, the following:

(1)  the owner or operator contribution described by Subsections (e)-(k) [Subsection (e) of this section];

(2)  any expenses for corrective action that exceed the applicable amount specified by Section 26.3573(l) [$1 million for each occurrence];

(3)  any expenses for corrective action that are not covered by payment from the petroleum storage tank remediation fund under the rules or decisions of the commission under this subchapter; [or]

(4)  any expenses for corrective action not ordered or agreed to by the commission; or

(5)  any expenses for corrective action incurred for confirmed releases initially discovered and reported to the commission after December 22, 1998.

(e)  If an owner or operator submits a site assessment in accordance with commission rules before December 23, 1996, the [An] owner or operator shall pay under Subsection (b)(1) [of this section] the first expenses for corrective action taken for each occurrence as follows:

(1)  a person who owns or operates 1,000 or more single petroleum storage tanks, the first $10,000;

(2)  a person who owns or operates not fewer than 100 or more than 999 single petroleum storage tanks, the first $5,000;

(3)  a person who owns or operates not fewer than 13 or more than 99 single petroleum storage tanks, the first $2,500; and

(4)  a person who owns or operates fewer than 13 single petroleum storage tanks, the first $1,000.

(f)  If an owner or operator does not submit a site assessment in accordance with commission rules before December 23, 1996, the owner or operator shall pay under Subsection (b)(1) the first expenses for corrective action taken for each occurrence as follows:

(1)  a person who owns or operates 1,000 or more single petroleum storage tanks, the first $20,000;

(2)  a person who owns or operates not fewer than 100 or more than 999 single petroleum storage tanks, the first $10,000;

(3)  a person who owns or operates not fewer than 13 or more than 99 single petroleum storage tanks, the first $5,000; and

(4)  a person who owns or operates fewer than 13 single petroleum storage tanks, the first $2,000.

(g)  If an owner or operator's corrective action plan is approved by the commission under Section 26.3572 before December 23, 1997, the owner or operator shall pay under Subsection (b)(1) the amount provided by Subsection (e) for the first expenses for corrective action taken for each occurrence.

(h)  If an owner or operator's corrective action plan is not approved by the commission under Section 26.3572 before December 23, 1997, the owner or operator shall pay under Subsection (b)(1) the first expenses for corrective action taken for each occurrence as follows:

(1)  a person who owns or operates 1,000 or more single petroleum storage tanks, the first $40,000;

(2)  a person who owns or operates not fewer than 100 or more than 999 single petroleum storage tanks, the first $20,000;

(3)  a person who owns or operates not fewer than 13 or more than 99 single petroleum storage tanks, the first $10,000; and

(4)  a person who owns or operates fewer than 13 single petroleum storage tanks, the first $4,000.

(i)  If an owner or operator has a corrective action plan approved by the commission under Section 26.3572 and before December 23, 1998, has met the goals specified in the plan to be met by that date, the owner or operator shall pay under Subsection (b)(1) the amount specified by Subsection (e) for the first expenses for corrective action taken for each occurrence.

(j)  If an owner or operator does not have a corrective action plan approved by the commission under Section 26.3572 or, on December 23, 1998, has not met the goals specified in the plan to be met by that date, the owner or operator shall pay under Subsection (b)(1) the first expenses for corrective action taken for each occurrence as follows:

(1)  a person who owns or operates 1,000 or more single petroleum storage tanks, the first $80,000;

(2)  a person who owns or operates not fewer than 100 or more than 999 single petroleum storage tanks, the first $40,000;

(3)  a person who owns or operates not fewer than 13 or more than 99 single petroleum storage tanks, the first $20,000; and

(4)  a person who owns or operates fewer than 13 single petroleum storage tanks, the first $8,000.

(k)  An owner or operator of a site for which a closure letter has been issued under Section 26.3572 shall pay under Subsection (b)(1) the first $50,000 of expenses for corrective action for each occurrence.

SECTION 6.  Section 26.3513, Water Code, is amended by adding Subsection (m) to read as follows:

(m)  The commission shall consider the person who is in day-to-day control of a petroleum storage tank system at a site that is in violation of this subchapter to be the:

(1)  person primarily responsible for taking corrective action, for corrective action costs, for receiving a notice of violation, or for paying a penalty assessed; and

(2)  primary subject of an enforcement action or order under this subchapter.

SECTION 7.  Section 26.3514, Water Code, is amended by adding Subsections (f), (g), (h), and (i) to read as follows:

(f)  A lender described by Subsection (a) is not liable as an owner or operator under this subchapter because the lender sells, re-leases, liquidates, or winds up operations and takes measures to preserve, protect, or prepare the secured aboveground or underground storage tank before sale or other disposition of the storage tank or the property if the lender:

(1)  did not participate in the management of an aboveground or underground storage tank or real or personal property described by Subsection (a) before foreclosure or its equivalent on the storage tank or the property; and

(2)  establishes, as provided by Subsection (g), that the ownership indicia maintained after foreclosure continue to be held primarily to protect a security interest.

(g)  A lender may establish that the ownership indicia maintained after foreclosure continue to be held primarily to protect a security interest if, within 12 months after foreclosure, the lender:

(1)  lists the aboveground or underground storage tank, or the facility or property on which the tank is located, with a broker, dealer, or agent who deals in that type of property; or

(2)  advertises the aboveground or underground storage tank for sale or other disposition, at least monthly, in:

(A)  a real estate publication;

(B)  a trade or other publication appropriate for the aboveground or underground storage tank being advertised; or

(C)  a newspaper of general circulation in the area in which the aboveground or underground storage tank is located.

(h)  For purposes of Subsection (g), the 12-month period begins:

(1)  when the lender acquires marketable title, if the lender, after the expiration of any redemption period or other waiting period required by law, was acting diligently to acquire marketable title; or

(2)  on the date of foreclosure or its equivalent, if the lender does not act diligently to acquire marketable title.

(i)  If a lender outbids, rejects, or does not act on an offer of fair consideration for the aboveground or underground storage tank or the facility or property on which the storage tank is located, it is presumed that the lender is not holding the ownership indicia primarily to protect the security interest unless the lender is required, in order to avoid liability under federal or state law, to make the higher bid, obtain the higher offer, or seek or obtain an offer in a different manner.

SECTION 8.  Section 26.352, Water Code, is amended to read as follows:

Sec. 26.352.  FINANCIAL RESPONSIBILITY.  (a)  The commission by rule shall adopt requirements for maintaining evidence of financial responsibility for taking corrective action and compensating third parties for bodily injury and property damage caused by sudden and nonsudden accidental releases arising from operating an underground storage tank.

(b)  The rules must require that, after December 22, 1998, the owner or operator of a site for which a closure letter has been issued under Section 26.3572 shall have insurance coverage or evidence of financial responsibility sufficient to satisfy all financial responsibility requirements under federal law or regulations.  The rules must require that an owner or operator of a site that has been issued a closure letter and who is eligible to have a portion of any future corrective action costs paid under Section 26.3512 shall have insurance coverage or evidence of financial responsibility sufficient to satisfy the first expenses for corrective action as provided by Section 26.3512(k).

(c)  The commission shall seek the assistance of the Texas Department of Insurance in developing the minimum requirements for insurance coverage required under this section.

(d)  An owner or operator of an underground storage tank may submit the registration certificate issued by the commission to the owner or operator under Section 26.346 of this code to the United States Environmental Protection Agency as evidence of the owner's or operator's eligibility for funds for any expense for corrective action incurred for confirmed releases initially discovered and reported to the commission on or before December 22, 1998 [from the petroleum storage tank remediation fund].

(e)  A registration certificate issued under Section 26.346 is not acceptable evidence of financial responsibility for:

(1)  an underground storage tank that contains a petroleum substance other than:

(A)  a petroleum product; or

(B)  spent oil or hydraulic fluid if the tank is located at a vehicle service and fueling facility and is used as part of the operations of that facility; or

(2)  any expenses for corrective action for confirmed releases initially discovered and reported to the commission after December 22, 1998.

(f)  The commission shall enforce this section and may impose administrative and civil penalties on the owners or operators of underground storage tanks if acceptable evidence of financial responsibility is not maintained.  An owner or operator commits an offense if the owner or operator operates an underground storage tank knowing that acceptable evidence of financial responsibility does not exist and is subject to criminal prosecution as provided by Subchapter F.  The commission may seek injunctive relief in the district courts of Travis County to force the temporary or permanent closure of an underground storage tank for which acceptable evidence of financial responsibility is not maintained.

SECTION 9.  Section 26.3572, Water Code, is amended by amending Subsections (b) and (c) and by adding Subsection (d) to read as follows:

(b)  In administering the program, the commission shall:

(1)  negotiate with or direct responsible parties in site assessment and remediation matters using risk-based corrective action;

(2)  approve site-specific corrective action plans for each site as necessary, using risk-based corrective action;

(3)  review and inspect site assessment and remedial activities and reports; [and]

(4)  use risk-based corrective action procedures as determined by commission rule to establish cleanup levels;

(5)  adopt by rule criteria for assigning a priority to each site using risk-based corrective action and assign a priority to each site according to those criteria;

(6)  adopt by rule criteria for:

(A)  risk-based corrective action site closures; and

(B)  the issuance of a closure letter to the owner or operator of a tank site on completion of the commission's corrective action requirements; and

(7)  process claims for petroleum storage tank remediation fund disbursement.

(c)  The commission by rule may approve site assessment methodologies.  The commission shall approve or disapprove a site assessment or corrective action plan, as defined by commission rule, on or before the 30th day after the commission receives the assessment or plan.  The commission shall adopt by rule criteria to be used to determine:

(1)  the necessity for site assessment; and

(2)  the nature of the site assessment required.

(d)  The commission may not approve a corrective action plan until the commission and the owner or operator of the site by agreement set specific goals in the plan for completing discrete corrective action tasks before specified dates.  The owner or operator is responsible for meeting the goals.

SECTION 10.  Sections 26.3573(d), (f), (h), (i), (k), and (p), Water Code, are amended to read as follows:

(d)  The commission may use the money in the petroleum storage tank remediation fund to pay:

(1)  necessary expenses associated with the administration of the petroleum storage tank remediation fund and the groundwater protection cleanup program, not to exceed an amount equal to five percent of the gross receipts of that fund, provided that the increment between two and five [three] percent of the gross receipts may be used only to pay administrative expenses associated with regulating petroleum storage tanks, reimbursing eligible owners and operators, [and] disposing of contaminated soils, and [further provided that the increment between three and five percent of the gross receipts may be used only to pay administrative expenses associated with] conducting claims audits in accordance with Section 26.35735 of this code[, reimbursing eligible owners and operators, and disposing of contaminated soils];

(2)  expenses associated with investigation, cleanup, or corrective action measures performed in response to a release or threatened release from a petroleum storage tank, whether those expenses are incurred by the commission or pursuant to a contract between a contractor and an eligible owner or operator as authorized by this subchapter; and

(3)  subject to the conditions of Subsection (e) of this section, expenses associated with investigation, cleanup, or corrective action measures performed in response to a release or threatened release of hydraulic fluid or spent oil from hydraulic lift systems or tanks located at a vehicle service and fueling facility and used as part of the operations of that facility.

(f)  The commission, in accordance with this subchapter and rules adopted under this subchapter, may:

(1)  contract directly with a person to perform corrective action and pay the contractor from the petroleum storage tank remediation fund;

(2)  reimburse an eligible owner or operator from the petroleum storage tank remediation fund for the expenses of a corrective action that was:

(A)  performed on or after September 1, 1987; and

(B)  conducted in response to a confirmed release that was initially discovered and reported to the commission on or before December 22, 1998; or

(3)  pay the claim of a person who has contracted with an eligible owner or operator to perform corrective action with funds from the petroleum storage tank remediation fund.

(h)  Consistent with the objectives provided under Subsection (g) of this section and this subchapter, the commission may by rule adopt:

(1)  guidelines the commission considers necessary for determining the amounts that may be paid from the petroleum storage tank remediation fund; and

(2)  guidelines concerning reimbursement for expenses incurred by an eligible owner or operator and covered under Section 26.3512(d) of this code[; and

[(3)  minimum qualifications the commission considers necessary for a person with whom an eligible owner or operator may contract to participate in corrective action].

(i)  The commission by rule may implement a registration program for persons who contract with an owner or operator of an underground storage tank or an aboveground storage tank, or with any other person, to perform corrective action under this subchapter.  The commission, on the request of an appropriately licensed or registered professional engineer, shall register the engineer in the program.  An engineer registered in the program may contract to perform corrective action under this subchapter unless the State Board of Registration for Professional Engineers determines the engineer is not qualified to perform a corrective action.  An engineer registered in the program is subject only to the examination requirements, continuing education requirements, fees, and disciplinary procedures adopted by the State Board of Registration for Professional Engineers.  The commission may adopt minimum qualifications for a person, other than an appropriately licensed or registered professional engineer, with whom an eligible owner or operator [and] may contract to participate in a corrective action and for a person, other than an appropriately licensed or registered professional engineer, who performs or supervises the corrective action.  The commission may require [registration and] the use of registered contractors and registered corrective action supervisors by an eligible owner or operator as a prerequisite to the payment of [receiving] money from the petroleum storage tank remediation fund for corrective action under this subchapter.  Any qualified registered contractor may conduct the characterization, study, appraisal, or investigation of a site.  If a site remediation involves the installation or construction of on-site equipment, structures, or systems used in the extraction or management of wastes, except for soil excavation and landfill disposal or well sampling and monitoring, the owner or operator is not eligible for reimbursement from the petroleum storage tank remediation fund unless the plans and specifications for the equipment, structures, or systems are sealed by an appropriately licensed or registered professional engineer and the equipment, structures, or systems are constructed under the supervision of an appropriately licensed or registered professional engineer.  The commission by rule may establish a fee schedule and charge fees necessary to defray the costs of administering the registration program, including fees for processing applications, printing certificates, conducting examinations, and similar activities.  Fees collected under this subsection shall be deposited in the state treasury to the credit of the storage tank fund.  A person who violates a rule or order adopted by the commission under this subsection is subject to the appropriate sanctions and penalties imposed under this chapter.

(k)  The commission shall satisfy a claim for payment that is eligible to be paid under this subchapter and the rules adopted under this subchapter made by a contractor, from the petroleum storage tank remediation fund as provided by this section and rules adopted by the commission under this section [Chapter 82, Acts of the 69th Legislature, Regular Session, 1985 (Article 601f, Vernon's Texas Civil Statutes)], regardless of whether the commission:

(1)  contracts directly for the goods or services; or

(2)  pays a claim under a contract executed by a petroleum storage tank owner or operator.

(p)  Notwithstanding any other law to the contrary, an [An] owner or operator, or an agent of an owner or operator, is [shall] not [be] entitled to and may not[, nor shall] be paid[,] interest on any claim for payment from the petroleum storage tank remediation fund.

SECTION 11.  Subchapter I, Chapter 26, Water Code, is amended by adding Section 26.35731 to read as follows:

Sec. 26.35731.  CONSIDERATION AND PROCESSING OF APPLICATIONS FOR REIMBURSEMENT.  (a)  Except as provided by Subsection (b), the commission shall consider and process a claim by an eligible owner or operator for reimbursement from the petroleum storage tank remediation fund in the order in which it is received.  The commission shall consider and process all claims by eligible owners and operators for reimbursement from the fund that were received before September 1, 1995, before the commission considers a claim received after that date.

(b)  The commission may not consider, process, or pay a claim for reimbursement from the petroleum storage tank remediation fund for corrective action work begun after September 1, 1993, and without prior commission approval until all claims for reimbursement for corrective action work preapproved by the commission have been considered, processed, and paid.

SECTION 12.  Section 26.35735, Water Code, is amended by adding Subsections (e) and (f) to read as follows:

(e)  The commission may audit a claim for payment as required by this section only:

(1)  under guidelines adopted by commission rule that relate to conducting an audit under this section and denying a claim as a result of that audit and that are in effect when the audit is conducted; or

(2)  in a case of suspected fraud.

(f)  Not later than the 90th day after an audit under this section has been completed, the commission shall send a copy of the audit to the person whose claim for payment is the subject of the audit.

SECTION 13.  Sections 26.3574(b), (x), and (y), Water Code, are amended to read as follows:

(b)  A fee is imposed on the delivery of a petroleum product on withdrawal from bulk of that product as provided by this subsection.  Each operator of a bulk facility on withdrawal from bulk of a petroleum product shall collect from the person who orders the withdrawal a fee in an amount determined as follows:

(1)  $25 [$12.50] for each delivery into a cargo tank having a capacity of less than 2,500 gallons;

(2)  $50 [$25] for each delivery into a cargo tank having a capacity of 2,500 gallons or more but less than 5,000 gallons;

(3)  $75 [$37.50] for each delivery into a cargo tank having a capacity of 5,000 gallons or more but less than 8,000 gallons;

(4)  $100 [$50] for each delivery into a cargo tank having a capacity of 8,000 gallons or more but less than 10,000 gallons; and

(5)  a $50 [$25] fee for each increment of 5,000 gallons or any part thereof delivered into a cargo tank having a capacity of 10,000 gallons or more.

(x)  After the deposits have been made to the credit of the general revenue fund as required by Section 403.092(c)(1), Government Code, as added by Chapter 533, Acts of the 73rd Legislature, 1993, the [The] fee imposed under this section may not be collected or required to be paid on or after the first day of the second month following notification by the commission of the date on which the unobligated balance in the petroleum storage tank remediation fund equals or exceeds $125 million [during the 1990-1991 state fiscal biennium or $100 million thereafter].  The commission shall notify the comptroller in writing of the date on which the unobligated balance equals or exceeds $125 million [during the 1990-1991 state fiscal biennium or $100 million thereafter].

(y)  If the unobligated balance in the petroleum storage tank remediation fund falls below [$50 million during the 1990-1991 state fiscal biennium or] $25 million [thereafter], the fee shall be reinstated, effective on the first day of the second month following notification by the commission, in amounts determined as follows:

(1)  $12.50 for each delivery into a cargo tank having a capacity of less than 2,500 gallons;

(2)  $25 for each delivery into a cargo tank having a capacity of 2,500 gallons or more but less than 5,000 gallons;

(3)  $37.50 for each delivery into a cargo tank having a capacity of 5,000 gallons or more but less than 8,000 gallons;

(4)  $50 for each delivery into a cargo tank having a capacity of 8,000 gallons or more but less than 10,000 gallons; and

(5)  a $25 fee for each increment of 5,000 gallons or any part thereof delivered into a cargo tank having a capacity of 10,000 gallons or more.

SECTION 14.  Subchapter I, Chapter 26, Water Code, is amended by adding Sections 26.360-26.363 to read as follows:

Sec. 26.360.  PRIVATIZATION OF PROGRAM.  Notwithstanding other provisions of this subchapter, the commission by rule may authorize the privatization of any part of the program established under this subchapter.

Sec. 26.361.  EXPIRATION OF REIMBURSEMENT PROGRAM.  Notwithstanding any other provision of this subchapter, the reimbursement program established under this subchapter expires September 1, 2001.  On or after September 1, 2001, the commission may not:

(1)  use money from the petroleum storage tank remediation fund to reimburse an eligible owner or operator for any expenses of corrective action or to pay the claim of a person who has contracted with an eligible owner or operator to perform corrective action; or

(2)  collect a fee under Section 26.3574 of this code.

Sec. 26.362.  SUIT TO TEST VALIDITY OF CLOSURE LETTER.  The commission is immune from liability in any action against the commission to test the validity of a closure letter issued under Section 26.3572 if the letter is issued in accordance with commission rules.

Sec. 26.363.  RELIANCE ON CLOSURE LETTER.  An owner or operator to whom a closure letter for a site has been issued under Section 26.3572 may not be held liable for the owner's or operator's conduct taken in reliance on and within the scope of the closure letter.

SECTION 15.  Chapter 244, Acts of the 71st Legislature, Regular Session, 1989 (Article 8900, Vernon's Texas Civil Statutes), is redesignated as Subchapter K, Chapter 26, Water Code, and amended to read as follows:

SUBCHAPTER K [Art. 8900].  UNDERGROUND STORAGE TANK

INSTALLERS[; REGULATIONS; PENALTIES]

Sec. 26.451 [1].  DEFINITIONS.  In this subchapter [Act]:

(1)  "Certificate of registration" means the document issued to an underground storage tank contractor authorizing that contractor to engage in the underground storage tank business in this state.  ["Commission" means the Texas Water Commission.]

(2)  "Committee" means the Petroleum Storage Tank Advisory Committee.

(3)  "Critical junctures" means, in the case of an installation, repair, or removal, all of the following steps:

(A)  preparation of the tank bedding immediately before receiving the tank;

(B)  setting of the tank and the piping, including placement of any anchoring devices, backfill to the level of the tank, and strapping, if any;

(C)  connection of piping systems to the tank;

(D)  all pressure testing of the underground storage tank, including associated piping, performed during the installation;

(E)  completion of backfill and filling of the excavation;

(F)  any time during the repair in which the piping system is connected or reconnected to the tank;

(G)  any time during the repair in which the tank or its associated piping is tested; and

(H)  any time during the removal of the tank.

(4)  "Installation" means the installation of underground storage tanks and ancillary equipment.

(5) [(4)]  "Installer" means a person who participates in or supervises the installation, repair, or removal of underground storage tanks.

(6)  "License" means the document issued to an installer or on-site supervisor authorizing that person to engage in the underground storage tank business in this state.

(7)  "On-site supervisor" means:

(A)  a professional engineer registered to practice in this state who has met the licensing requirements under Section 26.456; or

(B)  a person who has at least two years of active experience in the vocation of installation of underground storage tanks, underground utilities, or other engineering construction in this state and who meets the licensing requirements under Section 26.456.

(8) [(5)]  "Operator" means any person in control of, or having responsibility for, the daily operation of the underground storage tank system.

(9) [(6)]  "Owner" means any person who owns an underground storage tank system used for storage, use, or dispensing of regulated substances.

(10) [(7)]  "Person" means a natural person, including an owner, manager, officer, employee, or occupant.

(11) [(8)]  "Removal" means the process of removing and disposing of an underground storage tank that is no longer in service, or the process of abandoning an underground storage tank in place after purging the tank of vapors and filling the vessel of the tank with an inert material.

(12) [(9)]  "Repair" means the modification or correction of an underground storage tank and ancillary equipment.  The term does not include:

(A)  relining an underground storage tank through the application of epoxy resins or similar materials;

(B)  the performance of a tightness test to ascertain the integrity of the tank;

(C)  the maintenance and inspection of cathodic protection devices by a corrosion expert or corrosion technician;

(D)  emergency actions to halt or prevent leaks or ruptures; or

(E)  minor maintenance on ancillary aboveground equipment.

(13) [(10)]  "Underground storage tank" has the meaning assigned by Section 26.342[, Water Code].

[(11)  "On-site supervisor" means:

[(A)  a professional engineer registered to practice in this state who has met the licensing requirements under Section 6 of this Act; or

[(B)  an individual with at least two years of active experience in the vocation of installation of underground storage tanks, underground utilities, or other engineering construction in the State of Texas and who meets the licensing requirements under Section 6 of this Act.]

(14) [(12)]  "Underground storage tank contractor" means a person or business entity who [that] offers to undertake, represents itself as being able to undertake, or does undertake to install, repair, or remove underground storage tanks.

[(13)  "Certificate of registration" means the document issued to an underground storage tank contractor authorizing same to engage in the underground storage tank business in this state.

[(14)  "License" means the document issued to an installer or on-site supervisor authorizing same to engage in the underground storage tank business in this state.

[(15)  "Critical junctures" means, in the case of an installation, repair, or removal, all of the following steps:

[(A)  preparation of the tank bedding immediately prior to receiving the tank;

[(B)  setting of the tank and the piping, including placement of any anchoring devices, backfill to the level of the tank, and strapping, if any;

[(C)  connection of piping systems to the tank;

[(D)  all pressure testing of the underground storage tank, including associated piping, performed during the installation;

[(E)  completion of backfill and filling of the excavation;

[(F)  any time during the repair in which the piping system is connected or reconnected to the tank;

[(G)  any time during the repair in which the tank or its associated piping is tested; and

[(H)  any time during the removal of the tank.]

Sec. 26.452 [2].  CERTIFICATE OF REGISTRATION.  (a)  An underground storage tank contractor must apply to the commission for a certificate of registration on a form prescribed by the commission.  If the contractor is a partnership or joint venture, it need not register in its own name if each partner or joint venture is registered.

(b)  A certificate of registration is valid for one year from the date of issue and is renewable annually on payment of the annual fee.  An[; provided, however, that the] initial certification of registration [issued on or after September 1, 1989,] may be issued for a period [periods] of less than one year and the annual fee shall be prorated proportionally.

(c)  Each certificate of registration must be posted in a conspicuous place in the contractor's place of business.

(d)  All bids, proposals, offers, and installation drawings must prominently display the contractor's certificate of registration number.

(e)  A certificate of registration issued under this subchapter [Act] is not transferable.

Sec. 26.453 [3].  LICENSE REQUIRED.  (a)  An [Except as provided for by Subsection (b) of this section, an] underground storage tank may not be installed, repaired, or removed except by an underground storage tank contractor who has an installer or an on-site supervisor who is licensed by the commission under Section 26.456 [6 of this Act] at the site at all times during the critical junctures of the installation, repair, or removal.

(b)  [A license issued under this Act is not transferable.

[(c)]  This subchapter [Act] does not apply to the installation of a storage tank or other facility exempt from regulation under Section 26.344[, Water Code].

Sec. 26.454 [4].  POWERS AND DUTIES OF COMMISSION.  (a)  The commission shall:

(1)  prescribe application forms for original and renewal licenses; and

(2)  take other action necessary to enforce this subchapter [Act].

(b)  With the advice of the committee, the commission shall adopt rules for the licensing of installers and on-site supervisors.

(c)  The commission may adopt rules relating to continuing education requirements for installers and on-site supervisors.

Sec. 26.455 [5].  EXAMINATION.  (a)  At times and places designated by the commission, the commission shall conduct an examination of applicants for licensing as installers and on-site supervisors.

(b)  The commission shall prescribe the contents of the examination.  Questions used in the examination must be derived from standards, instructions, and recommended practices published by organizations with expertise in various aspects of installation, removal, and repair of underground storage tanks, including the:

(1)  Petroleum Equipment Institute;

(2)  American Petroleum Institute;

(3)  Steel Tank Institute;

(4)  National Association of Corrosion Engineers;

(5)  Fiberglass Petroleum Tank and Pipe Institute; and

(6)  National Fire Protection Association.

(c)  The commission shall determine standards for acceptable performance on the examination.

(d)  If requested by a license applicant who fails the examination, the commission shall provide to the applicant an analysis of the applicant's performance on the examination.

Sec. 26.456 [6].  LICENSE.  (a)  The commission shall issue an installer or on-site supervisor license to an applicant who:

(1)  is at least 18 years of age;

(2)  meets the application requirements prescribed by commission rule, including experience in installation of underground storage tanks, underground utilities, or other engineering construction in this state [the State of Texas], not to exceed two years of active experience;

(3)  passes the licensing examination;

(4)  pays the application, examination, and licensing fees; and

(5)  meets reasonable training requirements as determined by the commission.

(b)  A license issued under this subchapter [Act] is valid throughout this state but is not assignable or transferable.

Sec. 26.457 [7].  LICENSE RENEWAL.  (a)  A license is valid for one year and may be renewed annually on or before February 1 on payment of the required renewal fee and presentation of evidence satisfactory to the commission of compliance with any continuing education requirements adopted by the commission.

(b)  If a licensee fails to renew the license by the required date, the licensee may renew the license on payment of the renewal fee and a late fee set by the commission.  If the license is not renewed earlier than one year after the date on which the license expired, the licensee must retake the licensing examination administered by the commission.

Sec. 26.458 [8].  FEES.  (a)  The commission shall charge necessary fees to defray the costs of administering this subchapter [the provisions of this Act], which shall be deposited in the state treasury to the credit of the [underground] storage tank account [fund] and shall be used by the commission in administering [the provisions of] this subchapter [Act].  The fees may not exceed the following amounts:

(1)  examination fee $ 50;

(2)  initial license application $200;

(3)  annual license renewal fee $175;

(4)  late renewal fee $ 25;

(5)  duplicate license fee $ 10;

(6)  certification   of   registration   application fee $ 50;

(7)  certification of registration issuance fee $100;

(8)  certification  of  registration  annual renewal fee $ 75;

(9)  duplicate  certification  of registration or license $ 10;

(10)  application to  change  certificate of registration $ 70.

(b)  If a person remits an examination fee and initial license application fee, the examination fee shall be applied to the license application fee so that an applicant does not [no person shall] pay more than $200 for an initial application and examination.

Sec. 26.459 [9].  DENIAL, SUSPENSION, OR REVOCATION OF LICENSE OR CERTIFICATE OF REGISTRATION; REINSTATEMENT.  (a)  The commission may deny, suspend, revoke, or reinstate a license or certificate of registration.

(b)  The commission shall adopt rules establishing the grounds for denial, suspension, revocation, or reinstatement of a license or certificate of registration, and establishing procedures for disciplinary actions.

(c)  Proceedings relating to the suspension or revocation of a license or certificate of registration issued under this subchapter [Act] are subject to Chapter 2001, Government Code [the Administrative Procedure and Texas Register Act (Article 6252-13a, Vernon's Texas Civil Statutes)].

(d)  A person or business entity whose license or certificate of registration has been revoked may apply for a new license or certificate of registration after the expiration of one year from the date of the revocation.

Sec. 26.460 [10.  ADVISORY COMMITTEE.  (a)  The Petroleum Storage Tank Advisory Committee is established.

[(b)  The committee is composed of nine members appointed by the governor with the advice and consent of the senate.  Committee members serve for staggered six-year terms, with the terms of three members expiring February 1 of each odd-numbered year.  A member is not eligible for appointment to successive terms.

[(c)  The governor shall appoint all members of the committee, of whom:

[(1)  no more than three members may be appointed from a single metropolitan area;

[(2)  three members must be persons with experience in the operation of underground storage tanks;

[(3)  one member must be a professional engineer registered to practice in this state;

[(4)  one member must be a person who is not eligible for a license under this Act but who has demonstrated experience in environmental protection, fire protection, or the operation and maintenance of underground storage tanks;

[(5)  three members must be persons who own construction firms engaged in installation of underground petroleum storage tanks in the State of Texas; and

[(6)  one member must be a representative of the financial industry with experience in underground storage tank corrective action.

[(d)  The governor annually shall designate one member to serve as chairman.  The committee, at a minimum, shall meet quarterly, at the call of the chairman, or at the call of the chairman of the commission.

[(e)  The committee shall provide technical expertise to the commission regarding petroleum storage tanks and shall advise the commission in the adoption of rules pertaining to the commission's petroleum storage tank program (31 TAC Chapter 334) and for the licensing and regulation of installers and corrective action specialists.

[Sec. 11].  Criminal, Civil, and Administrative PENALTIES.  (a)  A person or business entity commits an offense if the person or business entity engages in [supervises] the installation, repair, or removal of an underground storage tank and the person or business entity:

(1)  does not hold a certificate of registration issued under Section 26.452; and

(2)  is not under the substantial control of a person or business entity who holds a certificate of registration issued under Section 26.452.

(b)  A person commits an offense if the person performs or supervises the installation, repair, or removal of an underground storage tank unless:

(1)  the person holds a license issued under Section 26.456; or

(2)  another person who holds a license issued under Section 26.456 is substantially responsible for the performance or supervision of the installation, repair, or removal.

(c)  A person or business entity commits an offense if the person or business entity:

(1)  authorizes or allows the installation, repair, or removal of an underground storage tank to be conducted by a person or business entity who does not hold a certificate of registration issued under Section 26.452; or

(2)  authorizes or allows the installation, repair, or removal of an underground storage tank to be performed or supervised by a person or business entity who does not hold a license issued under Section 26.456.

(d)  A person or business entity commits an offense if the conduct of the person or business entity makes the person or business entity responsible for a violation of this subchapter or of a rule adopted or order issued under this subchapter.  [in a manner that fails to comply with the requirements of Section 3 of this Act.]

(e) [(b)]  An offense under [Subsection (a) of] this section is a Class A misdemeanor.

(f) [(c)]  A person or business entity who commits [committing] an offense under [Subsection (a) of] this section may be assessed a civil penalty by the commission in an amount not to exceed $2,500 for each day of violation.

(g)  In addition to the criminal and civil penalties imposed under this section, a person or business entity who commits an offense under this section or who violates Subchapter I or a rule adopted or order issued under Subchapter I is subject to an administrative penalty as provided by Section 26.136.  [(d)  If an owner fails to comply with the requirements of Section 3 of this Act, or a rule adopted by the commission to implement this Act, the person may be assessed a civil penalty by the commission in an amount not to exceed $2,500 for each day of the violation.

[Sec. 12.  Initial appointments.  In making the initial appointments to the advisory committee, the governor shall designate three members for terms expiring in 1991, three members for terms expiring in 1993, and three members for terms expiring in 1995.

[Sec. 13.  Effective date for license requirement.  A person is not required to obtain a license under this Act until February 1, 1990.]

SECTION 16.  Section 403.092(c), Government Code, as added by Section 1, Chapter 533, Acts of the 73rd Legislature, 1993, is amended to read as follows:

(c)(1)  The comptroller may temporarily transfer cash from the general revenue fund to the petroleum storage tank remediation fund during the 1996-1997 [1994-1995] biennium for the purpose of paying reimbursement claims against that fund that are filed with the Texas Natural Resource Conservation Commission on or before August 31, 1995, and for paying the necessary expenses associated with the administration of that fund.  The amount of cash to be transferred shall not exceed $120 million.  The transfer shall be made on September 1, 1995 [1993], or as soon as practicable thereafter.

(2)  Notwithstanding other law, $80 million of the fees collected under Section 26.3574, Water Code, shall be deposited to the credit of the general revenue fund not later than August 31, 1996, and $40 million of those fees shall be deposited to the credit of that fund not later than May 31, 1997 [until the amount of the fee collections so deposited to the credit of the general revenue fund equals the amount of the temporary cash transfer authorized in Subdivision (1)].  The remaining fees [Fees] collected under that section in excess of the amounts [amount] required by this subdivision to be deposited to the credit of the general revenue fund shall be deposited to the credit of the petroleum storage tank remediation fund.

(3)  The amount transferred under Subdivision (1) is a receivable of the general revenue fund for the purpose of statements that the comptroller submits under Article III, Section 49a, of the Texas Constitution.  The transferred amount is available for appropriation by the legislature.

(4)  This subsection expires on the latter of August 31, 1997 [1995], or the date of full repayment to the general revenue fund of the amount required under Subdivision (2).

SECTION 17.  (a)  The change in law made by Section 26.460, Water Code, as added by this Act, applies only to an offense committed or violation that occurs on or after the effective date of this Act.  For purposes of this section, an offense is committed before the effective date of this Act if any element of the offense occurred before that date.

(b)  An offense committed or violation that occurred before the effective date of this Act is governed by the law in effect when the offense was committed or violation occurred, and the former law is continued in effect for that purpose.

SECTION 18.  This Act takes effect September 1, 1995.

SECTION 19.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.

_______________________________     _______________________________

President of the Senate              Speaker of the House

I certify that H.B. No. 2587 was passed by the House on May 3, 1995, by a non-record vote; and that the House concurred in Senate amendments to H.B. No. 2587 on May 18, 1995, by a non-record vote.

_______________________________

Chief Clerk of the House

I certify that H.B. No. 2587 was passed by the Senate, with amendments, on May 15, 1995, by a viva-voce vote.

_______________________________

Secretary of the Senate

APPROVED:  _____________________

Date

_____________________

Governor