By Alexander	H.B. No. 2587

A BILL TO BE ENTITLED

AN ACT

relating to the operation of certain aboveground and underground storage tanks and the regulation of underground storage tank installers; providing penalties.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 26.3512(b), Water Code, is amended to read as follows:

(b)  Funds from the petroleum storage tank remediation fund may not be used to pay, and the owner or operator of a petroleum storage tank ordered by the commission to take corrective action is responsible for payment of, the following:

(1)  the owner or operator contribution described by Subsection (e) of this section;

(2)  any expenses for corrective action that exceed $1 million for each occurrence;

(3)  any expenses for corrective action that are not covered by payment from the petroleum storage tank remediation fund under the rules or decisions of the commission under this subchapter; [or]

(4)  any expenses for corrective action not ordered or agreed to by the commission; or

(5)  any expenses for corrective action incurred for confirmed releases initially discovered and reported to the commission after December 22, 1998.

SECTION 2.  Section 26.352, Water Code, is amended by amending Subsection (b) and adding Subsections (c) and (d) to read as follows:

(b)  An owner or operator of an underground storage tank may submit the registration certificate issued by the commission to the owner or operator under Section 26.346 of this code to the United States Environmental Protection Agency as evidence of the owner's or operator's eligibility for funds for any expenses for corrective action incurred for confirmed releases initially discovered and reported to the commission on or before December 22, 1998 [from the petroleum storage tank remediation fund].

(c)  A registration certificate issued under Section 26.346 is not acceptable evidence of financial responsibility for:

(1)  an underground storage tank that contains a petroleum substance other than:

(A)  a petroleum product; or

(B)  spent oil or hydraulic fluid if the tank is located at a vehicle service and fueling facility and is used as part of the operations of that facility; or

(2)  any expenses for corrective action for confirmed releases initially discovered and reported to the commission after December 22, 1998.

(d)  The commission shall enforce this section and may impose administrative and civil penalties on the owners or operators of underground storage tanks if acceptable evidence of financial responsibility is not maintained.  An owner or operator commits an offense if the owner or operator operates an underground storage tank knowing that acceptable evidence of financial responsibility does not exist and is subject to criminal prosecution as provided by Subchapter F.  The commission may seek injunctive relief in the district courts of Travis County to force the temporary or permanent closure of an underground storage tank for which acceptable evidence of financial responsibility is not maintained.

SECTION 3.  Sections 26.3573(d), (f), (h), (i), (k), and (p), Water Code, are amended to read as follows:

(d)  The commission may use the money in the petroleum storage tank remediation fund to pay:

(1)  necessary expenses associated with the administration of the petroleum storage tank remediation fund and the groundwater protection cleanup program, not to exceed an amount equal to five percent of the gross receipts of that fund, provided that the increment between two and five [three] percent of the gross receipts may be used only to pay administrative expenses associated with regulating petroleum storage tanks, reimbursing eligible owners and operators, [and] disposing of contaminated soils, and [further provided that the increment between three and five percent of the gross receipts may be used only to pay administrative expenses associated with] conducting claims audits in accordance with Section 26.35735 of this code[, reimbursing eligible owners and operators, and disposing of contaminated soils];

(2)  expenses associated with investigation, cleanup, or corrective action measures performed in response to a release or threatened release from a petroleum storage tank, whether those expenses are incurred by the commission or pursuant to a contract between a contractor and an eligible owner or operator as authorized by this subchapter; and

(3)  subject to the conditions of Subsection (e) of this section, expenses associated with investigation, cleanup, or corrective action measures performed in response to a release or threatened release of hydraulic fluid or spent oil from hydraulic lift systems or tanks located at a vehicle service and fueling facility and used as part of the operations of that facility.

(f)  The commission, in accordance with this subchapter and rules adopted under this subchapter, may:

(1)  contract directly with a person to perform corrective action and pay the contractor from the petroleum storage tank remediation fund;

(2)  reimburse an eligible owner or operator from the petroleum storage tank remediation fund for the expenses of a corrective action that was:

(A)  performed on or after September 1, 1987; and

(B)  conducted in response to a confirmed release that was initially discovered and reported to the commission on or before December 22, 1998; or

(3)  pay the claim of a person who has contracted with an eligible owner or operator to perform corrective action with funds from the petroleum storage tank remediation fund.

(h)  Consistent with the objectives provided under Subsection (g) of this section and this subchapter, the commission may by rule adopt:

(1)  guidelines the commission considers necessary for determining the amounts that may be paid from the petroleum storage tank remediation fund; and

(2)  guidelines concerning reimbursement for expenses incurred by an eligible owner or operator and covered under Section 26.3512(d) of this code[; and

[(3)  minimum qualifications the commission considers necessary for a person with whom an eligible owner or operator may contract to participate in corrective action].

(i)  The commission by rule may implement a registration program for persons who contract with an owner or operator of an underground storage tank or an aboveground storage tank, or with any other person, to perform corrective action under this subchapter.  The commission may adopt minimum qualifications for a person with whom an eligible owner or operator [and] may contract to participate in a corrective action and for persons who perform or supervise the corrective action.  The commission may require registration and the use of registered contractors and registered supervisors by an eligible owner or operator or an agent of an eligible owner or operator as a prerequisite to the payment of [receiving] money from the petroleum storage tank remediation fund for corrective action under this subchapter.  The commission by rule may establish a schedule of fees to cover the costs of administering the registration program, including fees for processing of applications, printing certificates, conducting examinations, and similar activities.  Fees collected under this subsection shall be deposited in the state treasury to the credit of the storage tank account.  A person who violates a rule or order adopted by the commission under this subsection is subject to the appropriate sanctions and penalties imposed under this chapter.

(k)  The commission shall satisfy a claim for payment that is eligible to be paid under this subchapter and the rules adopted under this subchapter made by a contractor, from the petroleum storage tank remediation fund as provided by this section and any rules adopted by the commission under this section [Chapter 82, Acts of the 69th Legislature, Regular Session, 1985 (Article 601f, Vernon's Texas Civil Statutes)], regardless of whether the commission:

(1)  contracts directly for the goods or services; or

(2)  pays a claim under a contract executed by a petroleum storage tank owner or operator.

(p)  Notwithstanding any other law to the contrary, an [An] owner or operator, or any agent of an owner or operator, is [shall] not [be] entitled to and may not[, nor shall] be paid[,] interest on any claim for payment from the petroleum storage tank remediation fund.

SECTION 4.  Chapter 244, Acts of the 71st Legislature, Regular Session, 1989 (Article 8900, Vernon's Texas Civil Statutes), is redesignated as Subchapter K, Chapter 26, Water Code, and amended to read as follows:

SUBCHAPTER K [Art. 8900].  UNDERGROUND STORAGE TANK

INSTALLERS[; REGULATIONS; PENALTIES]

Sec. 26.451 [1].  DEFINITIONS.  In this subchapter [Act]:

(1)  "Certificate of registration" means the document issued to an underground storage tank contractor authorizing that contractor to engage in the underground storage tank business in this state.  ["Commission" means the Texas Water Commission.]

(2)  "Committee" means the Petroleum Storage Tank Advisory Committee.

(3)  "Critical junctures" means, in the case of an installation, repair, or removal, all of the following steps:

(A)  preparation of the tank bedding immediately before receiving the tank;

(B)  setting of the tank and the piping, including placement of any anchoring devices, backfill to the level of the tank, and strapping, if any;

(C)  connection of piping systems to the tank;

(D)  all pressure testing of the underground storage tank, including associated piping, performed during the installation;

(E)  completion of backfill and filling of the excavation;

(F)  any time during the repair in which the piping system is connected or reconnected to the tank;

(G)  any time during the repair in which the tank or its associated piping is tested; and

(H)  any time during the removal of the tank.

(4)  "Installation" means the installation of underground storage tanks and ancillary equipment.

(5) [(4)]  "Installer" means a person who participates in or supervises the installation, repair, or removal of underground storage tanks.

(6)  "License" means the document issued to an installer or on-site supervisor authorizing that person to engage in the underground storage tank business in this state.

(7)  "On-site supervisor" means:

(A)  a professional engineer registered to practice in this state who has met the licensing requirements under Section 26.456; or

(B)  a person who has at least two years of active experience in the vocation of installation of underground storage tanks, underground utilities, or other engineering construction in this state and who meets the licensing requirements under Section 26.456.

(8) [(5)]  "Operator" means any person in control of, or having responsibility for, the daily operation of the underground storage tank system.

(9) [(6)]  "Owner" means any person who owns an underground storage tank system used for storage, use, or dispensing of regulated substances.

(10) [(7)]  "Person" means a natural person, including an owner, manager, officer, employee, or occupant.

(11) [(8)]  "Removal" means the process of removing and disposing of an underground storage tank that is no longer in service, or the process of abandoning an underground storage tank in place after purging the tank of vapors and filling the vessel of the tank with an inert material.

(12) [(9)]  "Repair" means the modification or correction of an underground storage tank and ancillary equipment.  The term does not include:

(A)  relining an underground storage tank through the application of epoxy resins or similar materials;

(B)  the performance of a tightness test to ascertain the integrity of the tank;

(C)  the maintenance and inspection of cathodic protection devices by a corrosion expert or corrosion technician;

(D)  emergency actions to halt or prevent leaks or ruptures; or

(E)  minor maintenance on ancillary aboveground equipment.

(13) [(10)]  "Underground storage tank" has the meaning assigned by Section 26.342[, Water Code].

[(11)  "On-site supervisor" means:

[(A)  a professional engineer registered to practice in this state who has met the licensing requirements under Section 6 of this Act; or

[(B)  an individual with at least two years of active experience in the vocation of installation of underground storage tanks, underground utilities, or other engineering construction in the State of Texas and who meets the licensing requirements under Section 6 of this Act.]

(14) [(12)]  "Underground storage tank contractor" means a person or business entity who [that] offers to undertake, represents itself as being able to undertake, or does undertake to install, repair, or remove underground storage tanks.

[(13)  "Certificate of registration" means the document issued to an underground storage tank contractor authorizing same to engage in the underground storage tank business in this state.

[(14)  "License" means the document issued to an installer or on-site supervisor authorizing same to engage in the underground storage tank business in this state.

[(15)  "Critical junctures" means, in the case of an installation, repair, or removal, all of the following steps:

[(A)  preparation of the tank bedding immediately prior to receiving the tank;

[(B)  setting of the tank and the piping, including placement of any anchoring devices, backfill to the level of the tank, and strapping, if any;

[(C)  connection of piping systems to the tank;

[(D)  all pressure testing of the underground storage tank, including associated piping, performed during the installation;

[(E)  completion of backfill and filling of the excavation;

[(F)  any time during the repair in which the piping system is connected or reconnected to the tank;

[(G)  any time during the repair in which the tank or its associated piping is tested; and

[(H)  any time during the removal of the tank.]

Sec. 26.452 [2].  CERTIFICATE OF REGISTRATION.  (a)  An underground storage tank contractor must apply to the commission for a certificate of registration on a form prescribed by the commission.  If the contractor is a partnership or joint venture, it need not register in its own name if each partner or joint venture is registered.

(b)  A certificate of registration is valid for one year from the date of issue and is renewable annually on payment of the annual fee.  An[; provided, however, that the] initial certification of registration [issued on or after September 1, 1989,] may be issued for a period [periods] of less than one year and the annual fee shall be prorated proportionally.

(c)  Each certificate of registration must be posted in a conspicuous place in the contractor's place of business.

(d)  All bids, proposals, offers, and installation drawings must prominently display the contractor's certificate of registration number.

(e)  A certificate of registration issued under this subchapter [Act] is not transferable.

Sec. 26.453 [3].  LICENSE REQUIRED.  (a)  An [Except as provided for by Subsection (b) of this section, an] underground storage tank may not be installed, repaired, or removed except by an underground storage tank contractor who has an installer or an on-site supervisor who is licensed by the commission under Section 26.456 [6 of this Act] at the site at all times during the critical junctures of the installation, repair, or removal.

(b)  [A license issued under this Act is not transferable.

[(c)]  This subchapter [Act] does not apply to the installation of a storage tank or other facility exempt from regulation under Section 26.344[, Water Code].

Sec. 26.454 [4].  POWERS AND DUTIES OF COMMISSION.  (a)  The commission shall:

(1)  prescribe application forms for original and renewal licenses; and

(2)  take other action necessary to enforce this subchapter [Act].

(b)  With the advice of the committee, the commission shall adopt rules for the licensing of installers and on-site supervisors.

(c)  The commission may adopt rules relating to continuing education requirements for installers and on-site supervisors.

Sec. 26.455 [5].  EXAMINATION.  (a)  At times and places designated by the commission, the commission shall conduct an examination of applicants for licensing as installers and on-site supervisors.

(b)  The commission shall prescribe the contents of the examination.  Questions used in the examination must be derived from standards, instructions, and recommended practices published by organizations with expertise in various aspects of installation, removal, and repair of underground storage tanks, including the:

(1)  Petroleum Equipment Institute;

(2)  American Petroleum Institute;

(3)  Steel Tank Institute;

(4)  National Association of Corrosion Engineers;

(5)  Fiberglass Petroleum Tank and Pipe Institute; and

(6)  National Fire Protection Association.

(c)  The commission shall determine standards for acceptable performance on the examination.

(d)  If requested by a license applicant who fails the examination, the commission shall provide to the applicant an analysis of the applicant's performance on the examination.

Sec. 26.456 [6].  LICENSE.  (a)  The commission shall issue an installer or on-site supervisor license to an applicant who:

(1)  is at least 18 years of age;

(2)  meets the application requirements prescribed by commission rule, including experience in installation of underground storage tanks, underground utilities, or other engineering construction in this state [the State of Texas], not to exceed two years of active experience;

(3)  passes the licensing examination;

(4)  pays the application, examination, and licensing fees; and

(5)  meets reasonable training requirements as determined by the commission.

(b)  A license issued under this subchapter [Act] is valid throughout this state but is not assignable or transferable.

Sec. 26.457 [7].  LICENSE RENEWAL.  (a)  A license is valid for one year and may be renewed annually on or before February 1 on payment of the required renewal fee and presentation of evidence satisfactory to the commission of compliance with any continuing education requirements adopted by the commission.

(b)  If a licensee fails to renew the license by the required date, the licensee may renew the license on payment of the renewal fee and a late fee set by the commission.  If the license is not renewed earlier than one year after the date on which the license expired, the licensee must retake the licensing examination administered by the commission.

Sec. 26.458 [8].  FEES.  (a)  The commission shall charge necessary fees to defray the costs of administering this subchapter [the provisions of this Act], which shall be deposited in the state treasury to the credit of the [underground] storage tank account [fund] and shall be used by the commission in administering [the provisions of] this subchapter [Act].  The fees may not exceed the following amounts:

(1)  examination fee $ 50;

(2)  initial license application $200;

(3)  annual license renewal fee $175;

(4)  late renewal fee $ 25;

(5)  duplicate license fee $ 10;

(6)  certification   of   registration   application fee $ 50;

(7)  certification of registration issuance fee $100;

(8)  certification  of  registration  annual renewal fee $ 75;

(9)  duplicate  certification  of registration or license $ 10;

(10)  application    to     change     certificate   of

registration..................................................$ 70.

(b)  If a person remits an examination fee and initial license application fee, the examination fee shall be applied to the license application fee so that an applicant does not [no person shall] pay more than $200 for an initial application and examination.

Sec. 26.459 [9].  DENIAL, SUSPENSION, OR REVOCATION OF LICENSE OR CERTIFICATE OF REGISTRATION; REINSTATEMENT.  (a)  The commission may deny, suspend, revoke, or reinstate a license or certificate of registration.

(b)  The commission shall adopt rules establishing the grounds for denial, suspension, revocation, or reinstatement of a license or certificate of registration, and establishing procedures for disciplinary actions.

(c)  Proceedings relating to the suspension or revocation of a license or certificate of registration issued under this subchapter [Act] are subject to Chapter 2001, Government Code [the Administrative Procedure and Texas Register Act (Article 6252-13a, Vernon's Texas Civil Statutes)].

(d)  A person or business entity whose license or certificate of registration has been revoked may apply for a new license or certificate of registration after the expiration of one year from the date of the revocation.

Sec. 26.460 [10].  ADVISORY COMMITTEE.  (a)  The Petroleum Storage Tank Advisory Committee is established.

(b)  The committee is composed of nine members appointed by the governor with the advice and consent of the senate.  Committee members serve for staggered six-year terms, with the terms of three members expiring February 1 of each odd-numbered year.  A member is not eligible for appointment to successive terms.

(c)  The governor shall appoint all members of the committee, of whom:

(1)  no more than three members may be appointed from a single metropolitan area;

(2)  three members must be persons with experience in the operation of underground storage tanks;

(3)  one member must be a professional engineer registered to practice in this state;

(4)  one member must be a person who is not eligible for a license under this subchapter [Act] but who has demonstrated experience in environmental protection, fire protection, or the operation and maintenance of underground storage tanks;

(5)  three members must be persons who own construction firms engaged in installation of underground petroleum storage tanks in this state [the State of Texas]; and

(6)  one member must be a representative of the financial industry with experience in underground storage tank corrective action.

(d)  The governor annually shall designate one member to serve as chairman.  The committee, at a minimum, shall meet quarterly, at the call of the chairman, or at the call of the chairman of the commission.

(e)  The committee shall provide technical expertise to the commission regarding petroleum storage tanks and shall advise the commission in the adoption of rules relating [pertaining] to:

(1)  the commission's petroleum storage tank program; [(31 TAC Chapter 334)] and

(2)  [for] the licensing and regulation of installers and corrective action specialists.

(f)  Article 6252-33, Revised Statutes, does not apply to the committee.

Sec. 26.461 [11].  Criminal, Civil, and Administrative PENALTIES.  (a)  A person or business entity commits an offense if the person or business entity engages in [supervises] the installation, repair, or removal of an underground storage tank and the person or business entity:

(1)  does not hold a certificate of registration issued under Section 26.452; and

(2)  is not under the substantial control of a person or business entity who holds a certificate of registration issued under Section 26.452.

(b)  A person commits an offense if the person performs or supervises the installation, repair, or removal of an underground storage tank unless:

(1)  the person holds a license issued under Section 26.456; or

(2)  another person who holds a license issued under Section 26.456 is substantially responsible for the performance or supervision of the installation, repair, or removal.

(c)  A person or business entity commits an offense if the person or business entity:

(1)  authorizes or allows the installation, repair, or removal of an underground storage tank to be conducted by a person or business entity who does not hold a certificate of registration issued under Section 26.452; or

(2)  authorizes or allows the installation, repair, or removal of an underground storage tank to be performed or supervised by a person or business entity who does not hold a license issued under Section 26.456.

(d)  A person or business entity commits an offense if the conduct of the person or business entity makes the person or business entity responsible for a violation of this subchapter or of a rule adopted or order issued under this subchapter.  [in a manner that fails to comply with the requirements of Section 3 of this Act.]

(e) [(b)]  An offense under [Subsection (a) of] this section is a Class A misdemeanor.

(f) [(c)]  A person or business entity who commits [committing] an offense under [Subsection (a) of] this section may be assessed a civil penalty by the commission in an amount not to exceed $2,500 for each day of violation.

(g)  In addition to the criminal and civil penalties imposed under this section, a person or business entity who commits an offense under this section or who violates Subchapter I or a rule adopted or order issued under Subchapter I is subject to an administrative penalty as provided by Section 26.136.  [(d)  If an owner fails to comply with the requirements of Section 3 of this Act, or a rule adopted by the commission to implement this Act, the person may be assessed a civil penalty by the commission in an amount not to exceed $2,500 for each day of the violation.

[Sec. 12.  Initial appointments.  In making the initial appointments to the advisory committee, the governor shall designate three members for terms expiring in 1991, three members for terms expiring in 1993, and three members for terms expiring in 1995.

[Sec. 13.  Effective date for license requirement.  A person is not required to obtain a license under this Act until February 1, 1990.]

SECTION 5.  The Petroleum Storage Tank Advisory Committee established under Chapter 244, Acts of the 71st Legislature, Regular Session, 1989 (Article 8900, Vernon's Texas Civil Statutes), is continued under Chapter 26, Water Code, as amended by this Act.  A person serving on that advisory committee on the effective date of this Act is entitled to continue to serve until the expiration of the person's term.

SECTION 6.  (a)  The change in law made by Section 26.461, Water Code, as added by this Act, applies only to an offense committed or violation that occurs on or after the effective date of this Act.  For purposes of this section, an offense is committed before the effective date of this Act if any element of the offense occurred before that date.

(b)  An offense committed or violation that occurred before the effective date of this Act is governed by the law in effect when the offense was committed or violation occurred, and the former law is continued in effect for that purpose.

SECTION 7.  This Act takes effect September 1, 1995.

SECTION 8.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.