By:  Brown	S.B. No. 1044

A BILL TO BE ENTITLED

AN ACT

relating to elevator inspections.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subchapter B of Chapter 754, Health and Safety Code is amended to read as follows:

ELEVATORS, ESCALATORS, AND RELATED EQUIPMENT

Sec. 754.011.  DEFINITIONS.  In this subchapter:

(1)  "ASME Code A17.1" means the American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.1.

(2)  "ASME Code A17.3" means the American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.3.

[(1)] (3)  "Board" means the elevator advisory board.

[(2)] (4)  "Commission" means the Texas Commission on Licensing and Regulation.

(5)  "Commissioner" means the commissioner of licensing and regulation.

(6)  "Department" means the Texas Department of Licensing and Regulation.

(7)  "Qualified historic building or facility" means a building or facility that is (i) listed in or eligible for listing in the National Register of Historic Places, or (ii) designated as a Recorded Texas Historic Landmark or State Archeological Landmark.

[(3)] (8)  "Related equipment" means automatic equipment that is used to move a person in a manner that is similar to that of an elevator or escalator and includes a [dumbwaiter, manlift, and] moving sidewalk.

Sec. 754.012.  ELEVATOR ADVISORY BOARD.

(a)  The elevator advisory board is composed of nine members appointed by the commissioner as follows:

(1)  a representative of the insurance industry or a certified elevator inspector;

(2)  a representative of elevator, escalator, and related equipment constructors;

(3)  a representative of owners or managers of buildings having fewer than six stories and having an elevator, an escalator, or related equipment;

(4)  a representative of owners or managers of buildings having six stories or more and having an elevator, an escalator, or related equipment;

(5)  a representative of independent elevator, escalator, and related equipment maintenance companies;

(6)  a representative of elevator, escalator, and related equipment manufacturers;

(7)  a representative of professional engineers or architects;

(8)  a public member; and

(9)  a public member with a physical disability.

(b)  Board members serve at the will of the commissioner.

(c)  The commissioner shall appoint a presiding officer of the board.

(d)  The board shall meet at least twice each calendar year.

(e)  A board member serves without compensation but is entitled to reimbursement for travel and other necessary expenses incurred in performing duties under this subchapter.

Sec. 754.013.  BOARD DUTIES.  To protect public safety and to identify and correct potential hazards, the board shall advise the commissioner on:

(1)  the adoption of appropriate standards for the installation, alteration [and] operation, and inspection of elevators, escalators, and related equipment;

(2)  the status of elevators, escalators, and related equipment used by the public in this state; and

(3)  any other matter considered relevant by the commissioner.

Sec. 754.014.  STANDARDS ADOPTED BY COMMISSIONER.

(a)  The commissioner shall adopt standards for the installation, alteration, [and] operation, and inspection of elevators, escalators, and related equipment used by the public in:

(1)  buildings owned or operated by the state, a state-owned institution or agency, or a political subdivision of the state; and

(2)  buildings that contain an elevator, an escalator, or related equipment that the public is generally invited to use, including a hotel, motel, apartment house, boardinghouse, church, office building, shopping center, or other commercial establishment.

[(b)  In adopting the standards, the commissioner shall adopt standards for elevators, escalators, and related equipment:

[(1)  constructed or installed before September 1, 1993, that are in compliance with the latest edition of the ASME Safety Code for Existing Elevators and Escalators; and

[(2)  constructed or installed on or after September 1, 1993, that are in compliance with the latest edition of the ASME Safety Code for Elevators and Escalators.]

(b)  The standards adopted by the commissioner shall not contain requirements additional to ASME Code A17.1 or ASME Code A17.3.  The standards adopted by the commissioner shall provide that:

(1)  Elevators, escalators, and related equipment must comply with the installation requirements of either

(A)  the ASME Code A17.1 that was in effect on the date of installation of the elevators, escalators, and related equipment; or

(B)  an applicable municipal ordinance governing installation of elevators, escalators, and related equipment that was in effect on the date of installation.  The standards must require compliance with the least restrictive of Subdivisions (A) and (B).

(2)  Elevators, escalators, and related equipment shall comply with the installation requirements of the 1994 ASME Code A17.3 that contains minimum safety standards for all elevators, escalators, and related equipment, regardless of the date of installation.

(3)  Except for delays or waivers granted by the commissioner under Subsection (c) or (d), elevators, escalators, and related equipment shall comply with Subdivisions (1) and (2) of this subsection.

(c)  [In the event that compliance with ASME Safety Code for Existing Elevators and Escalators A17.3 is not "readily achievable" as that phrase is defined in the Americans with Disabilities Act (42 U.S.C. Section 12101 et seq.) and its subsequent amendments, or its regulations, the commission shall authorize the certified inspector to waive or delay compliance with the particular standard which is not readily achievable.  Provided however, in any event, an elevator, an escalator, or related equipment must at least be in compliance with the ASME Safety Code for Elevators and Escalators A17.1 in existence at the time of the construction of the elevator, escalator, or related equipment.  The commission may charge reasonable fees for any application for waiver or delay.]  Upon written request, the commissioner may grant a delay for compliance until a specified time for compliance with the applicable ASME Code A17.1 or the 1994 ASME Code A17.3 if compliance is not "readily achievable" as that phrase is defined in the Americans with Disabilities Act (42 U.S.C. Section 12101 et seq.) and its subsequent amendments, or its regulations.  Upon written request, the commissioner shall grant a delay until September 1, 2005 for compliance with the requirements for door restrictors or fire fighter's service in the 1994 ASME Code A17.3 if such requirements were not included in the ASME Code A17.1 that was in effect on the date of installation of the elevator, escalator, or related equipment and such equipment was not subsequently installed by an owner of the elevator, escalator, or related equipment.

(d)  The commissioner may grant a waiver of compliance with the applicable ASME Code A17.1 or the 1994 ASME Code A17.3 if the commissioner finds that (1) the building in which the elevator, escalator, or related equipment is located is a qualified historic building or facility or the noncompliance is due to structural components of the building and (2) noncompliance will not constitute a significant threat to passenger safety.

(e)  The commissioner may charge reasonable fees as set by the commission for an application for waiver or delay.  A single application may contain all requests for waivers or delay in a building.  Delays may not be granted indefinitely and must be granted to a time certain.

(f)  The date of installation for purposes of this section is the date that the owner of the real property entered into a contract for the purchase of the elevators, escalators, or related equipment, or if that date cannot be established, the date of issuance of the municipal building permit under which the elevators, escalators, or related equipment was constructed; or if no municipal building permit was issued, the date that electrical consumption was commenced for the construction of the building in which the elevators, escalators, or related equipment were installed.

Sec. 754.015.  RULES.  (a)  The commissioner by rule shall provide for:

(1)  the annual inspection and certification of elevators, escalators, and related equipment covered by standards adopted under this subchapter;

(2)  the enforcement of those standards;

(3)  the certification of qualified persons as inspectors for the purposes of this subchapter; and

(4)  the form of the inspection report and certificate of [inspection] compliance.

(b)  The commissioner by rule may not require that:

(1)  inspection be made more often than once per year of elevators, escalators, and related equipment;

(2)  persons post a bond or furnish insurance as a condition of certification; and

(3)  inspection reports or certificates of [inspection] compliance be placed in locations other than one provided in Section 754.019(4).

Sec. 754.016.  [COVERAGE OF] INSPECTION REPORT AND CERTIFICATE OF [INSPECTION] COMPLIANCE.  (a)  [A] An inspection report and a certificate of [inspection] compliance required under this subchapter must cover all elevators, escalators, and related equipment in a building or structure appurtenant to the building, including a parking facility, that are owned by the same person or persons.  There shall be only one inspection report and one certificate of [inspection] compliance for each building.

(b)  An inspection report shall be dated, signed, and issued by the inspector to the building owner and shall be on forms designated by the commissioner.  [The certificate of inspection shall specify the number of elevators in the building and shall specifically describe any elevators not in compliance with this subchapter, stating the reason or reasons for noncompliance.]

(c)  A certificate of compliance shall be dated, signed, and issued by the commissioner to the building owner and shall state that the elevators, escalators, and related equipment have been inspected by a certified inspector and found by the inspector to be in compliance except for any delays or waivers granted by the commissioner and stated in the certificate.

Sec. 754.017.  CERTIFIED INSPECTORS.  (a)  An inspector must [meet the qualification requirements of the ASME-QEI-1. An inspector or inspection supervisor must] register with the department and be certified as an ASME-QEI-1 inspector by an organization accredited by [ASME in accordance with the requirements of ASME-QEI-1] the American Society of Mechanical Engineers.  Any [accreditation or] certification charges or fees shall be paid by the inspector.

(b)  The commissioner may not by rule prohibit an ASME-QEI-1 certified inspector who is registered with the department from inspecting [and certifying] under this subchapter an elevator, [an] escalator, or related equipment.  Persons assisting an inspector in making an inspection need not be ASME-QEI-1 certified.

(c)  The commissioner may charge a [$10] $15 fee to [certified] inspectors for registering with the [Texas Department of Licensing and Regulation] department.

Sec. 754.018.  POWERS OF MUNICIPALITIES.  If a municipality operates a program for the inspection and certification of elevators, escalators, and related equipment, this subchapter shall not apply to elevators, escalators, and related equipment in that municipality, provided that the standards of inspection and certification are no less stringent than those contained in this subchapter.

Sec. 754.019.  DUTIES OF REAL PROPERTY OWNERS.  (a)  The owner of real property on which an elevator, [an] escalator, or related equipment covered by this subchapter is located shall:

(1)  have the elevator, escalator, or related equipment inspected [and certified] by an ASME-QEI-1 certified inspector in accordance with the commissioner's rules;

(2)  obtain [a certificate of inspection] an inspection report from the inspector, evidencing that [the] all elevators, escalators, or related equipment in a building on the real property [was] were inspected in accordance with this subchapter and [determined to be in compliance with the safety standards adopted under Section 754.014] rules adopted under this subchapter;

(3)  file with the commissioner a copy of each [certificate of inspection] inspection report and a [$15] $20 filing fee for each [certificate] report not later than the [30th] 60th day after the date on which an inspection is made under this subchapter; [and]

(4)  display the certificate of [inspection] compliance issued by the commissioner on the basis of the inspection report:

(A)  in the elevator mechanical room if the certificate relates to [the inspection of] an elevator;

(B)  in the escalator box if the certificate relates to [the inspection of] an escalator; or

(C)  in a place designated by the commissioner if the certificate relates to [the inspection of] related equipment; and

(5)  display the inspection report at the locations designated in Subdivision (4) until a certificate of compliance is issued by the commissioner.

(b)  At the time of filing an inspection report with the commissioner, the owner shall submit to the commissioner:

(1)  verification that any deficiencies in the inspector's report have been remedied or that a bona fide contract to remedy the deficiencies has been entered into; or

(2)  any application for delay or waiver of an applicable standard.

(c)  The inspection report or certificate of compliance displayed under Subsection (a) must show an inspection date no older than 18 months.

[(b)] (d)  For the purpose of determining timely filing under Subsection (a)(3), [a certificate] an inspection report and fee are considered filed on the date of mailing by United States mail if properly addressed to the commissioner.

[(c)] (e)  If the [certificate copy] inspection report and [the] fee required by Subsection (a)(3) are not timely filed, the commissioner may charge the owner of the real property on which the elevator, escalator or related equipment is located an additional $100 fee for late filing.

[(d)] (f)  The commissioner may not require that an inspection report or [a] certificate of [inspection] compliance be placed inside or immediately outside an elevator cab or escalator or in the lobby or hallways of a building.

[(e)] (g)  A fee may not be charged or collected for a certificate of [inspection] compliance for an institution of higher education as defined in Section 61.003, Education Code.

Sec. 754.020.  DEPOSIT OF FEES.  Fees collected under this subchapter shall be deposited to the credit of an account in the general revenue fund that may be used by the commissioner only to administer and enforce this subchapter and to reimburse expenses of board members provided by this subchapter.

Sec. 754.021.  LIST OF INSPECTORS; PERSONNEL.  The commissioner may:

(1)  compile a list of [inspectors certified by] ASME-QEI-1 certified inspectors who are registered with the commissioner to perform an inspection under this subchapter; and

(2)  employ personnel as necessary to enforce this subchapter.

Sec. 754.022.  NOTICE OF NONCOMPLIANCE.  If the commissioner learns of a situation of noncompliance under Section 754.019, the commissioner shall send notice by certified mail of the noncompliance and the actions required to remedy the noncompliance to the record owner of the real property on which the equipment that is the subject of the noncompliance is located.

Sec. 754.023.  INVESTIGATION AND INJUNCTION.

(a)  If there is good cause for the commissioner to believe that an (1) an elevator, escalator, or related equipment on real property is dangerous or (2) an accident involving an elevator, escalator, or related equipment occurred on the property and serious bodily injury or property damage resulted, the commissioner may enter the property during regular business hours after notice to the owner, operator or person in charge of the property to inspect the elevator, escalator, or related equipment or investigate the accident, at no cost to the owner.

(b)  The commissioner may enter real property during regular business hours after notice to the owner, operator or person in charge of the property for the purpose of verifying, at no cost to the owner, whether an inspection report or certificate of compliance has been displayed as required under Section 754.019(a).

[(a)] (c)  The commissioner is entitled to appropriate injunctive relief to prevent a violation or threatened violation of this subchapter or a rule adopted under this subchapter.

[(b)] (d)  The commissioner may bring suit in a district court in Travis County or in the county in which the violation or threatened violation occurs.  If requested, the attorney general shall represent the commissioner in the suit.

(e)  The commissioner may deny, suspend, or revoke the registration of any ASME-QEI-1 certified inspector for:

(1)  obtaining registration with the commissioner through fraud or false representation;

(2)  falsifying any inspection report submitted to the commissioner; or

(3)  violating this subchapter or any rule of the commissioner.

Sec. 754.024.  CRIMINAL PENALTY.

(a)  [A person commits an offense if the person receives notice of noncompliance under Section 754.022 and the person fails or refuses to remedy the noncompliance before the 31st day after the date on which the notice is received.]  A person commits an offense if

(1)  the person receives a notice of noncompliance under Section 754.022, and

(2)  within 60 days after receiving the notice, the person has neither remedied the noncompliance nor entered into a bona fide contract to remedy the noncompliance.

(b)  An offense under this section is a Class C misdemeanor.

(c)  Each day [of failure or refusal to remedy the noncompliance after the 30th day after the date on which the notice is received] of an offense constitutes a separate offense.

SECTION 2.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.