By:  Brown	S.B. No. 1426

A BILL TO BE ENTITLED

AN ACT

relating to security devices in certain rental dwellings; and declaring an emergency.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Amend Section 92.151(6), Property Code to read as follows:

(6)  "Keyless bolting device" means a door lock not in the doorknob that locks:

(A)  with a bolt into a strike plate screwed into the portion of the doorjamb surface that faces the edge of the door when the door is closed or into a metal doorjamb that serves as the strike plate, operable only by knob or lever from the door's interior and not in any manner from the door's exterior, and that is commonly known as a keyless dead bolt;

(B)  by a drop bolt system operated by placing a central metal plate over a metal doorjamb restraint that protrudes from the doorjamb and that is affixed to the doorjamb frame by means of three case-hardened screws at least three inches in length.  One-half of the central plate must overlap the interior surface of the door and the other half of the central plate must overlap the doorjamb when the plates is placed over the doorjamb restraint.  The drop bolt system must prevent the door from being opened unless the central plate is lifted off of the doorjamb restraint by a person who is on the interior side of the door.

The term "keyless bolting device" does not include a chain latch, flip latch, surface-mounted slide bolt, mortise door bolt, surface-mounted barrel bolt, surface-mounted swing bar door guard, spring-loaded nightlatch, foot bolt, or other lock or latch; or

(C)  by a metal bar or metal tube that is placed across the entire interior side of the door and secured in place at each end of the bar or tube by heavy-duty metal screw hooks.  The screw hooks must be at least three inches in length and must be screwed into the door frame stud or wall stud on each side of the door.  The bar or tube must be capable of being secured to both of the screw hooks and must be permanently attached in some way to the door frame stud or wall stud.  When secured to the screw hooks, the bar or tube must prevent the door from being opened unless the bar or tube is removed by a person who is on the interior side of the door.

(D)  By a steel bar that is placed in a steel sleeve in the floor, on the inside of an in swinging door, two inches in from the center of the door with a kick plate installed with screws and a storage bracket on the inside of the door.  When the steel bar is inserted into its hole in the floor it must be capable of preventing the door from moving inward.  The steel bar must be additionally capable of being adjusted from the inside so that the door can be opened from the inside two inches to serve as a viewing space while still preventing the door from being opened inwardly further than two inches.

SECTION 2.  Amend Section 92.154, Property Code to read as follows:

(a)  A keyed dead bolt or a keyless bolting device required by this subchapter must be installed at a height:

(1)  not lower than 36 inches from the floor; and

(2)  not higher than:

(A)  54 inches from the floor, if installed before September 1, 1993; or

(B)  48 inches from the floor, if installed on or after September 1, 1993.

(C)  or in conformance with 92.151(6)(D).

(b)  A keyed dead bolt or a keyless bolting device described in Section 92.151(6)(A) or (B) in a dwelling must:

(1)  have a strike plate screwed into the portion of the doorjamb surface that faces the edge of the door when the door is closed; or

(2)  be installed i a door with a metal doorjamb that serves as the strike plate.

(c)  A keyed dead bolt or keyless dead bolt, as described by Section 92.151(6)(A), installed in a dwelling on or after September 1, 1993, must have a dead bolt with a throw of not less than one inch.

(d)  The requirements of this section do not apply to a keyed dead bolt or a keyless bolting device in one door of a pair of French doors that is installed in accordance with the requirements of Section 92.153(b)(1) or (2).

SECTION 3.  This Act takes effect September 1, 1995.

SECTION 4.  EMERGENCY CLAUSE.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.