By StilesH.B. No. 1309

A BILL TO BE ENTITLED

AN ACT

relating to ensuring reliable electric service and prescribing an administrative penalty.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  PURPOSE. (a)  The purpose of this Act is to ensure that facilities and personnel needed to maintain the reliability of the electric supply remain available and operational.

(b)  The Legislature is concerned that the merger of public utilities and the downsizing and restructuring of public utilities could lead to a reduction in the quality of electric service being supplied to the citizens of the State of Texas.

SECTION 2.  Add a new Section 2.004 to the Public Utility Regulatory Act of 1995 to read as follows:

Sec. 2.004.  ELECTRIC RELIABILITY AND SERVICE. (a)  The commission shall adopt inspection maintenance, repair and replacement standards for transmission and distribution systems of investor-owned utilities no later than July 31, 1997.  Standards shall be set for each substantial type of distribution and transmission equipment or facility in order to ensure high quality, safe and reliable electric service.  Included in the standards adopted by the commission will be a requirement that the public utility locate sufficient personnel, strategically throughout its service territory, in order to fully and adequately carry out the mandates established by the commission and that such personnel have adequate experience and training.

(b)  The commission shall inspect the records and facilities of each investor-owned utility every three years to verify that each of the requirements mandated by the commission under  this section have been satisfied.

(c)  For any outage which affects more than 1,000 customers and lasts longer than 48 hours, the commission shall have the authority to impose an administrative penalty of up to $100,000 per day for each day service was disconnected as a result of the failure to undertake reasonable and prudent preventive maintenance measures to avoid such an outage.  The commission shall require the public utility to notify each customer subject to the outage of the proceeding initiated to establish the appropriateness of an administrative penalty, if any.  A utility is prohibited from recovering administrative penalties in its rates.  The commission shall have the authority to adopt rules necessary for carrying out this subsection.

(d)  Each investor-owned utility shall maintain one or more customer call centers where:

(1)  the average wait is less than 20 seconds to speak to a representative;

(2)  less than one percent of the time the customer encounters a busy signal during normal operations and less than three percent during outages;

(3)  monthly reports are filed at the commission on daily and monthly call center performance;

(4)  customer service representatives are trained to identify potential service and safety problems; and

(5)  customers are notified clearly and conspicuously on at least a quarterly basis how to reach the call center(s).

(e)  Nothing in this section shall be construed to lessen the authority granted a regulatory authority by any other provision of the Public Utility Regulatory Act of 1995 with regard to the quality or provision of electric service.

SECTION 3.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended, and that this Act take effect and be in force from and after its passage, and it is so enacted.