H.B. No. 1534

AN ACT

relating to the certification of mammography systems.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 401.423(b), Health and Safety Code, is amended to read as follows:

(b)  The department [board] shall apply under the Mammography Quality Standards Act of 1992 (42 U.S.C. Section 263b [354]) to become an accreditation body and carry out the certification program requirements and to implement the standards established by the United States Secretary of Health under that Act in this state. If the United States Secretary of Health grants the department's [board's] application, the department [board] shall assume those responsibilities.

SECTION 2.  Sections 401.424(a) and (e), Health and Safety Code, are amended to read as follows:

(a)  To receive a mammography certification under this subchapter, the mammography system must, at a minimum:

(1)  meet criteria at least as stringent as the American College of Radiology mammography accreditation program;

(2)  be specifically designed and used for the performance of mammography;

(3)  be operated by an individual certified as a medical radiologic technologist under Chapter 1096, Acts of the 70th Legislature, Regular Session, 1987 (Article 4512m, Vernon's Texas Civil Statutes), who meets, at a minimum, the requirements for personnel who perform mammography established by the Mammography Quality Standards Act of 1992 (42 U.S.C. Section 263b) [has successfully completed special training in mammography]; and

(4)  be used in a facility that:

(A)  meets, at minimum, the requirements for certification of the Mammography Quality Standards Act of 1992 (42 U.S.C. Section 263b [354]);

(B)  has a licensed medical physicist specialized in radiology under Chapter 235, Acts of the 72nd Legislature, Regular Session, 1991 (Article 4512n, Vernon's Texas Civil Statutes), who at least annually provides on-site consultation to the facility, including a complete evaluation of the entire mammography system to ensure compliance with this subchapter;

(C)  maintains records of the consultations required under Paragraph (B) for not less than seven years after the date the consultation was performed;

(D)  establishes a quality control program that meets requirements that are at least as stringent as those of the American College of Radiology mammography accreditation program;  and

(E)  maintains and makes available to a patient of the facility original mammograms performed at the facility until the earlier of either:

(i)  the fifth anniversary of the mammography or,[;

[(ii)]  if an additional mammogram of the same patient is not performed by the facility, the 10th anniversary of the mammography; or

(ii) [(iii)]  at the request of the patient, the date the patient's medical records are forwarded to another medical institution.

(e)  Notwithstanding any other provision of this chapter, the standards imposed for certification under this chapter may not be less stringent than the standards imposed on a facility under the Mammography Quality Standards Act of 1992 (42 U.S.C. Section 263b [354]).

SECTION 3.  Section 401.426(a), Health and Safety Code, is amended to read as follows:

(a)  A person who owns, leases, or uses or the agent of a person who owns, leases, or uses a mammography system must file a written application for certification under Section 401.424 [or Section 401.425] on a form prescribed by the board.

SECTION 4.  Section 401.427, Health and Safety Code, is amended to read as follows:

Sec. 401.427.  CERTIFICATION RENEWAL; FEES. (a) A certification is valid for three years [one year and may be renewed annually on payment of the required renewal fee].

(b)  The board by rule may adopt a system under which certifications under this subchapter expire on various dates during the year.

(c)  The board shall set and collect an annual fee for certification holders in an amount reasonable and necessary to administer this subchapter.  A certification holder who fails to pay the annual fee before the date set by the board shall pay the annual fee and a late fee set by the board.  The board may revoke the certification of a certification holder who does not pay the annual fee and late fee before the required date.

(d)  A certification holder may renew the certification by filing an application for renewal and paying the annual fee before the date the certification expires.  If a certification holder fails to renew the certification by the required date, the certification holder may renew the certification on payment of the annual [renewal] fee and a late fee set by the board.  If the certification is not renewed before the 181st day after the date on which the certification expired, the certification holder must apply for an original certification under this subchapter.

(e) [(d)]  A mammography system may not be used after the expiration date of the certification unless the holder of the expired certification has made a timely and sufficient application for renewal of the certification as provided under Section 2001.054, Government Code, and a final determination of the application by the board has not been made.

SECTION 5.  Section 401.430, Health and Safety Code, is amended to read as follows:

Sec.  401.430.  INSPECTIONS. (a) The department shall inspect each mammography system that has not been fully certified under the Mammography Quality Standards Act of 1992 (42 U.S.C. Section 263b) [receives a certification under this subchapter] not later than the 60th day after the date the certification under this subchapter is issued.

(b)  The department shall inspect, at least once annually, each mammography system that receives a certification under this subchapter.

(c)  To protect the public health, the department may conduct more frequent inspections than required under this section.

(d)  The department shall make reasonable attempts to coordinate inspections under this section with other inspections required under this chapter for the facility where the mammography system is used.

(e)  After each satisfactory inspection, the department shall issue a certificate of inspection for each mammography system inspected.  The certificate of inspection must be posted at a conspicuous place on or near the place where the mammography system is used.  The certificate of inspection shall:

(1)  specifically identify the mammography system inspected;

(2)  state the name and address of the facility where the mammography system was used at the time of the inspection;  and

(3)  state the date of the inspection.

(f)  A notice of a mammography system's failure to satisfy department standards shall be posted:

(1)  on the mammography system at a conspicuous place if the system is a machine;  or

(2)  near the place where the mammography system practices if the system is an individual.

(g)  If a facility's mammography system fails to meet the department's certification standards and the failure is a Severity Level I violation under the department's rules, the facility shall notify each patient on whom the facility performed a mammography during the 30 days preceding the date of the inspection that revealed the failure.  The facility shall:

(1)  inform the patient that the mammography system failed to satisfy the department's certification standards;

(2)  recommend that the patient have another mammogram performed at a facility with a certified mammography system; and

(3)  list the three facilities closest to the original testing facility that have a certified mammography system.

(h)  In addition to the requirement of Subsection (g), the department may require a facility to notify a patient of any other failure of the facility's mammography system to meet the department's certification standards.

(i)  To protect the public health, the board may adopt rules concerning the grounds for posting a failure notice and the placement and size of the failure notice, and for patient notification under Subsections (g) and (h), as appropriate.

SECTION 6.  Section 401.425, Health and Safety Code, is repealed.

SECTION 7.  This Act takes effect September 1, 1997.

SECTION 8.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.

_______________________________     _______________________________

President of the Senate              Speaker of the House

I certify that H.B. No. 1534 was passed by the House on May 5, 1997, by a non-record vote.

_______________________________

Chief Clerk of the House

I certify that H.B. No. 1534 was passed by the Senate on May 22, 1997, by the following vote:  Yeas 31, Nays 0.

_______________________________

Secretary of the Senate

APPROVED:  _____________________

Date

_____________________

Governor