H.B. No. 1836

AN ACT

relating to the interval between internal inspections of certain boilers.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 755.026, Health and Safety Code, is amended by amending Subsection (a) and adding Subsection (e) to read as follows:

(a)  With the approval of the commissioner and the inspection agency that has jurisdiction for the power [that] boiler, the interval between internal inspections [of a boiler] may be extended to a period not exceeding a total of 48 [24] months [for power boilers].  For other unfired steam boilers, the inspection interval may be extended to the next scheduled downtime of the [that] boiler, but not exceeding a total of 84 [60] months.

(e)  If the interval between internal inspections of a gas fired boiler is extended under Subsection (a), the commissioner and inspection agency shall require that an inspection of the gas regulator or pressure reducing valve that services the boiler be performed as part of the next regularly scheduled external certificate inspection of the boiler to verify proper venting of gas to a safe point of discharge.

SECTION 2.  This Act takes effect September 1, 1997.

SECTION 3.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.

_______________________________     _______________________________

President of the Senate              Speaker of the House

I certify that H.B. No. 1836 was passed by the House on April 16, 1997, by a non-record vote; that the House refused to concur in Senate amendments to H.B. No. 1836 on May 13, 1997, and requested the appointment of a conference committee to consider the differences between the two houses; and that the House adopted the conference committee report on H.B. No. 1836 on May 24, 1997, by a non-record vote.

_______________________________

Chief Clerk of the House

I certify that H.B. No. 1836 was passed by the Senate, with amendments, on May 8, 1997, by a viva-voce vote; at the request of the House, the Senate appointed a conference committee to consider the differences between the two houses; and that the Senate adopted the conference committee report on H.B. No. 1836 on May 22, 1997, by a viva-voce vote.

_______________________________

Secretary of the Senate

APPROVED:  _____________________

Date

_____________________

Governor