By:  Goolsby (Senate Sponsor - Carona)H.B. No. 1836

(In the Senate - Received from the House April 17, 1997; April 18, 1997, read first time and referred to Committee on State Affairs; April 30, 1997, reported favorably, as amended, by the following vote:  Yeas 10, Nays 0; April 30, 1997, sent to printer.)

COMMITTEE AMENDMENT NO. 1By:  Carona

Amend H.B. No. 1836, by adding a new SECTION 1 to read as follows and renumbering all succeeding sections accordingly:

SECTION 1.  Section 755.025, Health and Safety Code, is amended by adding a new subsection (f) to read as follows and relettering all succeeding subsections accordingly:

(f)  The certificate inspection of all gas fired boilers shall include inspection of the gas regulator and/or pressure reducing valve servicing the boiler to verify proper venting to a safe point of discharge.

A BILL TO BE ENTITLED

AN ACT

relating to the interval between internal inspections of certain boilers.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

ARTICLE 1

SECTION 1.01. Section 755.026(a), Health and Safety Code, is amended to read as follows:

(a)  With the approval of the commissioner and the inspection agency that has jurisdiction for the power [that] boiler, the interval between internal inspections [of a boiler] may be extended to a period not exceeding a total of 48 [24] months [for power boilers].  For other unfired steam boilers, the inspection interval may be extended to the next scheduled downtime of the [that] boiler, but not exceeding a total of 84 [60] months.

ARTICLE 2

SECTION 2.01. This Act takes effect September 1, 1997.

SECTION 2.02. The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.

* * * * *