By OakleyH.B. No. 2295

A BILL TO BE ENTITLED

AN ACT

relating to excavation operations that may damage underground facilities and providing civil penalties.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  SHORT TITLE. This Act may be cited as the Underground Facility Damage Prevention and Safety Act.

SECTION 2.  DEFINITIONS. In this Act:

(a)  "Agricultural operations" means activities performed on land defined in Section 23.51(2) of the Tax Code of Texas.

(b)  "Class A underground facility" means an underground facility that is used to produce, store, convey, transmit, or distribute:

(1)  electrical energy;

(2)  natural or synthetic gas;

(3)  petroleum or petroleum products;

(4)  steam;

(5)  any form of telecommunications service, including but not limited to voice, data, video or optical transmission, cable television service or;

(6)  any other liquid, material, or product not defined as a Class B underground facility.

(c)  "Class B underground facility" means an underground facility that is used to produce, store, convey, transmit, or distribute:

(1)  water;

(2)  slurry; or

(3)  sewage.

(d)  "Corporation" means the Texas Underground Facility Notification Corporation created by this Act.

(e)  "Damage" means:

(1)  the defacing, scraping, displacement, penetration, destruction, or partial or complete severance of an underground facility or of any protective coating, housing, or other protective device of an underground facility;

(2)  the weakening of structural or lateral support of an underground facility; or

(3)  the failure to properly replace the backfill covering an underground facility.

(f)  "Excavate" or "excavation" means to use explosives or a motor, engine, hydraulic or pneumatically powered tool, or other machine-powered equipment of any kind and includes auguring, backfilling, boring, compressing, digging, ditching, drilling, dragging, dredging, grading, mechanical probing, plowing-in, pulling-in, ripping, scraping, trenching, and tunneling to remove or otherwise disturb soil to a depth of twelve or more inches.

(g)  "Excavator" means a person that excavates or intends to excavate in this state.

(h)  "Exploration and production underground facility" means an underground facility used by a person producing gas or oil, or both, for the production of that gas or oil and includes facilities used for field separation, treatment, or storage of gas or oil.

(i)  "High speed data transmission" means a method of data transmission that does not include facsimile or voice transmission.

(j)  "Legal holiday" means a holiday specified as a legal holiday by Subchapter B, Chapter 662, Government Code.

(k)  "Mechanized equipment" means equipment operated by mechanical power, including a trencher, bulldozer, power shovel, auger, backhoe, scraper, drill, cable or pipe plow, and other equipment used to plow-in or pull-in cable or pipe.

(l)  "Municipality" means a city or incorporated village or town existing, created, or organized under the general, home-rule, or special laws of the State.

(m)  "Notification center" means a legal entity that:

(1)  operates a notification system capable of serving excavators and operators statewide;

(2)  is created to:

(A)  receive notification of an intent to excavate and of damage to an underground facility and disseminate that information to member operators that may be affected by the excavation or damage and to other notification centers operating in the State; and

(B)  receive notification of an extraordinary circumstance and disseminate that information to member operators and to other notification centers operating in the state.

(3)  registers the following information with the Corporation:

(A)  name;

(B)  address;

(C)  telephone number;

(D)  contact person

(E)  statement of compliance with Section 8(h); and

(F)  listing of counties in which notification center operates

(n)  "Operator" means a person that operates an underground facility.

(o)  "Person" means an individual, corporation, partnership, association, government or governmental subdivision or agency, or other legal entity.

(p)  "Secured facility" means a parcel of land used for commercial or industrial purposes that is surrounded entirely by a fence or other means of preventing access, including a fence with one or more gates are locked at all times or monitored by a person who can prevent unauthorized access.

(q)  "Underground facility" means a line, cable, pipeline system, conduit or structure that is located partially or totally underground and that is used to produce, store, convey, transmit, or distribute telecommunications, electricity, gas, water, sewage, steam, or liquids such as petroleum, petroleum products, or hazardous liquids.

SECTION 3.  EXEMPTIONS. (a)  The following are not subject to this Act as underground facilities:

(1)  an aboveground or underground storage tank, sump, or impoundment, or piping connected to an aboveground or underground storage tank, sump, or impoundment located in the same tract of land as the storage tank, sump, or impoundment;

(2)  an underground facility operated by the owner of a secured facility and located entirely within the secured facility;

(3)  an underground facility that serves only the owner of the underground facility or the owner's tenant and that is located solely on the owner's property;

(4)  piping within a well bore;

(5)  the portion of an exploration and production underground facility that is located in the boundaries of an oil or gas field and that is not located:

(A)  within a municipality;

(B)  in the extraterritorial jurisdiction of a municipality; or

(C)  in the boundaries of an established easement or right-of-way; or

(6)  an underground facility that serves a cemetery and is located solely on the cemetery's property.

(b)  An operator of an underground facility that is exempted under this section may voluntarily register that facility under this Act but assumes the obligation to comply with all the duties of an operator of a Class A underground facility under this Act.

SECTION 4.  COMPLIANCE BY PERMIT HOLDERS. (a)  The fact that a person has a legal permit, permission from the owner of the property or the owner's licensee, or an easement to conduct excavation operations does not affect the person's duty to comply with this Act.

(b)  Compliance with this Act does not affect a person's responsibility to obtain a permit required by law.

SECTION 5.  TEXAS UNDERGROUND FACILITY NOTIFICATION CORPORATION. (a)  The Texas Underground Facility Notification Corporation is created to provide statewide notification services under this Act.

(b)  The corporation is a public nonprofit corporation and has all the powers and duties incident to a nonprofit corporation under the Texas Non-Profit Corporation Act (Article 1396-1.01, et seq., Vernon's Texas Civil Statutes), except that the corporation:

(1)  may not make donations for the public welfare or for charitable, scientific, or educational purposes or in aid of war activities;

(2)  may not merge or consolidate with another corporation;

(3)  is not subject to voluntary or involuntary dissolution;

(4)  may not be placed in receivership; and

(c)  The corporation is subject to Government Code Chapters 551 and 552 except that the corporation may not disseminate, make available, or otherwise distribute service area map data or information provided by an operator unless that action is necessary to perform the corporation's specific obligations under this Act.

(d)  All expenses of the corporation shall be paid from income of the corporation.  Liabilities created by the corporation are not debts of the state, and the corporation may not secure any liability with funds or assets of the state.  Except as provided by Section 6 of this Act, the corporation may not, for any reason, impose an assessment, fee, or other charge, including a charge for inputting data, against an operator.

(e)  The corporation member operators are divided into divisions according to type of operator.  The divisions are:

(1)  intrastate electric utilities;

(2)  interstate electric utilities;

(3)  electric cooperative corporations;

(4)  local exchange telephone companies that have more than 31,000 access lines in service in this state;

(5)  interexchange telecommunications carriers;

(6)  telephone cooperative corporations and local exchange telephone companies that have 31,000 or fewer access lines in service in this state;

(7)  gas distribution operators;

(8)  intrastate gas transmission pipeline operators;

(9)  interstate gas transmission pipeline operators;

(10)  liquid pipeline operators;

(11)  operators of Class B underground facilities that elect to participate under the Act as a Class A facility;

(12)  cable television companies that have fewer than 1,000 subscribers;

(13)  cable television companies that have 1,000 or more subscribers;

(14)  municipalities with a population of less than 25,000 that operate a Class A underground facility; and

(15)  municipalities with a population of 25,000 or more that operate a Class A underground facility.

(f)  The governor shall appoint from each division a representative to serve on the board of directors of the corporation.  A member operator that has operations that can be classified in more than one division is entitled to participate in each applicable division.  However, not more than one employee of the operator may be appointed to serve on the board at any one time.  Board membership is voluntary and a director is not entitled to receive compensation for serving on the board.  Directors serve staggered three-year terms, with the terms of five directors expiring annually on August 31.  The initial term of board members from subsection (e)(1), (e)(4), (e)(7), (e)(10) and (e)(13) is one year.  The initial term of board members from subsection (e)(2), (e)(5), (e)(8), (e)(11) and (e)(14) is two years.  A director serves until his successor is elected and has assumed office.  The board may declare a director's office vacant if the director ceases to be associated with an operator included in the electing division.  A vacancy on the board shall be filled by the original electing division for the remainder of the unexpired term.

(g)  The board shall elect from among its directors a chair and vice chair. The chair and vice chair serve for a term of one year and may be re-elected.

(h)  The corporation's bylaws must provide that each division is entitled to one vote.

SECTION 6.  FEES AND RATES. (a)  Each operator shall pay to the board an annual fee of $50.

(b)  Each time a notification center receives a call from an excavator pursuant to Section 9(a), the notification center shall pay to the corporation $0.01.  The $0.01 charge shall be waived for the remainder of any year in which the corporation receives $500,000 from the $0.01 charge.

(c)  The notification center shall charge each operator for a call made to the system that affects the operator.  The amount of the charge imposed by the system shall not be more than $1.25.  The board may increase or decrease the maximum charge only on an affirmative vote of at least two-thirds of the total number of votes entitled to be cast.

(d)  In no event shall the notification center charge an operator any additional fee such as an initiation fee, a membership fee, or a set-up fee.

SECTION 7.  DUTY OF AN OPERATOR. (a)  Each operator of a Class A underground facility, including a political subdivision of this state, shall participate in a notification center as a condition of doing business in this state.

(b)  Each operator of a Class A underground facility shall provide to the notification center:

(1)  maps or grid locations or other identifiers determined by the operator indicating the location of the operator's underground facilities;

(2)  the name and telephone number of a contact person or persons; and

(3)  at least quarterly but, if possible, as those changes occur, information relating to each change in the operator's  maps or grid locations or other identifiers or in the person or persons designated as the operator's contact person or persons.

(c)  The notification center may not require an operator to conduct a survey of the operator's underground facilities nor alter the operator's existing signage.

(d)  An operator of a Class B underground facility may voluntarily provide the information required by this section.  By providing the information required by this section, an operator of a Class B underground facility will be treated as a Class A underground facility under this Act.

SECTION 8.  DUTY OF NOTIFICATION CENTER. (a)  Not later than two hours after the time the notification center receives a notice of intent to excavate from an excavator, the notification center shall provide via high speed data transmission to every other affected notification center operating in the State the Section 9(c) information received from the excavator.

(b)  Not later than two hours after the time the notification center receives a notice of intent to excavate from an excavator or from a different notification center, the notification center shall notify each member operator that may have an underground facility in the vicinity of the proposed excavation operation.

(c)  A notification center shall:

(1)  operate 24 hours a day every day of the year;

(2)  have the capability to receive emergency information 24 hours a day from excavators and disseminate the information as soon as it is received to the appropriate operators and to all registered and affected notification centers operating in the state;

(3)  have the capacity to receive extraordinary circumstance information 24 hours a day from operators and disseminate the information as soon as it is received to all registered and affected notification centers; and

(4)  bear a pro rata share of the expense, as established by the Corporation, of the statewide 800 number and the call router.

(d)  The costs of a notification center notifying another notification center pursuant to Section 8(c)(3) shall be recovered by the notification center providing the notice from the notification center receiving the notice.

(e)  The costs described in Section 8(d) shall be recovered for each notification provided to another notification center, however, in no event shall the recovered cost exceed the actual cost of providing the information.

(f)  A notification center shall maintain for not less than four years a record to document:

(1)  the receipt of

(A)  a notice of intent to excavate;

(B)  damage to an underground facility;

(C)  an emergency excavation; and

(D)  an extraordinary circumstance.

(2)  the information the excavator is required to provide the notification center under this Act;

(3)  contact with operators and other notification centers; and

(4)  the information the notification center provided to the excavator.

(g)  A notification center may not destroy records that relate to any matter that is involved in litigation if the notification center is placed on notice that the litigation has not been finally resolved.

(h)  A notification center shall, at all times, maintain a minimum of $5 million professional liability and errors and omissions insurance to cover duties prescribed by this Act.

(i)  The notification center may not disseminate, make available, or otherwise distribute maps or information provided by an operator unless that action is necessary to perform the notification center's specific obligations under this Act.

SECTION 9.  DUTY OF AN EXCAVATOR. (a)  Except as provided by Sections 12 and 13 of this Act, a person that intends to excavate shall notify a notification center not earlier than the 14th day before the day the excavation is to begin or later than the 48th hour before the time the excavation is to begin, excluding Saturdays, Sundays, and legal holidays.  The excavator may not begin excavation before the time the excavation is to begin without the prior written agreement of each operator that has an underground facility in the area to be excavated.  The person must again notify a notification center of the intended excavation in accordance with this subsection if the person does not begin the excavation within 14 days after notifying the notification center, excluding Saturdays, Sundays, and legal holidays.

(b)  Until the excavation is completed, the excavator must, not later than the 30th day after the last notification, notify a notification center by telephone that the excavator has not completed the excavation.

(c)  The notice required under this section shall include:

(1)  the name of the person serving the notice;

(2)  the specific location of the proposed area of excavation, including:

(A)  the street address, if available, and the specific location of the excavation at the street address; or

(B)  if there is no street address, an accurate description of the excavation area using any available designations such as the closest street, road, or intersection;

(3)  the name, address, and telephone number of the excavator or the excavator's company;

(4)  the excavator's field telephone number, if one is available;

(5)  the starting date and time and the anticipated completion date of excavation;

(6)  the type and extent of the proposed work; and

(7)  a statement as to whether explosives will be used and;

(d)  If the operator notifies the excavator that the operator wants to have a representative present during the excavation, the operator shall contact the excavator and advise the excavator of the operator's intent to be present during excavation and confirm the start time of the excavation.  If the start time is changed by the excavator, the excavator must notify the operator of the start time change.  However, once notified by the operator of the intent to be present, the excavator shall not commence excavation at an earlier time than the confirmed start time without the operator's agreement.

SECTION 10.  DUTY OF THE TEXAS UNDERGROUND FACILITY NOTIFICATION CORPORATION. (a)  The Corporation shall:

(1)  maintain a registration of notification centers as provided in Section (2)(m)(3);

(2)  establish minimum technical standards used by notification centers;

(3)  establish a statewide 800 number to be used by excavators;

(4)  oversee the bid process and select the vendor for the statewide 800 number;

(5)  oversee the bid process and select the vendor for the call router system;

(6)  determine the cost sharing between the notification centers of

(a)  the 800 number; and

(b)  the call router system prescribed in Section (8)(c)(4).

(7)  develop public service announcements to educate the public about statewide one-call notification and its availability;

(8)  establish a format for information transfer between notification centers other than high speed data transmission, if appropriate;

(9)  upon complaint, investigate and determine appropriate charges pursuant to Section 8(e);

(10)  assess a penalty to any registered notification center that does not meet the requirements of this Act of not less than $1,000 nor more than $5,000 for each violation;

(11)  refer to the Attorney General who shall institute a suit in a court of competent jurisdiction to recover the penalty in (10) above;

(12)  assist in dispute resolution between notification centers or between a notification center and an operator; and

(13)  assist any operator who encounters difficulty in joining a notification center.

(b)  The corporation shall solicit proposals for the contract to establish and operate the statewide 800 number and the call router system by using a request for proposals process that includes specifications that have been approved by the board of directors in accordance with this Act.

(c)  The corporation is not required to award the contract to the lowest offeror if the terms of another proposal would result in a lower annual cost and are more advantageous to the corporation and its members.  The corporation may reject all proposals if the corporation finds that none of the proposals is acceptable.  After the proposals are opened, each document relating to the consideration of a proposal or the award of a contract and the text of the contract are considered books and records of the corporation as that term is used in Article 2.23, Texas Non-Profit Corporation Act (Article 1396-2.23, Vernon's Texas Civil Statutes).

SECTION 11.  NOTIFICATION BY AN EXCAVATOR. (a)  A person is considered to have provided notification under this Act when a person required to provide notice under this Act delivers the required information and a notification center receives that information within the time limits prescribed by this Act.

(b)  A person may deliver information required under this Act by any appropriate method, including the use of any electronic means of data transfer.

SECTION 12.  EXCEPTION IN CASE OF EMERGENCY. (a)  Section 9 of this Act does not apply to an emergency excavation that is necessary to respond to a situation that endangers life, health, or property or a situation in which the public need for service compels immediate action.

(b)  The excavator may begin emergency excavation under Subsection (a) of this section immediately and shall take reasonable precautions to protect underground facilities.

(c)  When an emergency exists, the excavator shall notify a notification center as promptly as reasonably possible.

SECTION 13.  OTHER EXCEPTIONS TO DUTY OF EXCAVATORS. (a)  Section 9 of this Act does not apply to:

(1)  interment operations of a cemetery;

(2)  operations at a secured facility if:

(A)  the excavator operates each underground facility at the secured facility, other than those within a third party underground facility easement or right-of-way; and

(B)  the excavation activity is not within a third party underground facility or right-of-way; or

(3)  activities performed on private property in connection with agriculture operations as defined in Section 23.51(2) of the Tax Code of Texas. Provided, however, if an individual excepted by this subpart (3) elects to comply fully with this Act, and if the operator fails to fully comply with this Act, the individual will not be liable to the underground facility owner for damages to the underground facility;

(4)  operations associated with the exploration or production of oil gas if the operations are not conducted within an underground facility easement or right-of-way;

(5)  excavations by or for a person that:

(A)  owns or leases or owns a mineral leasehold interest in the real property on which the excavation occurs; and

(B)  operates all underground facilities located at the excavation site.

(b)  This section is not intended to affect or impose any civil remedies otherwise provided by law for personal injury or for property damage, including any damage to an underground facility.

SECTION 14.  DUTY OF OPERATOR TO PERSON EXCAVATING. (a)  Not later than the 48th hour after the excavator gives to the notification system notice of intent to excavate, excluding Saturdays, Sundays, and legal holidays, or at such time mutually agreed to by the operator and the excavator, the operator contacted by the notification system shall locate and mark the approximate location of its underground facilities at or near the site of the proposed excavation if the operator believes that locating and marking the location is necessary.

(b)  For the purposes of this section, an excavator may presume, unless the operator advises the excavator otherwise, that the marking of an approximate location of an underground facility is within 18 inches on either side of the underground facility.

(c)  An operator shall refer to the American Public Works Association color coding standards when marking.

SECTION 15.  DUTY OF OPERATOR IN EVENT OF AN EXTRAORDINARY CIRCUMSTANCE. (a)  The deadline prescribed by Section 14(a) of this Act does not apply if the operator experiences an extraordinary circumstance due to an act of God, including a tornado, a hurricane, an ice storm, or a severe flood, or a war, riot, work stoppage, or strike that limits personnel or resources needed to fulfill its obligations under this Act.

(b)  The operator shall notify a notification center of the extraordinary circumstance and shall include in the notification:

(1)  the nature and location of the extraordinary circumstance;

(2)  the expected duration of the situation and the approximate time at which the operator will be able to resume location request activities; and

(3)  the name and telephone number of the individual that the notification system can contact if there is an emergency that requires the operator's immediate attention.

(c)  In addition to the notification required by Subsection (b) of this section, the operator shall also notify each excavator that has a pending location request in the location where an extraordinary circumstance is being experienced and shall include in the notification:

(1)  the fact that the operator is experiencing an extraordinary circumstance; and

(2)  the approximate time at which the operator will mark the requested location.

(d)  A notification center shall inform each excavator notifying the system under Section 9 of this Act that the operator's location request activities are suspended until the extraordinary circumstance has discontinued or has been corrected within the affected location.

SECTION 16.  PRECAUTIONS TO AVOID DAMAGE TO FACILITIES. (a)  In addition to providing the notice required by Section 9 of this Act, the excavator shall:

(1)  plan the excavation to avoid damage to an underground facility that is in or near the excavation area, taking into consideration any necessary precautions identified by the operator;

(2)  maintain a clearance between the underground facility and the cutting edge or point of mechanized equipment that is reasonably necessary to avoid damage to the facility, as provided by Subsection (b) of this section;

(3)  provide support for an underground facility that is reasonably necessary to protect the facility during the excavation, including any backfill operations; and

(4)  protect and preserve during excavation the marking of the location of the underground facility until the marking is not necessary for reasonably safe excavation.

(b)  An excavator shall consider the known limit of control of the cutting edge or point of a piece of mechanized equipment in determining the necessary clearance that must be maintained with uncovered surfaces and paved surfaces.  If the centerline of the underground facility is marked then the excavator shall use a clearance of not less than 24 inches from the centerline.  If the outer edges of the underground facilities are marked, by an operator, then the excavator shall use a clearance of not less than 24 inches from the outer edge markings.  An operator can agree in writing that a smaller clearance can safely be used.  However, the operator may not reasonably withhold an agreement to use a smaller clearance if the clearance is reasonable.  In determining if the clearance is reasonable, the operator may consider the method of excavation to be used and the potential for damage, service interruption, and loss of revenue.

SECTION 17.  EXCAVATION DAMAGE. (a)  If an excavation operation results in damage to an underground facility, the excavator shall immediately contact the underground facility operator to report the damage.

(b)  If the excavator is not certain of the operator's identity, the excavator shall contact a notification center to report the damage, and the notification center shall immediately notify all other affected notification centers.  Immediately upon receiving such notification, each notification center shall contact each member operator that has underground facilities in or near the area in which the damage occurred.

(c)  Only the operator or a person authorized by the operator may perform repairs.

(d)  An excavator shall delay backfilling in the immediate area of the damage until the damage is repaired unless the operator authorizes the backfilling.

(e)  If damage endangers life, health, or property because of the presence of flammable material, the excavator shall keep sources of ignition away.

SECTION 18.  INJUNCTION. (a)  An operator may file an action in a district court for an injunction to enjoin excavation conducted or anticipated to be conducted in violation of this Act.

(b)  Venue for a suit brought under this section is in a county in which all or part of the excavation occurs.

SECTION 19.  CIVIL PENALTY. (a)  An excavator that violates this Act is liable for a civil penalty of not less than $100 or more than $500.  If it is found at the trial on a civil penalty that the excavator has violated this Act and has been assessed a penalty under this section one other time during the three years preceding the date of the most recent violation, the excavator is liable for a civil penalty of not less than $500 or more than $1,000.  If it is found at the trial on a civil penalty that the excavator has violated this Act and has been assessed a penalty under this section at least two other times during the three years preceding the date of the most recent violation, the excavator is liable for a civil penalty of not less than $1,000 or more than $2,500.

(b)  In assessing the penalty the court shall consider the actual damage to the facility, the impact of the excavator's actions on the public health and safety, whether the violation was a willful act, and any good faith of the excavator in attempting to achieve compliance.

(c)  Venue for a cause of action under this section is in:

(1)  the county in which all or part of the alleged violation occurred;

(2)  the county in which the defendant has its principal place of business in this state; or

(3)  the county in which the defendant resides, if in this state.

(d)  The appropriate county attorney or criminal district attorney shall bring the action to recover the civil penalty at the request of an operator.

(e)  Fifty percent of the civil penalty collected under this section shall be transferred to the county treasurer of the county prosecuting the action and fifty percent of the civil penalty collected under this section shall be transferred to the corporation.

(f)  The county treasurer shall deposit all money received under this section in the general fund of the county.

(g)  The corporation shall use the money received under this section to develop public service announcements to educate the public about the one-call notification system and its availability as prescribed by Section 10(a)(7) of this Act.

(h)  Except as otherwise specifically provided in this article, this section is not intended to affect any civil remedies otherwise provided by law for personal injury or for property damage, including any damage to an underground facility.

SECTION 20.  EMERGENCY. The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.

SECTION 21.  EFFECTIVE DATE.