By MaxeyH.B. No. 2810

A BILL TO BE ENTITLED

AN ACT

relating to the prevention of illness and disease caused by air-born particulate matter.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subchapter C, Chapter 361, Health and Safety Code, is amended by adding Section 361.1025 to read as follows:

Sec. 361.1025. AIR-BORNE PARTICULATE MATTER STANDARDS. The Texas Department of Health by rule shall require an industrial furnace or boiler that commercially combusts certain substances defined as hazardous under the Resource Conservation and Recovery Act within ten miles of a public drinking water reservoir or hospital to limit its waste characteristics to the following:

(a)  Flammability as measured by BTUs must be a minimum of 11,000 per pound, as generated;

(b)  Non-detectable levels of metals as defined by the Clean Air Act as hazardous air pollutants;

(c) Non-detectable levels of total halogens and fluorine;

(d)  Maximum solids content of .5%.

SECTION 2.  This Act takes effect September 1, 1997.

SECTION 3.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.