By King

H.B. No. 3059

A BILL TO BE ENTITLED

AN ACT

relating to the regulation of on-site sewage disposal facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Sections 366.002(5) and (7), Health and Safety Code, are amended to read as follows:

(5)  "Local governmental entity" means a municipality, county, river authority, or special district, including an underground water district, [and a] soil and water conservation district, or public health district.

(7)  "On-site sewage disposal system" means one or more systems of treatment devices and disposal facilities that:

(A)  produce not more than 5,000 gallons of waste each day; and

(B)  are used only for disposal of sewage produced on a [the] site on which any part of [where] the system is located.

SECTION 2.  Subchapter A, Chapter 366, Health and Safety Code, is amended by adding Section 366.005 to read as follows:

Sec. 366.005.  NOTICE OF UTILITY SERVICE CONNECTIONS. (a)  An electric utility shall compile a list weekly for each county in this state of the addresses located in an unincorporated area of the county at which the electric utility has made new electric service connections during the preceding week.  The electric utility shall submit the list to the county judge of the county who shall forward the list to each authorized agent having jurisdiction over an area in which an address on the list is included.  The authorized agent may use the list for the purpose of implementing and enforcing rules under this chapter. This section does not apply to a reconnection of service to a location previously served.

(b)  An electric utility may not be held liable for a claim arising from the provision of information under this section.

(c)  Information provided by a utility under this section is confidential and not subject to disclosure under Chapter 552, Government Code, or otherwise, except as provided by this section.

(d)  In this section, "electric utility" means an investor-owned utility, electric cooperative corporation, river authority, or municipally owned utility that provides distribution service to retail customers of electricity.

SECTION 3.  Section 366.017(a), Health and Safety Code, is amended to read  as follows:

(a)  The commission or authorized agent may require a property owner to repair a malfunctioning on-site sewage disposal system on the owner's property:

(1)  not later than the 30th day after the date on which the owner is notified by the commission or authorized agent of the malfunctioning system if the owner has not been notified of the malfunctioning system during the preceding 12 months;

(2)  not later than the 20th day after the date on which the owner is notified by the commission or authorized agent of the malfunctioning system if the owner has been notified of the malfunctioning system once during the preceding 12 months; or

(3)  not later than the 10th day after the date on which the owner is notified by the commission or authorized agent of the malfunctioning system if the owner has been notified of the malfunctioning system at least twice during the preceding 12 months.

SECTION 4.  Subchapter D, Chapter 366, Health and Safety Code, is amended by adding Section 366.0515 to read as follows:

Sec. 366.0515.  MAINTENANCE CONTRACT AND PERFORMANCE BOND. (a)  An authorized agent or the commission may not condition a permit or the approval of a permit for an on-site sewage disposal system using aerobic treatment for a single-family residence located in a county with a population of less than 40,000 on the system's owner contracting for the maintenance of the system.

(b)  Except as provided by Subsection (a), an authorized agent by order or resolution or the commission by rule may condition approval of a permit for an on-site sewage disposal system on the system's owner contracting for the maintenance of the system.  If a maintenance contract is required, the owner of the on-site sewage disposal system must submit to the permitting authority:

(1)  a signed contract for the maintenance of the on-site sewage disposal system; and

(2)  if the on-site sewage disposal system is located in a county with a population of more than 2.8 million, a performance bond obtained from the person with whom the owner of the on-site sewage disposal system has contracted for maintenance of the system.

(c)  A performance bond required by Subsection (b) must be:

(1)  solely for the protection of the owner of the on-site sewage disposal system;

(2)  conditioned on the faithful performance of the maintenance of the on-site sewage disposal system in accordance with plans, specifications, laws, regulations, and ordinances of the state and the authorized agent;

(3)  in an amount reasonably related to the cost that the owner of the on-site sewage disposal system  would incur if the maintenance company did not adhere to maintenance standards or comply with applicable statutes, rules, or ordinances;

(4)  executed by a corporate surety in accordance with Section 1, Chapter 87, Acts of the 56th Legislature, Regular Session, 1959 (Article 7.19-1, Vernon's Texas Insurance Code);

(5)  in a form approved by the permitting authority; and

(6)  payable to the owner of the on-site sewage disposal system.

(d)  If the owner of the on-site sewage disposal system enters into a new maintenance contract or revises the original maintenance contract, the owner must submit a copy of the new or revised maintenance contract and a new performance bond to the permitting authority not later than the 30th day after the date on which the original contract terminates or is modified.

(e)  The permitting authority may establish and collect a reasonable fee to cover the cost of administering the performance bond program.

(f)  The installer of an on-site sewage disposal system shall provide the owner of the system with information regarding maintenance of the system at the time the system is installed.

(g)  The owner of a single-family residence located in a county with a population of less than 40,000 shall maintain the system directly or through a maintenance contract.  If the owner elects to maintain the system directly, the owner must obtain training in system maintenance from the authorized agent or the installer.

SECTION 5.  Section 366.092(a), Health and Safety Code, is amended to read as follows:

(a)  If it appears that a person has violated, is violating, or is threatening to violate any provision of this chapter, or any rule, permit, or other order of the commission issued pursuant to this chapter, an authorized agent or, at the request of the commission, [may request] the attorney general may [to] bring a civil suit for:

(1)  mandatory or prohibitory injunctive relief, as warranted by the facts;

(2)  a civil penalty as provided by this chapter; or

(3)  both injunctive relief and civil penalty.

SECTION 6.  Section 366.0922, Health and Safety Code, is amended to read as follows:

Sec. 366.0922.  COMMISSION ENFORCEMENT AT LOCAL GOVERNMENT REQUEST [DESIGNATED SOLE AUTHORITY TO ENFORCE].  A [The commission shall be the sole authority designated to initiate an enforcement action under Sections 366.092, 366.0921, and 366.0924. However, a] local government may request that the commission initiate an enforcement action under this chapter [pursuant to these sections] through a petition filed with the commission.  If the commission chooses to initiate an enforcement action on behalf of a local government, civil penalties recovered shall be divided between the local government and the state based on the proportion of resources expended by each entity in the course of enforcement action.

SECTION 7.  Section 366.0923, Health and Safety Code, is amended to read as follows:

Sec. 366.0923.  FEES AND COSTS RECOVERABLE. If an authorized agent or the state prevails in a suit under this subchapter, it may recover reasonable attorney's fees, court costs, and reasonable investigative costs incurred in relation to the proceeding.

SECTION 8.  (a)  This Act takes effect September 1, 1997.

(b)  The change in law made by Section 366.0515, Health and Safety Code, as added by this Act, requiring submission of a performance bond applies only to an application for a permit for an on-site sewage disposal system that is filed on or after September 1, 1997, with the Texas Natural Resource Conservation Commission or with an authorized agent designated by the commission under Section 366.031, Health and Safety Code.

SECTION 9.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.