By ShapiroS.B. No. 963

A BILL TO BE ENTITLED

AN ACT

relating to the testing of natural gas piping systems in school district facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Title 102, Revised Statutes, is amended by adding Article 6053-2a to read as follows:

Art. 6053-2a.  TESTING OF NATURAL GAS PIPING SYSTEMS IN SCHOOL DISTRICT FACILITIES

Sec. 1.   (a)  Before the beginning of each school year, each school district shall pressure test the natural gas piping system in each school district facility.

(b)  The pressure test shall determine whether the natural gas piping downstream of the school district's meter holds at least normal operating pressure over a specified period determined by the Railroad Commission of Texas.

(c)  During the pressure test, each system supply inlet and outlet in the facility must be closed.

(d)  At the request of a school district, the Railroad Commission of Texas shall assist the district in developing a procedure for conducting the test.

Sec. 2.   (a)  Each school district shall provide written notice to the natural gas supplier specifying the date and result of each pressure test.

(b)  The natural gas supplier shall maintain a copy of the notice  until at least the first anniversary of the date on which the supplier received the notice.

(c)  The supplier shall terminate service to a school district facility if:

(1)  the supplier receives notice of a hazardous natural gas leakage in the facility piping system; or

(2)  the district fails to perform a test at the facility as required by this article.

SECTION 2.  Notwithstanding Article 6053-2a, Revised Statutes, as added by this Act, if a school district is not able, before the beginning of the 1997-1998 school year, to pressure test the natural gas piping system as required by that article, the district shall perform the test as soon as practicable thereafter.

SECTION 3.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended, and that this Act take effect and be in force from and after its passage, and it is so enacted.