BILL ANALYSIS

Office of House Bill Analysis	H.B. 2815

By: Junell

Natural Resources

8/5/1999

Enrolled

BACKGROUND AND PURPOSE

State law provides that petroleum storage tank systems must have been upgraded with certain environmental controls by December 22, 1998; however, the law, prior to the 76th Legislature, did not prohibit motor fuels distributors from depositing regulated substances into a non-compliant tank. H.B. 2815 requires the Texas Natural Resource Conservation Commission to require an owner or operator of an underground storage tank to complete an annual tank compliance certification form, and provides civil and criminal penalties for certain violations.  This bill also changes certain dates concerning corrective action plans for the groundwater protection cleanup program.

RULEMAKING AUTHORITY

It is the opinion of the Office of House Bill Analysis that this bill does not expressly delegate any additional rulemaking authority to a state officer, department, agency, or institution.

SECTION BY SECTION ANALYSIS

SECTION 1.  Amends Section 26.342, Water Code, by adding a new Subdivision (8) and redesignating existing Subdivisions (8)-(16) as Subdivisions (9)-(17), as follows:

(8) Defines “operator” as any person in day-to-day control of and having responsibility for the daily operation of the underground storage tank system.

(9)-(17) Redesignated from existing (8)-(16).

SECTION 2.  Amends Sections 26.346(a) and (c), Water Code, to require the Texas Natural Resource Conservation Commission (TNRCC) to require that an owner or operator of an underground storage tank complete an annual underground storage tank compliance certification form, in addition to certain other requirements.  Requires TNRCC to issue each person who owns or operates a petroleum storage tank that is registered under this section (Registration Requirements) a registration and compliance confirmation certificate, rather than a registration certificate, that includes the responsibility of the owner or operator of an underground storage tank to accurately complete the part of the registration form pertaining to the certification of compliance with the underground storage tank administrative requirements and technical standards.  Makes conforming changes.

SECTION 3.  Amends Subchapter I, Chapter 26, Water Code, by adding Sections 26.3465 and 26.3467, as follows:

Sec. 26.3465.  FAILURE OR REFUSAL TO PROVIDE PROOF OF REGISTRATION OR CERTIFICATION OF COMPLIANCE.  Provides that an owner or operator of an underground storage tank who fails or refuses to provide, on request of TNRCC, proof of registration of, or certification of compliance for, an underground storage tank is liable for a civil penalty under Subchapter D (Civil Penalties), Chapter 7 (Enforcement).

Sec. 26.3467.  DUTY TO ENSURE CERTIFICATION OF TANK BEFORE DELIVERY. Requires the owner or operator of an underground storage tank into which a regulated substance is to be deposited to provide the common carrier a copy of the certificate of compliance for the specific underground storage tank into which the regulated substance is to be deposited before accepting delivery of the regulated substance into the underground storage tank.  Provides that a person who violates this section commits an offense that is punishable as provided by Section 7.156 for an offense under that section.  Provides that a person who sells a regulated substance to a common carrier who delivers the regulated substance to the owner or operator of an underground storage tank into which the regulated substance is deposited, and who does not deliver the regulated substance into the underground storage tank, is not liable under this chapter (Water Quality Control) with respect to that tank.

SECTION 4.  Amends Section 7.156, Water Code, to provide that a person commits a Class A misdemeanor if the person is an owner or operator of an underground storage tank regulated under Chapter 26 into which any regulated substance is delivered or physically delivers any regulated substance into an underground storage tank regulated under Chapter 26 unless the underground storage tank has been issued a valid, current underground storage tank registration and certificate of compliance form under Section 26.346.  Makes conforming changes.

SECTION 5.  Amends Subchapter E, Chapter 7, Water Code, by adding Section 7.1565, as follows:

Sec. 7.1565.  PRESUMPTION.  Requires the receipt of a registration to be considered prima facie evidence of compliance with this section, if, in the exercising of good faith, a person depositing, or causing to be deposited, a regulated substance into an underground storage tank regulated under Chapter 26 receives the registration and certificate of compliance for that underground storage tank under Section 26.346.

SECTION 6.  Amends Sections 26.3512(g)-(j), Water Code, to condition the amount that an owner or operator is required to pay for corrective action taken by TNRCC relating to the groundwater protection cleanup program on whether the owner or operator’s corrective action plan was approved by TNRCC by  June 23, 1998, rather than December 23, 1997. Conditions the amount that an owner or operator is required to pay for corrective action taken by TNRCC relating to the groundwater protection cleanup program on whether the owner or operator has met the goals of a corrective plan approved by TNRCC before December 23, 1999, rather than 1998.  Makes conforming changes.

SECTION 7.  Amends Section 26.35731, Water Code, by adding Subsection (c), as follows:

(c) Requires TNRCC, not later than the 90th day after the date on which it receives a completed application for reimbursement from the petroleum storage tank remediation account,  to send a fund payment report to the owner or operator of a petroleum storage tank system that is seeking reimbursement.

SECTION 8.  Effective date: September 1, 1999.

SECTION 9.  Emergency clause.