By Turner of Coleman

H.B. No. 2261

Substitute the following for H.B. No. 2261:

By Driver

C.S.H.B. No. 2261

A BILL TO BE ENTITLED

AN ACT

relating to testing natural gas piping in certain school facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Chapter 121, Utilities Code, is amended by adding Subchapter J to read as follows:

SUBCHAPTER J. TESTING OF NATURAL GAS PIPING SYSTEMS

IN SCHOOL FACILITIES

Sec. 121.501. APPLICABILITY. This subchapter applies only to a facility of a public school or a private school but does not apply to a home school.

Sec. 121.502.  DEFINITION. In this subchapter, "supplier" means an individual or company that sells and delivers natural gas to a school facility.  If more than one individual or company sells and delivers natural gas to a school facility each individual or company is a supplier for purposes of this subchapter.

Sec. 121.503.  DUTY TO PRESSURE TEST. (a)  A person responsible for a school facility shall perform biennial pressure tests on the natural gas piping system in each school facility.  The tests must be performed before the beginning of the school year.

(b)  A person responsible for more than one school facility may perform the tests on a two-year cycle under which the pressure tests are performed for the natural gas piping systems of approximately one-half of the facilities each year.

(c)  If the person responsible for one or more school facilities operates the facilities on a year-round calendar, the pressure test in each of those facilities must be conducted and reported not later than July 1 of the year in which the pressure test is performed.

(d)  A test performed under a municipal code satisfies the pressure testing requirements prescribed by this section.

Sec. 121.504.  REQUIREMENTS OF TEST. (a)  The person responsible for a school facility shall perform the pressure test to determine whether the natural gas piping downstream of the school facility's meter holds at least normal operating pressure over a specified period determined by the railroad commission.

(b)  During the pressure test, each system supply inlet and outlet in the facility must be closed.

(c)  At the request of a person responsible for a school facility, the railroad commission shall assist the person in developing a procedure for conducting the test.

Sec. 121.505.  NOTICE OF TEST. (a)  A person responsible for a school facility shall provide written notice to the school's supplier specifying the date and result of each pressure test or other inspection.

(b)  The supplier shall maintain a copy of the notice until at least the first anniversary of the date on which the supplier received the notice.

Sec. 121.506.  TERMINATION OF SERVICE. A supplier shall terminate service to a school facility if:

(1)  the supplier receives official notification from the firm or individual conducting the test of a hazardous natural gas leakage in the facility piping system; or

(2)  a test or other inspection at the facility is not performed as required by this subchapter.

Sec. 121.507.  REPORT TO BOARD OF TRUSTEES. An identified natural gas leakage in a school district facility must be reported to the  board of trustees of the district in which the facility is located.  An identified natural gas leakage in another school facility must be reported to the person responsible for the school facility.

Sec. 121.508.  ENFORCEMENT. The railroad commission shall enforce this subchapter.

SECTION 2.  Article 6053-2a, Revised Statutes, is repealed.

SECTION 3.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended, and that this Act take effect and be in force from and after its passage, and it is so enacted.