A BILL TO BE ENTITLED

AN ACT

relating to contracts by school districts, institutions of higher education, and state agencies for water conservation measures.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  The heading to Section 44.901, Education Code, is amended to read as follows:

Sec. 44.901.  ENERGY OR WATER CONSERVATION MEASURES.

SECTION 2.  Subsections (a) through (f), Section 44.901, Education Code, are amended to read as follows:

(a)  The board of trustees of a school district may enter into a contract for energy or water conservation measures to reduce energy or water consumption or operating costs of school facilities in accordance with this section.

(b)  A contract to which this section applies includes a contract for the installation of:

(1)  insulation of the building structures and systems within the building;

(2)  storm windows or doors, caulking or weatherstripping, multiglazed windows or doors, heat absorbing or heat reflective glazed and coated window or door systems, or other window or door system modifications that reduce energy consumption;

(3)  automatic energy control systems, including computer software and technical data licenses;

(4)  heating, ventilating, or air-conditioning system modifications or replacements that reduce energy or water consumption;

(5)  lighting fixtures that increase energy efficiency;

(6)  energy recovery systems;

(7)  electric systems improvements; [or]

(8)  water-conserving landscape irrigation equipment;

(9)  water-saving plumbing fixtures, appliances, or equipment;

(10)  water reuse, rainwater harvesting, or other alternative water source technologies for landscape irrigation, toilet and urinal flushing, or other purposes;

(11)  substitution of non-water-using fixtures, appliances, equipment, or practices for water-using fixtures, appliances, equipment, or practices, if feasible; or

(12)  other energy or water conservation-related improvements or equipment (including improvements or equipment relating to renewable energy).

(c)  All energy or water conservation measures must comply with current local, state, and federal construction and environmental codes and regulations.  Notwithstanding anything to the contrary in Subsection (b), a contract for energy or water conservation measures shall not include improvements or equipment that allow or cause water from any condensing, cooling, or industrial process or any system of nonpotable usage over which the public water supply system officials do not have sanitary control[,] to be returned to the potable water supply.

(d)  The person with whom the board contracts must be experienced in the design, implementation, and installation of the energy or water conservation measures addressed by the contract.

(e)  Before entering into a contract for energy or water conservation measures, the board shall require the provider of the energy or water conservation measures to file with the board a payment and performance bond relating to the installation of energy or water conservation measures that is in an amount the board finds reasonable and necessary to protect the interests of the school district and that may also cover the value of the guaranteed savings on the contract and is conditioned on the faithful execution of the terms of the contract.

(f)  A contract for energy or water conservation measures, with respect to existing buildings or facilities, may be a lease/purchase contract, with a term not to exceed 10 years, that meets federal tax requirements for tax-free municipal leasing or long-term financing.  The contract shall contain provisions pursuant to which the provider of the energy or water conservation measures guarantees the amount of the savings to be realized by the school district under the contract.  If the term of a contract for energy or water conservation measures exceeds one year, the school district's contractual obligations in any one year during the term of the contract may not exceed the total energy or water and operating cost savings, including but not limited to electrical, gas, water, or other utility cost savings and operating cost savings resulting from automatic monitoring and control as determined by the school district in this subsection, divided by the number of years in the contract term.

SECTION 3.  Section 51.927, Education Code, as amended by Chapters 627 and 1142, Acts of the 75th Legislature, Regular Session, 1997, is reenacted and amended to read as follows:

Sec. 51.927.  ENERGY OR WATER CONSERVATION MEASURES.  (a)  The governing board of an institution of higher education may enter into a contract for energy or water conservation measures to reduce energy or water consumption or operating costs of institutional facilities in accordance with this section.

(b)  A contract to which this section applies includes a contract for the installation of:

(1)  insulation of a building structure and systems within a building;

(2)  storm windows of doors, caulking or weather stripping, multiglazed windows or doors, heat-absorbing or heat-reflective glazed and coated window or door systems, or other window or door system modifications that reduce energy consumption;

(3)  automatic energy control systems, including computer software and technical data licenses;

(4)  heating, ventilating, or air conditioning system modifications or replacements that reduce energy or water consumption;

(5)  lighting fixtures that increase energy efficiency;

(6)  energy recovery systems;

(7)  electric systems improvements; [or]

(8)  water-conserving landscape irrigation equipment;

(9)  water-saving plumbing fixtures, appliances, or equipment;

(10)  water reuse, rainwater harvesting, or other alternative water source technologies for landscape irrigation, toilet and urinal flushing, or other purposes;

(11)  substitution of non-water-using fixtures, appliances, equipment, or practices for water-using fixtures, appliances, equipment, or practices, if feasible; or

(12)  other energy or water conservation-related improvements or equipment (including improvements or equipment related to renewable energy).

(c)  All energy or water conservation measures must comply with current local, state, and federal construction and environmental codes and regulations.  Notwithstanding anything to the contrary in Subsection (b), a contract for energy or water conservation measures shall not include improvements or equipment that allow or cause water from any condensing, cooling, or industrial process or any system of nonpotable usage over which the public water supply system officials do not have sanitary control[,] to be returned to the potable water supply.

(d)  The entity with whom the board contracts must be experienced in the design, implementation, and installation of the energy or water conservation measures addressed by the contract.

(e)  Before entering into a contract for energy or water conservation measures, the board shall require the provider of the energy or water conservation measures to file with the board a payment and performance bond that is in an amount the board finds reasonable and necessary to protect the interests of the institution and is conditioned on the faithful execution of the terms of the contract.

(f)  The board may enter into a contract for a period of more than one year for energy or water conservation measures with an entity if the board finds that the amount the institution would spend on the energy or water conservation measures will not exceed the amount to be saved in energy or water and operating costs over 10 years from the date of installation.  If the term of a contract for energy or water conservation measures exceeds one year, the board's contractual obligation in any year during the term of the contract beginning after the final date of installation may not exceed the total energy or water and operating cost savings, including but not limited to electrical, gas, water, or other utility cost savings and operating cost savings resulting from automatic monitoring and control, as determined by the board in this subsection, divided by the number of years in the contract term beginning after the final date of installation.  The board shall consider all costs of the energy or water conservation measures, including costs of design, engineering, installation, maintenance, repairs, and debt service.

(g)  A contract for energy or water conservation measures may be a lease/purchase contract, with a term not to exceed 10 years after the final date of installation, that meets federal tax requirements for tax-free municipal leasing or long-term financing.  The contract shall contain provisions pursuant to which the provider of the energy or water conservation measures guarantees the amount of the savings to be realized by the institution of higher education under the contract.  The Master Equipment Lease Purchase Program operated by the Texas Public Finance Authority may be utilized by an institution to fund a contract for energy or water conservation measures so long as the costs of the energy or water conservation measures, including costs of design, engineering, installation, maintenance, repairs, and anticipated debt service requirements of the Master Equipment Lease Purchase Program, do not exceed the total energy or water and operating cost savings, as described in Subsection (f) [(e)], beginning after the final date of installation.

(h)  A contract under this section may be let under competitive sealed proposal procedures.  Notice of the request for proposals shall be given in the manner provided for in Chapter 2156, Government Code.  The Texas Higher Education Coordinating Board, in consultation with the State Energy Conservation Office and the Texas Energy Coordination Council with regard to energy conservation measures, shall establish guidelines and an approval process for contracts awarded under this section.  The State Energy Conservation Office and the Texas Energy Coordination Council shall review the selected proposal before a contract for energy conservation measures is awarded.  The State Energy Conservation Office may provide a cost-benefit analysis of the proposals for energy conservation measures and analysis of the guaranteed savings projected by offerors and may charge a fee for this service.   The contract shall be awarded to the responsible offeror whose proposal, following negotiations, is determined by the institution to be the most advantageous to the institution considering the guaranteed savings and other evaluation factors set forth in the request for proposals, except that if the institution finds that no offer is acceptable, it shall refuse all offers.

(i)  In accordance with regulations adopted by the institution, the institution may conduct discussions with offerors who submit proposals and who are determined to be reasonably qualified for the award of the contract.  Offerors shall be treated fairly and equally with respect to any opportunity for discussion and revision of proposals.  To obtain the best final offers, the institution may allow proposal revisions after submissions and before the award of the contract.

(j)  If provided in a request for proposals under Subsection (h) [(g) of this section], proposals shall be opened in a manner that avoids disclosure of the contents to competing offerors and keeps the proposals secret during negotiations.  All proposals are open for public inspection after a contract is awarded unless the information is excepted from disclosure under Chapter 552, Government Code.

(k)  The legislature shall base an institution's appropriation for energy or water costs during a fiscal year on the sum of:

(1)  the institution's estimated energy or water costs for that fiscal year; and

(2)  if a contract under this section is in effect, the institution's estimated net savings resulting from the contract during the contract term, divided by the number of years in the contract term.

SECTION 4.  The heading to Section 2166.406, Government Code, is amended to read as follows:

Sec. 2166.406.  ENERGY OR WATER CONSERVATION MEASURES.

SECTION 5.  Subsections (a) through (h), (k), and (l), Section 2166.406, Government Code, are amended to read as follows:

(a)  Notwithstanding any other provisions of this chapter, the governing body of a state agency, without the consent of the commission, may enter into a contract for energy or water conservation measures to reduce energy or water consumption or operating costs of governmental facilities in accordance with this section.

(b)  A contract authorized under this chapter includes a contract for the installation of:

(1)  insulation of the building structure and systems within the building;

(2)  storm windows or doors, caulking or weather stripping, multiglazed windows or doors, heat absorbing or heat reflective glazed and coated window or door systems, or other window or door system modifications that reduce energy consumption;

(3)  automatic energy control systems, including computer software and technical data licenses;

(4)  heating, ventilating, or air-conditioning system modifications or replacements that reduce energy or water consumption;

(5)  lighting fixtures that increase energy efficiency;

(6)  energy recovery systems;

(7)  electric systems improvements; [or]

(8)  water-conserving landscape irrigation equipment;

(9)  water-saving plumbing fixtures, appliances, or equipment;

(10)  water reuse, rainwater harvesting, or other alternative water source technologies for landscape irrigation, toilet and urinal flushing, or other purposes;

(11)  substitution of non-water-using fixtures, appliances, equipment, or practices for water-using fixtures, appliances, equipment, or practices, if feasible; or

(12)  other energy or water conservation-related improvements or equipment (including improvements or equipment related to renewable energy).

(c)  All energy or water conservation measures must comply with current local, state, and federal construction and environmental codes and regulations.  Notwithstanding anything to the contrary in Subsection (b), a contract for energy or water conservation measures shall not include improvements or equipment that allow or cause water from any condensing, cooling, or industrial process or any system of nonpotable usage over which the public water supply system officials do not have sanitary control to be returned to the potable water supply.

(d)  The entity with whom the board contracts must be experienced in the design, implementation, and installation of the energy or water conservation measures addressed by the contract.

(e)  Before entering into a contract for energy or water conservation measures, the governing body of the state agency shall require the provider of the energy or water conservation measures to file with the governing body a payment and performance bond that is in an amount the governing body finds reasonable and necessary to protect the interests of the state agency and that is conditioned on the faithful execution of the terms of the contract.

(f)  The state agency may enter into a contract for a period of more than one year for energy or water conservation measures with an entity if the state agency finds that the amount the state agency would spend on the energy or water conservation measures will not exceed the amount to be saved in energy or water and operating costs over 10 years from the date of installation.

(g)  A contract for energy or water conservation measures, with respect to existing buildings or facilities, may be a lease/purchase contract with a term not to exceed 10 years, that meets federal tax requirements for tax-free municipal leasing or long-term financing.  The contract shall contain provisions pursuant to which the provider of the energy or water conservation measures guarantees the amount of the savings to be realized by the state agency under the contract.  If the term of a contract for energy or water conservation measures exceeds one year, the agency's contractual obligation in any year during the term of the contract may not exceed the total energy or water and operating cost savings, including but not limited to electrical, gas, water, or other utility cost savings and operating cost savings resulting from automatic monitoring and control, as determined by the state agency in this subsection, divided by the number of years in the contract term.

(h)  A contract under this chapter may be let under competitive sealed proposal procedures.  Notice of the request for proposals shall be given in the manner provided for in Chapter 2156, Government Code.  Before awarding a [the] contract for energy conservation measures, the state agency shall submit the selected proposal to the State Energy Conservation Office and the Texas Energy Coordination Council for review and comment before awarding the contract.  The State Energy Conservation Office and the Texas Energy Coordination Council will provide a cost-benefit analysis of the proposals for energy conservation measures and an analysis of the guaranteed savings projected by offerors and may charge a fee for this service.  The contract shall be awarded to the responsible offeror whose proposal, following negotiations, is determined to be the most advantageous to the state agency considering the savings and other evaluation factors set forth in the request for proposals except that if the state agency finds that no offer is acceptable, it shall refuse all offers.

(k)  To obtain the best final offers, the state agency may allow proposal revisions after submissions and before the award of the contract.  Final review and approval of a [the] contract for energy conservation measures will be provided by the State Energy Conservation Office.

(l)  The legislature shall base an agency's appropriation for energy or water costs during a fiscal year on the sum of:

(1)  the agency's estimated energy or water costs for that fiscal year; and

(2)  if a contract under this section is in effect, the agency's estimated net savings resulting from the contract during the contract term, divided by the number of years in the contract term.

SECTION 6.  This Act takes effect September 1, 1999.

SECTION 7.  The importance of this legislation and the crowded condition of the calendars in both houses create an emergency and an imperative public necessity that the constitutional rule requiring bills to be read on three several days in each house be suspended, and this rule is hereby suspended.