By Geren

H.B. No. 3047

A BILL TO BE ENTITLED

AN ACT

relating to inspection of elevators, escalators, moving sidewalks, and related equipment; providing an administrative penalty.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1. Subchapter B, Chapter 754, Health and Safety Code, is amended to read as follows:

SUBCHAPTER B.  INSPECTION AND CERTIFICATION

Sec. 754.011.  DEFINITIONS.  In this subchapter:

(1)  "Acceptance inspection" means an inspection performed at the completion of the initial installation or alteration of equipment and in accordance with the applicable ASME Code A17.1.

(2)  "Accident" means an event involving equipment that results in serious bodily injury to a person or in damage to the equipment.

(3)  "Alteration" means a change in or modernization of existing equipment.  The term does not include maintenance, repair, replacement, or a cosmetic change that does not affect the operational safety of the equipment or diminish the safety of the equipment below the level required by ASME Code A17.3 or ASME Code A17.1, as applicable, at the time of alteration.

(4)  "Annual inspection" means an inspection of equipment performed in a 12-month period in accordance with the applicable ASME Code A17.1.  The term includes an acceptance inspection performed within that period.

(5)  "ASME Code A17.1" means the American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.1.

(6) [(2)]  "ASME Code A17.3" means the 1994 American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.3.

(7)  "ASME Code A18" means the American Society of Mechanical Engineers Safety Code for Platform Lifts and Stairway Chairlifts A18.

(8) [(3)]  "Board" means the elevator advisory board.

(9) [(4)]  "Commission" means the Texas Commission of Licensing and Regulation.

(10) [(5)]  "Commissioner" means the commissioner of licensing and regulation.

(11)  "Contractor" means a person engaged in the installation, repair, or maintenance of equipment.  The term does not include a person engaged in cleaning, maintenance, repair, replacement, or making a cosmetic change that does not affect the operational safety of the equipment or diminish the safety of the equipment below the level required by ASME Code A17.1, ASME Code A17.3, or ASME Code A18, as applicable.

(12) [(6)]  "Department" means the Texas Department of Licensing and Regulation.

(13)  "Equipment" means an elevator, escalator, or moving sidewalk or related equipment.

(14)  "Industrial facility" means a facility to which access is primarily limited to employees of the facility because the processes or functions of the facility are hazardous to human safety or health.

(15) [(7)]  "Qualified historic building or facility" means a building or facility that is:

(A)  listed in or eligible for listing in the National Register of Historic Places; or

(B)  designated as a Recorded Texas Historic Landmark or State Archeological Landmark.

(16) [(8)]  "Related equipment" means:

(A)  automatic equipment that is used to move a person in a manner that is similar to that of an elevator, an [or] escalator, or [and includes] a moving sidewalk; and

(B)  hoistways, pits, and machine rooms for equipment.

(17)  "Serious bodily injury" means a major impairment to bodily function or serious dysfunction of any bodily organ or part.

(18)  "Unit of equipment" means one elevator, escalator, or moving sidewalk or its related equipment.

Sec. 754.0111.  EXEMPTION.  (a)  This subchapter does not apply to [an elevator, escalator, or related] equipment in a private building owned by [for] a labor union, trade association, private club, or charitable organization that has two or fewer floors.

(b)  This subchapter does not apply to an elevator located in a single-family dwelling.

Sec. 754.012.  ELEVATOR ADVISORY BOARD.  (a)  The elevator advisory board is composed of 12 [nine] members appointed by the commissioner as follows:

(1)  a representative of the insurance industry or a certified elevator inspector;

(2)  a representative of [elevator, escalator, and related] equipment constructors;

(3)  a representative of owners or managers of a building [buildings] having fewer than six stories and having [an elevator, an escalator, or related] equipment;

(4)  a representative of owners or managers of a building [buildings] having six stories or more and having [an elevator, an escalator, or related] equipment;

(5)  a representative of [independent elevator, escalator, and related] equipment maintenance companies;

(6)  a representative of [elevator, escalator, and related] equipment manufacturers;

(7)  a licensed or registered engineer or architect [representative of professional engineers or architects];

(8)  four [a] public members [member]; and

(9)  a public member with a physical disability.

(b)  Board members serve at the will of the commissioner.

(c)  The commissioner shall appoint a presiding officer of the board.

(d)  The board shall meet at least twice each calendar year.

(e)  A board member serves without compensation but is entitled to reimbursement for travel as provided for in the General Appropriations Act [and other necessary expenses incurred in performing duties under this subchapter].

Sec. 754.013.  BOARD DUTIES.  To protect public safety and to identify and correct potential hazards, the board shall advise the commissioner on:

(1)  the adoption of appropriate standards for the installation, alteration, operation, and inspection of [elevators, escalators, and related] equipment;

(2)  the status of [elevators, escalators, and related] equipment used by the public in this state; and

(3)  any other matter considered relevant by the commissioner.

Sec. 754.014.  STANDARDS ADOPTED BY COMMISSIONER.  (a)  The commissioner shall adopt standards for the installation, alteration, operation, and inspection of [elevators, escalators, and related] equipment used by the public in:

(1)  buildings owned or operated by the state, a state-owned institution or agency, or a political subdivision of the state; and

(2)  buildings that contain [an elevator, an escalator, or related] equipment that is open to the general public, including a hotel, motel, apartment house, boardinghouse, church, office building, shopping center, or other commercial establishment.

(b)  Standards adopted by the commissioner may not contain requirements in addition to the requirements in the ASME Code A17.1, [or] ASME Code A17.3, or ASME Code A18.  The standards may not require sprinklers in an elevator hoistway, pit, or machine room.  The standards must allow alteration of existing equipment if the alteration does not diminish the safety of the equipment below the level required by this subchapter at the time of alteration.

(c)  Standards adopted by the commissioner must require [elevators, escalators, and related] equipment to comply with the installation requirements of the [following, whichever is the least restrictive:

[(1)  the] ASME Code A17.1 or ASME Code A18 that was in effect and applicable on the date of installation of the [elevators, escalators, and related] equipment[; or

[(2)  an applicable municipal ordinance governing the installation of elevators, escalators, and related equipment that was in effect on the date of installation].

(d)  Standards adopted by the commissioner must require [elevators, escalators, and related] equipment to comply with the installation requirements of the [1994] ASME Code A17.3 that contains minimum safety standards for all [elevators, escalators, and related] equipment, regardless of the date of installation.

(e)  The [On written request, the] commissioner shall grant a delay for compliance with the applicable ASME Code A17.1, [or the 1994] ASME Code A17.3, or ASME Code A18 until a specified time if compliance is not readily achievable, as that phrase is defined in the Americans with Disabilities Act (42 U.S.C. Section 12101 et seq.), or regulations adopted under that Act.  The accumulated total time of all delays may not exceed three years except as provided by Subsection (f) or as allowed in the discretion of the commissioner.

(f)  The [On written request, the] commissioner shall grant a delay until September 1, 2005, for compliance with the requirements for door restrictors or firefighter's service in the [1994] ASME Code A17.3 if those requirements were not included in the ASME Code A17.1 that was in effect on the date of installation [of the elevator, escalator, or related equipment] and the [that] equipment was not subsequently installed [by an owner of the elevator, escalator, or related equipment].

(g)  The commissioner may grant a waiver of compliance from an applicable code requirement [with the applicable ASME Code A17.1 or the 1994 ASME Code A17.3] if the commissioner finds that:

(1)  the building in which the [elevator, escalator, or related] equipment is located is a qualified historic building or facility or the noncompliance is due to structural components of the building; and

(2)  noncompliance will not constitute a significant threat to passenger safety.

(h)  The commissioner shall grant a waiver of compliance if the noncompliance resulted from compliance with a municipal equipment construction code at the time of the original installation and the noncompliance does not pose imminent and significant danger.  The commissioner may grant a waiver of compliance with the firefighter's service provisions of the ASME Code A17.1 or the [1994] ASME Code A17.3 in an elevator that exclusively serves a vehicle parking garage in a building that:

(1)  is used only for parking;

(2)  is constructed of noncombustible materials; and

(3)  is not greater than 75 feet in height.

(i)  This subchapter does not apply to [an elevator, an escalator, or related] equipment in an industrial facility, or in a grain silo, radio antenna, bridge tower, underground facility, or dam, to which access is limited principally to employees of or working in that facility or structure.

(j)  [The commissioner may charge a reasonable fee as set by the commission for an application for waiver or delay.]  One application for a waiver or delay may contain all requests related to a unit of equipment [particular building].  A delay may not be granted indefinitely but must be granted for [to] a specified time not to exceed three years.

(k)  For purposes of this section, the date of installation or alteration of equipment is the date that the owner of the real property entered into a contract for the installation or alteration of the [purchase of the elevators, escalators, or related] equipment. If that date cannot be established, the date of installation or alteration is the date of issuance of the municipal building permit under which the [elevators, escalators, or related] equipment was installed or altered [constructed] or, if a municipal building permit was not issued, the date that electrical consumption began for the construction of the building in which the [elevators, escalators, or related] equipment was installed.

Sec. 754.015.  RULES. (a)  The commissioner by rule shall provide for:

(1)  an annual [the] inspection and certification of the [once each calendar year of elevators, escalators, and related] equipment covered by standards adopted under this subchapter;

(2)  the enforcement of those standards;

(3)  the registration [certification] of qualified [persons as] inspectors and contractors [for the purposes of this subchapter]; [and]

(4)  the form of [the] inspection documents, contractor reports, [report] and certificates [certificate] of compliance; and

(5)  notification to building owners, architects, and other building industry professionals regarding the necessity of annually inspecting equipment.

(b)  The commissioner by rule may not [require that]:

(1)  require inspections of equipment to [inspection] be made more often than every 12 months, except as provided by Subsection (c) [once per year of elevators, escalators, and related equipment];

(2)  require persons to post a bond or furnish insurance or to have minimum experience or education as a condition of certification or registration; [and]

(3)  require inspection reports or certificates of compliance to be placed in locations other than one provided in Section 754.019(a)(4);

(4)  require building owners to submit to the department proposed plans for equipment installation or alteration;

(5)  prohibit an ASME-QEI-1 certified inspector who is registered with the department from inspecting equipment; or

(6)  require an inspection report or certificate of compliance to be placed inside or immediately outside an elevator cab or escalator or in the lobby or hallways of a building.

(c)  The commissioner by rule may require a reinspection or recertification of equipment if the equipment has been altered and poses a significant threat to passenger safety or if an annual inspection report indicates an existing violation has continued longer than permitted in a delay granted by the commissioner.

(d)  The commissioner by rule may charge a fee for:

(1)  registering with the department as an inspector or contractor, not to exceed $30;

(2)  providing certified inspector educational courses, not to exceed $50;

(3)  applying for a certificate of compliance, not to exceed $15 for each unit of equipment;

(4)  filing an inspection report as required by Section 754.019(a)(3):

(A)  not later than 60 days after the date the report is due, not to exceed $10 for each full month the report is past due; or

(B)  60 days or more after the date the report is due, not to exceed $100 for each full month the report is past due; and

(5)  applying for a waiver or delay, not to exceed $100 for each violation [754.019(4)].

Sec. 754.016.  INSPECTION DOCUMENTS [REPORT] AND CERTIFICATE OF COMPLIANCE. (a)  An inspection report and [a] certificate of compliance required under this subchapter must cover each unit of [all elevators, escalators, and related] equipment [in a building or structure appurtenant to the building, including a parking facility, that are owned by the same person or persons].  There shall be separate [only one] inspection reports [report] and certificates [one certificate] of compliance for each unit of equipment [building].

(b)  An inspector shall date and sign an inspection report and shall issue the report to the building owner not later than the 10th calendar day after the date of inspection.  [The inspection report shall be on forms designated by the commissioner.]

(c)  The commissioner shall [date and sign a certificate of compliance and shall] issue a [the] certificate of compliance to the building owner if an application is submitted by the building owner with applicable fees and the application reflects that:

(1)  the[. The certificate of compliance shall state that the elevators, escalators, and related] equipment has [have] been inspected by a certified inspector;

(2)  the inspection report shows the equipment is [and found by the inspector to be] in compliance with the requirements of this chapter; and

(3)  to the extent the report shows any noncompliance that does not pose an imminent and significant danger, the building owner:

(A)  acknowledges the noncompliance will be remedied within a reasonable period, not later than six months following the date of the inspection report; or

(B)  has been granted a waiver or delay for compliance by the commissioner[, except for any delays or waivers granted by the commissioner and stated in the certificate].

Sec. 754.017.  CERTIFIED INSPECTORS. (a)  In order to inspect equipment, an individual must:

(1)  be registered [An inspector must register] with the department;

(2)  attend educational courses as required by the department;

(3)  [and] be certified as a QEI-1 [an ASME-QEI-1] inspector by an organization accredited by the American Society of Mechanical Engineers; and

(4)  pay all applicable registration fees.  [Any certification charges or fees shall be paid by the inspector.]

(b)  [The commissioner may not by rule prohibit an ASME-QEI-1 certified inspector who is registered with the department from inspecting under this subchapter an elevator, an escalator, or related equipment.]  A person assisting a certified inspector is not required to be [ASME-QEI-1] certified.

(c)  A registration expires on the first anniversary of the date of issuance [The commissioner may charge a $15 fee to certified inspectors for registering with the department].

Sec. 754.0171.  CONTRACTOR REGISTRATION. (a)  A person may not install, repair, or maintain equipment without registering as a contractor with the department as required by this subchapter.

(b)  A contractor shall submit an application for registration and pay appropriate fees to the department.

(c)  A registration expires on the first anniversary of the date of issuance.

(d)  A contractor registered as required by this chapter shall submit to the department a quarterly report containing:

(1)  the street address of each building or location at which the contractor performed installation, repair, alteration, or maintenance of equipment; and

(2)  the name and mailing address of the building owner.

(e)  Installation, repair, alteration, and maintenance standards for contractors must be consistent with ASME Code A17.1, ASME Code A17.3, and ASME Code A18.

Sec. 754.0172 [754.0171].  INSPECTION FEE. (a)  A person inspecting [an elevator, an escalator, or related] equipment under this subchapter may not charge more than $65 per elevator cab or per escalator for each inspection.

(b)  The amount charged for an inspection or the performance of an inspection of equipment under this chapter may not be contingent on the existence of a maintenance contract between the person performing the inspection and any other person.

Sec. 754.018.  POWERS OF MUNICIPALITIES. (a)  Subject to Subsections (b) and (c) and Section 754.014(h), if [If] a municipality operates a program for the installation, alteration, inspection, or [and] certification of [elevators, escalators, and related] equipment, this subchapter shall not apply to the [elevators, escalators, and related] equipment in that municipality, provided that the standards of installation, alteration, inspection, and certification are at least equivalent to [no less stringent than] those contained in this subchapter.

(b)  A municipality may not require sprinklers in an elevator hoistway, pit, or machine room.

(c)  After January 1, 2010, a municipality may not operate a program for installation, alteration, inspection, or certification of equipment.  A municipality may cease operation of a program for installation, alteration, inspection, or certification sooner than January 1, 2010.  A municipality may not enforce a code or code provision that is in conflict with or is less stringent than ASME Code A17.1, ASME Code A17.3, and ASME Code A18.

Sec. 754.019.  DUTIES OF REAL PROPERTY OWNERS. (a)  The owner of real property on which [an elevator, an escalator, or related] equipment covered by this subchapter is located shall:

(1)  have the [elevator, escalator, or related] equipment inspected annually by a [an ASME-QEI-1] certified inspector [in accordance with the commissioner's rules];

(2)  obtain an inspection report from the inspector evidencing that all [elevators, escalators, and related] equipment in a building on the real property were inspected in accordance with this subchapter and rules adopted under this subchapter;

(3)  file with the department the [commissioner a copy of each] inspection report for each unit of equipment, and all applicable fees, [and a $20 filing fee for each report, plus $5 for each elevator, escalator, or related equipment] not later than the 60th day after the date on which an inspection is made under this subchapter;

(4)  display the certificate of compliance or a copy of the certificate:

(A)  in each [the] elevator mechanical room if the certificate relates to an elevator;

(B)  in each [the] escalator box if the certificate relates to an escalator; or

(C)  in a place designated by rule if related to equipment other than an elevator or escalator [the commissioner if the certificate relates to related equipment]; and

(5)  display the inspection report at the locations designated in Subdivision (4) until a certificate of compliance is issued [by the commissioner].

(b)  When an inspection report is filed [with the commissioner], the owner shall submit to the department, as applicable [commissioner]:

(1)  verification that any deficiencies in the inspector's report have been remedied or that a bona fide contract to remedy the deficiencies has been entered into; or

(2)  any application for delay or waiver of an applicable standard.

(c)  [An inspection must be made not later than 18 months after the previous calendar year's inspection.  This subsection does not affect the requirement that elevators, escalators, or related equipment be inspected at least once each calendar year.

[(d)]  For the purpose of determining timely filing under Subsection (a)(3) and Section 754.016(b) [Subsection (a)(3)], an inspection report and filing fees [fee] are considered filed on the date of postmark [mailing] by United States mail if properly addressed to the department [commissioner].

(d) [(e)  If the inspection report and fee required by Subsection (a)(3) are not timely filed, the commissioner may charge the owner of the real property on which the elevator, escalator, or related equipment is located an additional $100 fee for late filing.

[(f)  The commissioner may not require that an inspection report or certificate of compliance be placed inside or immediately outside an elevator cab or escalator or in the lobby or hallways of a building.

[(g)]  A fee may not be charged or collected for a certificate of compliance for an institution of higher education as defined in Section 61.003, Education Code.

Sec. 754.020.  CHIEF ELEVATOR INSPECTOR [DEPOSIT OF FEES]. The commissioner may appoint a chief elevator inspector to administer the equipment inspection and registration program.  The chief elevator inspector:

(1)  may not have a financial or commercial interest in the manufacture, maintenance, repair, inspection, installation, or sale of equipment; and

(2)  must possess a QEI-1 certification or obtain the certification within six months after becoming chief inspector. [Fees collected under this subchapter shall be deposited to the credit of an account in the general revenue fund that may be used by the commissioner only to administer and enforce this subchapter and to reimburse expenses of board members provided by this subchapter.]

Sec. 754.021.  LIST OF REGISTERED INSPECTORS AND CONTRACTORS; PERSONNEL. The commissioner shall [may]:

(1)  compile a list of [ASME-QEI-1] certified inspectors and contractors who are registered with the department [to perform an inspection under this subchapter]; and

(2)  employ personnel who are [as] necessary to enforce this subchapter.

Sec. 754.022.  NOTICE OF NONCOMPLIANCE. If the department [commissioner] learns of a situation of noncompliance under Section 754.019, the department [commissioner] shall send notice by certified mail of the noncompliance and the actions required to remedy the noncompliance to the record owner of the real property on which the equipment that is the subject of the noncompliance is located.

Sec. 754.023.  INVESTIGATION;  LICENSE PROCEEDINGS; INJUNCTION; EMERGENCY ORDERS. (a)  If there is good cause [for the commissioner] to believe that [an elevator, an escalator, or related] equipment on real property poses an imminent and significant danger [is dangerous] or that an accident involving [an elevator, an escalator, or related] equipment occurred on the property and serious bodily injury or property damage resulted, a department employee [the commissioner] may enter the property during regular business hours after notice to the owner, operator, or person in charge of the property to inspect the [elevator, escalator, or related] equipment or investigate the danger or accident at no cost to the owner.

(b)  The department employee [commissioner] may enter real property during regular business hours after notice to the owner, operator, or person in charge of the property to verify, at no cost to the owner, whether an inspection report or certificate of compliance has been displayed as required under Section 754.019(a).

(c)  The department [commissioner] may deny, suspend, or revoke the registration of an [any ASME-QEI-1 certified] inspector or contractor and may assess an administrative penalty for:

(1)  obtaining a registration [with the commissioner] by fraud or false representation;

(2)  falsifying a [any inspection] report [submitted to the commissioner]; or

(3)  violating this subchapter or a rule adopted under this subchapter.

(d)  The commissioner is entitled to appropriate injunctive relief to prevent a violation or threatened violation of this subchapter or a rule adopted under this subchapter.

(e)  The commissioner may bring suit in a district court in Travis County or in the county in which the violation or threatened violation occurs.  If requested, the attorney general shall represent the department and its personnel [commissioner] in the suit.

(f)  The commissioner may issue an emergency order as necessary to enforce this subchapter if the commissioner determines that an emergency exists requiring immediate action to protect the public health and safety.

(g)  The commissioner may issue an emergency order with simultaneous notice and without hearing or with the notice and opportunity for hearing practicable under the circumstances.

(h)  If an emergency order is issued under this section without a hearing, the commissioner shall set the time and place for a hearing to affirm, modify, or set aside the emergency order not later than the 10th day after the date the order was issued.

(i)  An emergency order may direct a building owner or manager to disconnect power to or lock out equipment if:

(1)  the department determines imminent and significant danger to passenger safety exists if action is not taken immediately and reasonable effort has been made for voluntary compliance by notification to the building owner or manager of the danger before the issuance of an emergency order; or

(2)  an annual inspection has not been performed in more than two years and:

(A)  the department gives the building owner or manager, or the agent of the building owner or manager, 60 days' written notice by certified mail directing the equipment to be inspected according to this subchapter; and

(B)  after the expiration of the notice period under Paragraph (A), the department gives the building owner or manager, or the agent of the building owner or manager, written notice by certified mail stating that an order to disconnect power or lock out equipment will be made after the seventh day after the date notice is delivered.

(j)  If an emergency order to disconnect power or lock out equipment is issued, the building owner or manager may have the power reconnected or the equipment unlocked only if:

(1)  a registered inspector or contractor or a department representative has filed a written form with the department verifying the imminent and significant danger has been removed by repair, replacement, or other means; and

(2)  the building owner, before the reconnection of power or unlocking of equipment, reimburses the department for all expenses incurred relating to the disconnection of power or lockout.

(k)  The commissioner or the commissioner's designee may allow delayed payment if the building owner or manager commits in writing to pay the department for the expenses required by Subsection (j) not later than the 10th day after the date power is reconnected or equipment is unlocked.

(l)  If an emergency order to disconnect power or lock out equipment is issued and the building owner later notifies the department that the imminent and significant danger no longer exists, the commissioner or the commissioner's designee shall, after the requirements of Subsection (j) are satisfied, promptly issue written permission to reconnect power or unlock the equipment and notify the owner.

Sec. 754.024. CRIMINAL PENALTY. (a)  A person commits an offense if the person receives notice of noncompliance under Section 754.022 and the person has not remedied the noncompliance or entered into a bona fide contract to remedy the noncompliance before the 61st day after the date on which the notice is received.

(b)  An offense under this section is a Class C misdemeanor.

(c)  Each day of an offense under Subsection (a)  constitutes a separate offense.

SECTION 2. This Act takes effect September 1, 2001, except that a contractor is not required to be registered under Section 754.0171, Health and Safety Code, as added by this Act, until January 1, 2002.