By Lewis of Orange

H.B. No. 3219

A BILL TO BE ENTITLED

AN ACT

relating to testing liquefied petroleum gas systems in certain school facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Chapter 113, Natural Resources Code, is amended by adding Subchapter L to read as follows:

SUBCHAPTER L.  TESTING OF LP GAS SYSTEMS

IN SCHOOL FACILITIES

Sec. 113.351.  DEFINITIONS. In this subchapter:

(1)  "School district" means:

(A)  an entity created under the laws of this state and accredited by the Texas Education Agency under Subchapter D, Chapter 39, Education Code; or

(B)  a private school, other than home school, approved by the Texas Education Agency under Section 132.056, Education Code.

(2)  "Supplier" means an individual or company that sells and delivers liquefied petroleum (LP) gas to a school district facility.  If more than one individual or company sells and delivers LP gas to a facility of a school district, each individual or company is a supplier for purposes of this subchapter.

Sec. 113.352.  DUTY TO TEST FOR LEAKAGE.  (a)  Each school district shall perform pressure tests for leakage on the LP gas piping system in each school district facility at least biennially.  The tests must be performed before the beginning of the school year.

(b)  The school district may perform the pressure tests on a two-year cycle under which the tests are performed for the LP gas piping systems of approximately one-half of the facilities each year.

(c)  If a school district operates one or more school district facilities on a year-round calendar, the pressure test in each of those facilities must be conducted and reported not later than July 1 of the year in which the test is performed.

(d)  A test performed under a municipal code satisfies the pressure testing requirements prescribed by this section.

Sec. 113.353.  REQUIREMENTS OF TEST. (a)  The school district shall perform the pressure test to determine whether the LP gas piping system holds at least the amount of pressure specified by the National Fire Protection Association 54, National Fuel Gas Code.

(b)  The pressure test must be conducted in accordance with National Fire Protection Association 54.

(c)  At the request of a school district, the commission shall assist the district in providing for the certification of an employee of the school district or school, as applicable, to conduct the test and in developing a procedure for conducting the test.

Sec. 113.354.  NOTICE OF TEST.  (a)  A school district shall provide written notice to the commission specifying the date and the result of each pressure test or other inspection of the LP gas piping system.

(b)  Before the introduction of any LP gas into the LP gas piping system, the school district shall provide verification to the district's supplier that the piping has been tested in accordance with this subchapter.

(c)  The commission shall maintain a copy of the notice provided under Subsection (a) until at least the first anniversary of the date the commission received the notice.

Sec. 113.355.  TERMINATION OF SERVICE.  A supplier shall terminate service to a school district facility if:

(1)  the supplier receives official notification from the firm or individual conducting the test of a hazardous leakage in the facility LP gas piping system; or

(2)  a test at the facility is not performed as required by this subchapter.

Sec. 113.356.  REPORT TO BOARD OF TRUSTEES. An identified LP gas leakage in a school district facility shall be reported to the board of trustees of the district in which the facility is located.

Sec. 113.357.  ENFORCEMENT. The  commission shall enforce this subchapter.

SECTION 2.  Subchapter L, Chapter 113, Natural Resources Code, as added by this Act, applies beginning with the 2001-2002 school year, and each school district that uses liquefied petroleum gas shall perform pressure tests as required by that subchapter.

SECTION 3.  This Act takes effect immediately if it receives a vote of two-thirds of all the members elected to each house, as provided by Section 39, Article III, Texas Constitution.  If this Act does not receive the vote necessary for immediate effect, this Act takes effect September 1, 2001.