By Naishtat

H.B. No. 3701

Substitute the following for H.B. No. 3701:

By Rangel

C.S.H.B. No. 3701

A BILL TO BE ENTITLED

AN ACT

relating to the requirement that certain off-campus housing for students of institutions of higher education be equipped with a fire protection sprinkler system; providing a penalty.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subtitle C, Title 9, Health and Safety Code, is amended by adding Chapter 796 to read as follows:

CHAPTER 796.  FIRE PROTECTION SPRINKLER SYSTEMS

Sec. 796.001.  DEFINITIONS.  In this chapter:

(1)  "Fire protection sprinkler system" means an assembly of underground or overhead piping or conduits that conveys water with or without other agents to dispersal openings or devices to extinguish, control, or contain fire and to provide protection from exposure to fire or the products of combustion.

(2)  "High-rise building" means a building that extends 75 feet or more from the ground to an access that is located on the highest occupied floor and that is available for fire department use.

Sec. 796.002.  FIRE PROTECTION SPRINKLER SYSTEMS IN CERTAIN BUILDINGS.  A high-rise building used predominantly as off-campus housing for students of an institution of higher education must be equipped with a complete fire protection sprinkler system that is in good working order and is in compliance with the standard required by Section 796.003.

Sec. 796.003.  STANDARD.  (a)  The governing body of the municipality in which  a high-rise building subject to this chapter is located or, if the building is not located in a municipality, the commissioners court of the county in which the building is located shall adopt a standard for the installation of fire protection sprinkler systems in high-rise buildings.

(b)  The standard adopted must be in compliance with the National Fire Protection Association 13, Standard for the Installation of Sprinkler Systems.  Until the governing board of the municipality or county, as appropriate, adopts a standard as required by this section, the standard is the  Standard for the Installation of Sprinkler Systems of the National Fire Protection Association, as that standard existed on May 1, 2001.

Sec. 796.004.  ENFORCEMENT.  (a)  The attorney general, the county attorney of a county in which the building is located, or the district attorney of a district in which the building is located may bring an action in the name of the state for an injunction or other process to enforce this chapter against the owner or person in charge of the building.

(b)  The action must be brought in the district court of the county in which the building is located.

(c)  The action may be prosecuted by the attorney general, the county attorney, or the district attorney on that person's own motion, or at the request of any individual, including the state fire marshal, an inspector of the State Board of Insurance, the chief of a municipal fire department, or a municipal fire marshal.

(d)  A district judge may issue a mandatory injunction or other writ against a person to enforce this chapter.  Disobedience of the injunction constitutes contempt of court and is punishable in the manner provided for contempt.

(e)  The court may hear the case and may grant an injunction after the defendant has received 10 days' notice of the time and place set for the hearing on the injunction.

Sec. 796.005.  CRIMINAL PENALTY.  (a)  A person commits an offense if the person is the owner of a building that does not comply with Section 796.002.

(b)  A person commits an offense if the person serves as an agent in the care, management, supervision, control, or renting of a building for an owner who is not a resident of this state and if the building does not comply with Section 796.002.

(c)  An offense under this section is punishable by a fine of $10,000 or more.  If the defendant is a corporation, each officer or member of the board of directors of the corporation is subject to the fine.

(d)  Each day on which the elements of the offense exist constitutes a separate offense.

SECTION 2.  A building constructed before the effective date of this Act or a building for which a construction contract was made before the effective date of this Act is not required to comply with Chapter 796, Health and Safety Code, as added by this Act, before September 1, 2002.

SECTION 3.  This Act takes effect September 1, 2001.