By:  BrownS.B. No. 948

A BILL TO BE ENTITLED

AN ACT

relating to the testing of liquefied petroleum gas piping systems in school facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Chapter 113, Natural Resources Code, is amended by adding Subchapter L to read as follows:

SUBCHAPTER L.  TESTING OF LP GAS SYSTEMS IN SCHOOL FACILITIES

Sec. 113.321.  DEFINITIONS.  In this subchapter:

(1)  The term "supplier" means an individual or company that sells and delivers LP-gas to a school district facility.  If more than one individual or company sells and delivers LP-gas to a facility of a school district, each individual or company is a supplier for purposes of this subchapter; and

(2)  The term "school district" means:

(A)  an entity created in accordance with the laws of the State of Texas and accredited by the Texas Education Agency pursuant to the Subchapter D, Chapter 39, Education Code;

(B)  non-public schools, not including home schools, accredited by the Texas Education Agency pursuant to Subchapter C, Chapter 132, Education Code; and

(C)  special education schools identified by the Texas Education Agency under Chapter 29, Education Code.

Sec. 113.322.  REQUIREMENT TO PERFORM TEST.  (a)  Each school district shall perform biennial pressure tests on the LP-gas piping system in each school district facility.  The school district shall perform the tests before the beginning of the school year.

(b)  The school district may perform the tests on a two-year cycle under which the district pressure tests the LP-gas piping system in approximately one-half of the facilities each year.

(c)  If a school district operates one or more school district facilities on a year-round calendar, the pressure test in each of those facilities must be conducted and reported not later than July 1 of the year in which the pressure test is performed.

(d)  A test performed under a municipal code satisfies the pressure testing requirements prescribed by this section.

Sec. 113.323  TEST PROCEDURES.  (a)  The person responsible for a school facility shall perform the test for leakage to determine whether the LP-gas system holds at least the amount of pressure specified by the National Fire Protection Association 54, National Fuel Gas code.

(b)  The test for leakage must be conducted in accordance with National Fire Protection Association 54.

(c)  At the request of a school district, the railroad commission shall assist the district in developing a procedure for conducting the test and certification of the employee to conduct the test.

Sec. 113.324.  NOTICE OF TEST.  (a)  A school district shall provide written notice to their Railroad Commission the date and the result of each pressure test or other inspection.

(b)  Prior to the introduction of any LP-gas, the school district shall provide verification to each supplier that the piping has been testing in accordance with this subchapter.

(c)  The Commission shall maintain a copy of the notice until at least the first anniversary of the date on which the supplier received the notice.

Sec. 113.325.  TERMINATION OF SERVICE.  A supplier shall terminate service to a school district facility if:

(1)  the supplier receives official notification from the firm or individual conducting the test of a hazardous LP-gas leakage in the facility piping system; or

(2)  the district fails to perform a test or other inspection at the facility as required by this subchapter.

Sec. 113.325.  REPORT TO BOARD OF TRUSTEES.  An identified LP-gas leakage in a school district facility must be reported to the board of trustees of the district in which the facility is located.

Sec. 113.326.  ENFORCEMENT.  The railroad commission shall enforce this subchapter.

SECTION 2.  (a)  Except as provided by Subsection (b) of this section, Subchapter L, Chapter 113, Natural Resources Code, as added by this Act, applies beginning with the 2001-2002 school year, and each person responsible for a school facility that uses LP-gas shall perform a leak test as required by that subchapter.

(b)  If a school district is not able, before the beginning of the 2001-2002 school year, to perform the leak test or other inspections of LP-gas piping system pressure as required by that article, the district shall perform the tests or other inspections as soon as practicable thereafter.  In that case, a supplier, as defined by Sec. 113.321(1), Natural Resources Code, as added by this Act, may not terminate service to a school district facility if:

(1)  the district gives written notice to the supplier before the beginning of the 2001-2002 school year that the district is not able to perform the tests or other inspections before the beginning of the school year; or

(2)  the Railroad Commission of Texas orders the supplier not to terminate the service.

SECTION 3.  This Act takes effect immediately if it receives a vote of two-thirds of all the members elected to each house, as provided by Section 39, Article III, Texas Constitution.  If this Act does not receive the vote necessary for immediate effect, this Act takes effect September 1, 2001.