By BrownS.B. No. 958

A BILL TO BE ENTITLED

AN ACT

relating to testing natural gas piping in certain school facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  The heading to Subchapter J, Chapter 121, Utilities Code, is amended to read as follows:

SUBCHAPTER J. TESTING OF NATURAL GAS PIPING SYSTEMS IN

SCHOOL [DISTRICT] FACILITIES

SECTION 2.  Subchapter J, Chapter 121, Utilities Code, is amended by adding Section 121.5005 to read as follows:

Sec. 121.5005.  APPLICABILITY. This subchapter applies to a facility of a public elementary or secondary school, including a charter school, or a private elementary or secondary school, but does not apply to a home school.

SECTION 3.  Sections 121.501-121.506, Utilities Code, are amended to read as follows:

Sec. 121.501.  DEFINITION. In this subchapter, "supplier" means an individual or company that sells and delivers natural gas to a school [district] facility.  If more than one individual or company sells and delivers natural gas to a school facility [of a school district], each individual or company is a supplier for purposes of this subchapter.

Sec. 121.502.  DUTY TO PRESSURE TEST. (a)  A person responsible for a school facility [Each school district] shall perform biennial pressure tests on the natural gas piping system in the [each] school [district] facility.  The [school district shall perform the] tests must be performed before the beginning of the school year.

(b)  A person responsible for more than one school facility [The school district] may perform the tests on a two-year cycle under which the person [district] pressure tests the natural gas piping system in approximately one-half of the facilities each year.

(c)  If the person responsible for [a school district operates] one or more school facilities operates the [district] facilities on a year-round calendar, the pressure test in each of those facilities must be conducted and reported not later than July 1 of the year in which the pressure test is performed.

(d)  A natural gas piping pressure test performed under a municipal code satisfies the pressure testing requirements prescribed by this section.

Sec. 121.503.  REQUIREMENTS OF TEST. (a)  The person responsible for a school facility [school district] shall perform the pressure test to determine whether the natural gas piping downstream of the school facility's [district's] meter holds at least normal operating pressure over a specified period determined by the railroad commission.

(b)  During the pressure test, each system supply inlet and outlet in the school facility must be closed.

(c)  At the request of a person responsible for a school facility [school district], the railroad commission shall assist the person [district] in developing a procedure for conducting the test.

Sec. 121.504.  NOTICE OF TEST. (a)  A person responsible for a school facility [school district] shall provide written notice to the school's [district's natural gas] supplier specifying the date and result of each pressure test or other inspection.

(b)  The supplier shall maintain a copy of the notice until at least the first anniversary of the date on which the supplier received the notice.

Sec. 121.505.  TERMINATION OF SERVICE. A supplier shall terminate service to a school [district] facility if:

(1)  the supplier receives official notification from the firm or individual conducting the test of a hazardous natural gas leakage in the facility piping system; or

(2)  [the district fails to perform] a test or other inspection at the facility is not performed as required by this subchapter.

Sec. 121.506.  REPORT OF LEAKAGE [TO BOARD OF TRUSTEES]. An identified natural gas leakage in a school district facility must be reported to the board of trustees of the district in which the facility is located.  An identified natural gas leakage in another school facility must be reported to the person responsible for the school facility.

SECTION 4.  This Act takes effect September 1, 2001.