By WentworthS.B. No. 1599

A BILL TO BE ENTITLED

AN ACT

relating to containment systems required for certain underground storage tanks.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1. Subchapter I, Chapter 26, Water Code, is amended by adding Section 26.3476 to read as follows:

Sec. 26.3476.  SECONDARY CONTAINMENT REQUIRED FOR TANKS LOCATED OVER CERTAIN AQUIFERS. (a)  In this section, "secondary containment" means a method by which a secondary wall or barrier is installed around the primary storage vessel of an underground storage tank system in a manner designed to prevent a release of a regulated substance from migrating beyond the secondary wall or barrier before the release can be detected.  A secondary containment system may include an impervious liner or vault surrounding a primary tank or piping system or a double-wall tank or piping system.

(b)  An underground storage tank system shall incorporate a method for secondary containment if the system is located in:

(1)  the recharge zone of an aquifer; and

(2)  a county that:

(A)  has a population of at least one million; and

(B)  relies on groundwater for at least 75 percent of the county's water supply.

(c)  Section 26.3475(e) applies to an underground storage tank system that is subject to this section as if a violation of this section were a violation of Section 26.3475.

SECTION 2. (a)  This Act takes effect September 1, 2001.

(b)  This Act applies only to an underground storage tank system that is installed, upgraded, or replaced on or after the effective date of this Act.