78S20083 YDB-D

By:  Chavez	H.B. No. 45

A BILL TO BE ENTITLED

AN ACT

relating to sanitation facilities at a temporary place of employment.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Chapter 341, Health and Safety Code, is amended by adding Subchapter H to read as follows:

SUBCHAPTER H.  SANITATION FACILITIES AT A TEMPORARY PLACE OF EMPLOYMENT

Sec. 341.151.  DEFINITIONS.  In this subchapter:

(1)  "Chemical toilet" means a toilet facility in which human excreta are collected in a container charged with a chemical to disinfect and deodorize the contents before disposal.

(2)  "Hand-washing facility" means a plumbing device for washing the hands, arms, face, and head for cleanliness and safety purposes.  The term includes a lavatory, basin, and sink.

(3)  "Nuisance" means:

(A)  any object, place, or condition that constitutes a possible or probable medium for transmission of disease to or between humans; or

(B)  any other object, place, or condition that may be specifically declared to be a nuisance by the board.

(4)  "Number of employees" means the maximum number of employees present at any one time during a regular workday at a temporary place of employment.

(5)  "Putrescible waste" means organic waste that rots or undergoes anaerobic decomposition and becomes foul and malodorous.

(6)  "Sanitary facility" means equipment built or installed to serve as a means of:

(A)  dispensing drinking water;

(B)  washing the hands;

(C)  eliminating human excreta; or

(D)  collecting refuse.

(7)  "Toilet facility" means a plumbing device for the deposit and discharge of human excreta.  The term includes water closets, biological or chemical toilets, and urinals.

(8)  "Toilet room" means an enclosed area containing one or more toilet facilities and offering personal privacy.  A toilet room may be permanent or portable.

Sec. 341.152.  APPLICABILITY.  (a)  This subchapter applies to a temporary place of employment, including a location at which a person is directly or indirectly employed by another person in:

(1)  work of a mobile nature or at a series of locations involving movement from one location to another;

(2)  work of a transitory or seasonal nature performed for less than one year or at a temporary job site;

(3)  work on a railroad maintenance-of-way; or

(4)  work in any agricultural operation or activity performed in the field or outside of any permanent structure or facility.

(b)  This subchapter does not apply to:

(1)  a place of employment or numbers of employees to which specific federal sanitation standards apply, as adopted under the Occupational Safety and Health Act of 1970, 29 U.S.C. Sections 651-678; or

(2)  the operation of railroad rolling stock.

Sec. 341.153.  EMPLOYER DUTIES.  (a)  An employer is responsible for providing and maintaining sanitary facilities at a temporary place of employment in accordance with the minimum standards established under this subchapter for the total number of employees employed during each workday or part of a workday, except as otherwise provided, whether the employment is direct or through an intermediary.

(b)  For labor performed under a contractual arrangement, an employer is primarily responsible and each labor contractor of the employer is jointly responsible for compliance with this subchapter.

(c)  At a temporary place of employment at which employees of more than one employer perform work, each employer is responsible for providing or arranging for the provision of sanitary facilities that meet the minimum standards established under this subchapter for the employer's number of employees.

(d)  An employer may not:

(1)  deduct from an employee's pay or charge a fee for use of required sanitary facilities; or

(2)  charge an employee for transportation provided to or from the sanitary facilities.

(e)  An employer shall:

(1)  inform an employee of the employee's rights and obligations under this subchapter; and

(2)  notify an employee of:

(A)  the location of all sanitary facilities designated for employee use;

(B)  any means of travel to the facilities, if provided; and

(C)  a subsequent change in location or other arrangement.

(f)  An employer that employs not more than six persons performing work at a temporary place of employment on any workday is not required to provide toilet and hand-washing facilities if:

(1)  the employer has provided or arranged for immediate transportation to and from nearby facilities; and

(2)  the facilities meet minimum sanitary standards under this subchapter and are accessible to the employees.

Sec. 341.154.  INSPECTION.  An employer or the employer's designated representative shall inspect a job site and the related sanitary facilities as often as necessary to ensure compliance with this subchapter.

Sec. 341.155.  EMPLOYEE DUTIES.  An employee shall make proper use of the sanitary facilities provided, as reasonable and necessary, to prevent adversely affecting the health of the employee or other persons.

Sec. 341.156.  STANDARDS FOR FOOD SERVICE.  An employer shall ensure that the preparation, storage, and dispensing of food at a temporary place of employment is in accordance with 25 Tex. Admin. Code Sections 229.161-229.171 as administered by the health authority with local jurisdiction.

Sec. 341.157.  STANDARDS FOR EATING OR REST AREA.  (a)  At all temporary places of employment at which employees or others are required or allowed to eat or take rest periods at the job site, an employer shall provide or designate one or more areas suitable for those purposes for the maximum number of persons who may use the areas at one time.

(b)  An employer should, but is not required to, provide a tarpaulin fly or similar covering during eating or rest periods in an outdoor area if insufficient shade is available.

(c)  An employer shall provide an adequate number of covered receptacles for disposal of all waste food.  The receptacles must be:

(1)  emptied at least once daily; and

(2)  kept free of residues.

(d)  An employer shall ensure that food is not:

(1)  stored, prepared, or eaten in an area where a material or substance is present in quantities or concentrations that may contaminate food or be injurious to health; or

(2)  stored or eaten in a toilet room.

Sec. 341.158.  LIGHTING STANDARDS.  An employer shall provide in work areas where artificial lighting is necessary lighting levels that are not less than:

(1)  the levels of illumination described in the IESNA Lighting Handbook (9th ed. 2000), published by the Illuminating Engineering Society of North America; or

(2)  stricter levels established by board rule.

Sec. 341.159.  VENTILATION STANDARDS.  (a)  For an indoor or enclosed space that people may occupy in the course of temporary employment, an employer shall:

(1)  provide proper ventilation by natural or mechanical means; and

(2)  supply fresh outside air of acceptable quality.

(b)  This section establishes the minimum ventilation standard if a local building code does not specify either ventilation rates or amounts.

(c)  A mechanical ventilation system should, but is not required to, include an airflow measurement.

(d)  The ventilation rate for a natural ventilation and infiltration system must be measurable.  An employer shall provide mechanical ventilation if infiltration rates are not sufficient to meet the ventilation air requirements.

(e)  The minimum rate of ventilation may not be less than:

(1)  five cubic feet per minute for each occupant; and

(2)  20 cubic feet per minute for each occupant where smoking, cooking, or open flames are permitted.

(f)  An employer shall ensure that the ventilation provided under Subsection (e) is continuous during all working hours and any other periods of occupancy.

Sec. 341.160.  GENERAL SANITATION STANDARDS.  (a)  An employer shall require:

(1)  a work area to be kept clean to the extent the nature of the work allows; and

(2)  a job site to be kept free from obstructions that may:

(A)  cause or contribute to the injury of an employee;

(B)  cause an unsafe act to be committed; or

(C)  impede sanitation.

(b)  An employer shall maintain a temporary place of employment in a sanitary condition.

Sec. 341.161.  DRINKING WATER STANDARDS.  (a)  An employer shall ensure that employees at a temporary place of employment have an adequate supply of drinking water that is readily accessible to all employees during all working hours and rest periods in sufficient amounts to meet their needs.

(b)  The drinking water must be obtained from a water system complying with rules adopted by the Texas Commission on Environmental Quality for public water systems.

(c)  An employer may supply drinking water in a sealed glass or plastic container obtained from a producer inspected by the Food and Drug Division of the department in accordance with Chapter 431.

(d)  The drinking water must be protected from contamination until the time of consumption.

(e)  An installed sanitary drinking fountain must meet:

(1)  the specifications established by Standard 1010-2002, "Drinking Fountains and Self-Contained, Mechanically-Refrigerated Drinking-Water Coolers," of the Air Conditioning and Refrigeration Institute; or

(2)  stricter specifications established by board rule.

(f)  At a location at which a drinking water supply system that meets the minimum standards is not available, an employer may provide individual, disposable, or portable containers filled with water from a source that is in compliance with the minimum standards under this section.

(g)  An employer shall supply a total capacity of not less than two quarts of drinking water for each of the number of employees present for each workday.

(h)  Except for a location at which drinking water is supplied exclusively by fountain, an employer shall supply:

(1)  disposable single-service drinking cups to all employees at a job site;

(2)  a container for storage of a sufficient number of cups; and

(3)  adjacent to each water dispenser, a receptacle for the disposal of used cups.

(i)  For drinking water cooled by ice, an employer shall ensure the ice does not come in contact with the water unless the ice is:

(1)  manufactured from drinking water; and

(2)  protected from contamination from the point of manufacture until the time of consumption.

Sec. 341.162.  STANDARDS FOR PORTABLE DRINKING WATER CONTAINERS.  (a)  An employer shall ensure that a portable container used to dispense drinking water is:

(1)  clearly marked to identify the contents;

(2)  maintained in a sanitary condition;

(3)  designed to allow the container to be tightly closed; and

(4)  except for individual consumption containers, equipped with a suitable tap.

(b)  A portable container used to dispense drinking water may not be used for any other purpose.

(c)  An employer shall ensure that the drinking water in a portable container does not exceed a temperature of 80 degrees Fahrenheit during the time in which the water is dispensed to employees.

(d)  An employer shall dispense drinking water in a portable container, other than an individual container, through a drinking fountain or a gravity water tap.

Sec. 341.163.  PROHIBITIONS ON DISTRIBUTION OF DRINKING WATER.  An employer may not dispense drinking water using:

(1)  a container such as a barrel, pail, or tank from which water must be poured or dipped; or

(2)  a common drinking cup.

Sec. 341.164.  NONPOTABLE WATER STANDARDS.  (a)  An employer shall:

(1)  clearly identify an outlet for nonpotable water, such as an outlet that dispenses water for industrial, irrigation, or fire-fighting purposes only; and

(2)  inform all persons at the job site that the water is unsafe for drinking, washing, or cooking.

(b)  Nonpotable water may not be supplied or used for any drinking water purpose under any circumstances.

Sec. 341.165.  STANDARDS FOR TOILET FACILITIES AND TOILET ROOMS.  (a)  An employer shall provide, in accordance with this subchapter, toilet facilities in separate toilet rooms for each sex.  The toilet facilities:

(1)  must be readily accessible to all employees during all working hours and rest periods; and

(2)  may be permanent or portable.

(b)  An employer shall provide water-actuated, chemical, or biological toilet facilities.  Other systems, such as combustion toilets, sealed-bag toilets, and vault toilets, may be used only with the specific permission of the health authority with local jurisdiction.

(c)  Except as otherwise provided by this section, an employer shall provide at least one fixed or portable toilet for every 30 employees of each sex as determined on a daily basis at each temporary place of employment.

(d)  An employer that provides chemical toilets shall provide at least one toilet for every 20 employees of each sex unless cleanout service is provided more than once per week.  If toilet facilities are not used by women, urinals may be substituted for up to one-third of the number of toilets required for men.

(e)  If persons in addition to employees will use the toilet facilities, an employer shall provide additional toilets.

(f)  At a job site at which the total number of employees is not more than 15, as determined on a daily basis, an employer may provide for men and women a single toilet in a toilet room that offers complete privacy and can be locked from the inside.

(g)  An employer shall:

(1)  maintain each toilet room and facility in a sanitary condition, free of objectionable toilet odors, during all work hours and rest periods;

(2)  provide an adequate supply of toilet paper in a suitable holder for each toilet;

(3)  provide covered waste receptacles in all toilet rooms used by women; and

(4)  ensure the floors, walls, ceilings, partitions, and doors of each toilet room are constructed of a finish that is easily cleaned.

Sec. 341.166.  SPECIFICATIONS FOR TOILET FACILITY OR TOILET ROOM AT PERMANENT LOCATION.  (a)  An employer shall ensure that each toilet facility at a permanent location:

(1)  is housed in a separate compartment equipped with a door and latch;

(2)  contains between toilets a wall or partition of sufficient height to assure privacy; and

(3)  is installed in a manner to allow easy cleaning of the toilet facility.

(b)  Subsection (a)(3) does not prohibit the use of wall-hung toilet stools or urinals.

(c)  An employer shall ensure that each toilet has a seat made of substantial material with a nonabsorbent finish.

(d)  An employer shall ensure a toilet room at a permanent location that is not ventilated by mechanical means has a screened ventilation opening sufficiently large to allow adequate ventilation.

Sec. 341.167.  SPECIFICATIONS FOR PORTABLE TOILET FACILITY OR ROOM.  (a)  An employer shall:

(1)  ensure that a portable toilet facility is constructed to be readily accessible and to assure privacy; and

(2)  provide steps and handrails as necessary to allow convenient and safe access and use by each person.

(b)  An employer may provide a portable facility that:

(1)  combines the toilet facility with a drinking water, hand-washing, or waste-disposal facility;

(2)  includes recommended first aid and emergency equipment; and

(3)  is capable of being towed or moved from one job site to another.

(c)  A portable facility provided under Subsection (b) must meet the minimum sanitary standards under this subchapter.

(d)  A building housing a portable toilet room may be a mobile trailer or a prefabricated, skid-mounted, or other portable structure.

(e)  An employer shall ensure that:

(1)  in a building containing more than one toilet facility, each toilet facility is housed in a separate compartment with a door and latch; and

(2)  a wall or partition between toilets is of sufficient height to assure privacy.

(f)  An employer is not required to house a urinal in a separate compartment.

(g)  An employer shall ensure that:

(1)  a tank in which waste is stored is vented to the outside of the structure housing the tank; and

(2)  a portable toilet room that is not ventilated by mechanical means contains a screened ventilation opening.

Sec. 341.168.  WASTE COLLECTION AND DISPOSAL STANDARDS.  (a)  An employer shall ensure that a receptacle used for the collection and storage of putrescible waste is:

(1)  sturdily constructed so that it does not leak and may be conveniently and thoroughly cleaned;

(2)  equipped with a tight-fitting cover; and

(3)  maintained in a sanitary condition.

(b)  Disposable plastic bags of suitable size and strength are recommended for use as liners for receptacles that collect and store putrescible waste.

(c)  An employer shall ensure that solid or liquid waste, debris, refuse, and garbage are removed, as necessary to maintain sanitary conditions, from work and rest areas in a manner that avoids creating a nuisance or menace to health.

(d)  An employer shall dispose of all waste, including human excreta, in accordance with this subchapter and other applicable laws covering the disposal of waste.

Sec. 341.169.  HAND-WASHING FACILITY STANDARDS.  (a)  An employer shall provide hand-washing facilities for maintaining personal cleanliness at every temporary place of employment.

(b)  An employer shall ensure that a hand-washing facility is:

(1)  maintained in a sanitary condition;

(2)  convenient for employee use; and

(3)  supplied with running drinking water, which may be supplied by gravity flow.

(c)  An employer shall ensure that at least one hand-washing facility is:

(1)  located in or adjacent to any toilet room, whether portable or at a permanent location, that is provided for employees' use; and

(2)  provided for every two toilet facilities.

(d)  An employer shall ensure each hand-washing facility includes:

(1)  a dispenser containing a cleansing agent; and

(2)  conveniently located individual hand towels and proper receptacles for disposal.

(e)  If a sufficient supply of drinking water for hand-washing cannot be provided at a particular temporary job site, an employer may provide an ample supply of disposable, pre-moistened cleaning towels and emulsifiable skin cleaners.  The disposable cleaning towels may not serve as a permanent substitute for a hand-washing facility.

Sec. 341.170.  SPECIFICATIONS FOR A PORTABLE HAND-WASHING FACILITY.  An employer shall ensure that:

(1)  a portable hand-washing facility is supplied with at least one-half gallon of drinking water for washing purposes for each of the number of employees present for a regular workday;

(2)  the storage tank for the water is kept in a sanitary condition; and

(3)  used wash water is disposed of in a holding tank or seepage pit or by another means that does not create a nuisance or menace to health.

Sec. 341.171.  TRAVEL LIMITATION.  (a)  An employer shall provide sanitary facilities:

(1)  for a travel route that is unimpeded or that does not require a climb, not more than 400 meters from the work site; or

(2)  for a travel route that is impeded or that requires a climb, not more than five minutes' walking time from the work site.

(b)  An employer that cannot comply with Subsection (a) shall:

(1)  provide sanitary facilities that meet the minimum sanitary standards under this subchapter at the nearest possible location; and

(2)  provide or arrange for transportation to and from the facilities during work and rest periods, subject to Subsection (c).

(c)  Travel time to facilities provided under Subsection (b) may not exceed five minutes.

(d)  This section does not apply to an employee who:

(1)  is employed as a mounted rider; or

(2)  operates moving power equipment or vehicles on the job.

SECTION 2.  This Act takes effect December 1, 2004.