By:  Brown of Brazos	H.B. No. 2429

Substitute the following for H.B. No. 2429:

By:  Christian	C.S.H.B. No. 2429

A BILL TO BE ENTITLED

AN ACT

relating to construction standards for certain assisted living facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 247.030(b), Health and Safety Code, is amended to read as follows:

(b)  The board shall adopt minimum standards for an assisted living facility classified under this section, including standards imposing adequate requirements relating to medication supervision.  The board shall modify accessibility and life safety code standards generally applicable to a facility licensed under this chapter as necessary for a facility classified under this section to reflect the level of services provided by the facility.  The modified standards must be specifically defined by the board and must provide for two-story buildings.  Two-story buildings must meet all life safety code requirements in regards to protecting vertical openings, as specified in the 1988 edition of the National Fire Protection Association (NFPA) 101, Section 21-2.3.1.  An existing building that is converted to a large Type B assisted living facility, as classified by the board, must conform to the edition  of the National Fire Protection Association (NFPA) 101 that is designated by the department.

SECTION 2.  An assisted living facility is not required to comply with Section 247.030(b), Health and Safety Code, as amended by this Act, before September 1, 2004.

SECTION 3.  This Act takes effect September 1, 2003.