78R11475 QS-D

By:  Puente	H.B. No. 2661

A BILL TO BE ENTITLED

AN ACT

relating to the use of graywater.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 26.0311, Water Code, is amended to read as follows:

Sec. 26.0311.  STANDARDS FOR CONTROL OF GRAYWATER [GREYWATER].  (a)  In this section, "graywater" ["greywater"] means wastewater from clothes washing machines, showers, bathtubs, handwashing lavatories, and sinks that are not used for disposal of hazardous or toxic ingredients.  The term does not include wastewater:

(1)  that has come in contact with toilet waste;

(2)  from the washing of material, including diapers, soiled with human excreta; or

(3)  from sinks used for food preparation or disposal.

(b)  The commission by rule shall adopt and implement minimum standards for the use of graywater for:

(1)  [greywater in] irrigation and [for] other agricultural purposes;

(2)  [,] domestic use, to the extent consistent with Section 341.039, Health and Safety Code;

(3)  [,] commercial purposes; [,] and

(4)  industrial purposes.

(c)  The standards adopted by the commission under Subsection (b) must [that will] assure that the use of graywater is [greywater will] not [be] a nuisance and does not [or] damage the quality of surface water and groundwater in this state.

SECTION 2.  Section 341.039, Health and Safety Code, is amended to read as follows:

Sec. 341.039.  GRAYWATER STANDARDS.  (a)  The commission [and the Texas State Board of Plumbing Examiners] by rule shall adopt and implement minimum standards for the use and reuse of graywater for:

(1)  [in] irrigation and [for] other agricultural purposes;

(2)  [,] domestic use, to the extent consistent with Subsection (c);

(3)  [,] commercial purposes; [,] and

(4)  industrial purposes.

(b)  The standards adopted by the commission under Subsection (a) must [to] assure that the use of graywater is not a nuisance and does not damage the quality of surface water and groundwater in this state.

(c)  The commission may not require a permit for the domestic use of less than 400 gallons of graywater each day if the graywater:

(1)  originates from a private residence;

(2)  is used by the occupants of that residence for gardening, composting, or landscaping at the residence;

(3)  is collected using a system that overflows into a sewage collection or on-site wastewater treatment and disposal system;

(4)  is stored in tanks that:

(A)  are clearly labeled as nonpotable water;

(B)  restrict access, especially to children; and

(C)  eliminate habitat for mosquitoes and other vectors;

(5)  uses piping clearly identified as a nonpotable water conduit, including identification through the use of purple pipe, purple tape, or similar markings;

(6)  is generated without the formation of ponds or pools of graywater;

(7)  does not create runoff across the property lines or onto any paved surface; and

(8)  is distributed by a surface or subsurface system that does not spray into the air.

(d)  Each builder is encouraged to:

(1)  install plumbing in new housing in a manner that provides the capacity to collect graywater from all allowable sources; and

(2)  design and install a subsurface graywater system around the foundation of new housing in a way that minimizes foundation movement or cracking.

(e) [(b)]  In this section, "graywater" means wastewater from clothes-washing machines, showers, bathtubs, hand-washing lavatories, and sinks that are not used for disposal of hazardous or toxic ingredients.  The term does not include wastewater:

(1)  that has come in contact with toilet waste;

(2)  from the washing of material, including diapers, soiled with human excreta; or

(3)  from sinks used for food preparation or disposal.

SECTION 3.  Section 366.012(a), Health and Safety Code, is amended to read as follows:

(a)  To assure the effective and efficient administration of this chapter, the commission shall:

(1)  adopt rules governing the installation of on-site sewage disposal systems, including rules concerning the:

(A)  review and approval of on-site sewage disposal systems; and

(B)  temporary waiver of a permit for an emergency repair; and

(2)  adopt rules under this chapter that:

(A)  encourage the use of economically feasible alternative techniques and technologies for on-site sewage disposal systems that can be used in soils not suitable for conventional on-site sewage disposal; and

(B)  address the separation of graywater, as defined by Section 341.039, in a residence served by an on-site sewage disposal system.

SECTION 4.  Not later than June 1, 2004, the Texas Commission on Environmental Quality by rule shall:

(1)  adopt and implement minimum standards for the use of graywater under Section 26.0311, Water Code, as amended by this Act; and

(2)  address the separation of graywater in a residence served by an on-site sewage disposal system under Section 366.012(a), Health and Safety Code, as amended by this Act.

SECTION 5.  This Act takes effect September 1, 2003.