78R3790 DLF-F

By:  Carona	S.B. No. 1090

A BILL TO BE ENTITLED

AN ACT

relating to inspection, installation, repair, and maintenance of elevators, escalators, chairlifts, people movers, moving sidewalks, platform lifts, and related equipment; providing an administrative penalty.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subchapter B, Chapter 754, Health and Safety Code, is amended to read as follows:

SUBCHAPTER B.  INSPECTION, [AND] CERTIFICATION, REGISTRATION, AND

LICENSING

Sec. 754.011.  DEFINITIONS.  In this subchapter:

(1)  "Acceptance inspection" means an inspection performed at the completion of the initial installation or alteration of equipment and in accordance with the applicable ASME Code A17.1.

(2)  "Accident" means an event involving equipment that results in death or serious bodily injury to a person.

(3)  "Alteration" means a change in or modernization of existing equipment.  The term does not include maintenance, repair, replacement, or a cosmetic change that does not affect the operational safety of the equipment or diminish the safety of the equipment below the level required by the ASME Code A17.1, ASME Code A17.3, ASME Code A18.1, or ASCE Code 21, as applicable, at the time of alteration.

(4)  "Annual inspection" means an inspection of equipment performed in a 12-month period in accordance with the applicable ASME Code A17.1, ASME Code A17.3, ASME Code A18.1, or ASCE Code 21.  The term includes an acceptance inspection performed within that period.

(5)  "ASCE Code 21" means the American Society of Civil Engineers Code 21 for people movers operated by cables.

(6)  "ASME Code A17.1" means the American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.1.

(7) [(2)]  "ASME Code A17.3" means the 2002 American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.3.

(8)  "ASME Code A18.1" means the American Society of Mechanical Engineers Safety Code for Platform Lifts and Stairway Chairlifts A18.1.

(9) [(3)]  "Board" means the elevator advisory board.

(10) [(4)]  "Commission" means the Texas Commission of Licensing and Regulation.

(11) [(5)]  "Commissioner" means the commissioner of licensing and regulation.

(12)  "Contractor" means a person, other than an elevator mechanic licensed under Section 754.0172, engaged in the installation, repair, or maintenance of equipment.  The term does not include an elevator cab renovator licensed under Section 754.0173 and engaged in activities authorized under that license or a person engaged in cleaning or any other work performed on equipment that does not affect the operational safety of the equipment or diminish the safety of the equipment below the level required by the ASME Code A17.1, ASME Code A17.3, ASME Code A18.1, or ASCE Code 21, as applicable.

(13) [(6)]  "Department" means the Texas Department of Licensing and Regulation.

(14)  "Equipment" means an elevator, escalator, chairlift, platform lift, automated people mover operated by cables, or moving sidewalk, or related equipment.

(15)  "Industrial facility" means a facility to which access is primarily limited to employees of the facility.

(16) [(7)]  "Qualified historic building or facility" means a building or facility that is:

(A)  listed in or eligible for listing in the National Register of Historic Places; or

(B)  designated as a Recorded Texas Historic Landmark or State Archeological Landmark.

(17) [(8)]  "Related equipment" means:

(A)  automatic equipment that is used to move a person in a manner that is similar to that of an elevator, an [or] escalator, a chairlift, a platform lift, an automated people mover operated by cables, or [and includes] a moving sidewalk; and

(B)  hoistways, pits, and machine rooms for equipment.

(18)  "Serious bodily injury" means a major impairment to bodily function or serious dysfunction of any bodily organ or part requiring medical attention.

(19)  "Unit of equipment" means one elevator, escalator, chairlift, platform lift, automated people mover operated by cables, or moving sidewalk, or related equipment.

Sec. 754.0111.  EXEMPTION.  (a)  This subchapter does not apply to [an elevator, escalator, or related] equipment in a private building owned by [for] a labor union, trade association, private club, or charitable organization that has two or fewer floors.

(b)  This subchapter does not apply to an elevator located in a single-family dwelling, except as provided by Section 754.0141.

Sec. 754.012.  ELEVATOR ADVISORY BOARD.  (a)  The elevator advisory board is composed of 13 [nine] members appointed by the governor [commissioner] as follows:

(1)  a representative of the insurance industry or a certified elevator inspector;

(2)  a representative of [elevator, escalator, and related] equipment constructors;

(3)  a representative of owners or managers of a building [buildings] having fewer than six stories and having [an elevator, an escalator, or related] equipment;

(4)  a representative of owners or managers of a building [buildings] having six stories or more and having [an elevator, an escalator, or related] equipment;

(5)  a representative of [independent elevator, escalator, and related] equipment maintenance companies;

(6)  a representative of [elevator, escalator, and related] equipment manufacturers;

(7)  a licensed or registered engineer or architect [representative of professional engineers or architects];

(8)  five [a] public members [member]; and

(9)  a public member with a physical disability.

(b)  Each board member serves [Board members serve] at the will of the governor and, unless removed by the governor, until the member's successor is appointed by the governor [commissioner].

(c)  The governor [commissioner] shall appoint a presiding officer of the board.

(d)  The board shall meet at least twice each calendar year.

(e)  A board member serves without compensation but is entitled to reimbursement for travel as provided for in the General Appropriations Act [and other necessary expenses incurred in performing duties under this subchapter].

Sec. 754.013.  BOARD DUTIES.  To protect public safety and to identify and correct potential hazards, the board shall advise the commissioner on:

(1)  the adoption of appropriate standards for the installation, alteration, operation, and inspection of [elevators, escalators, and related] equipment;

(2)  the status of [elevators, escalators, and related] equipment used by the public in this state; [and]

(3)  sources of information relating to equipment safety;

(4)  public awareness programs related to elevator safety, including programs for sellers and buyers of single-family dwellings with elevators, chairlifts, or platform lifts; and

(5)  any other matter considered relevant by the commissioner.

Sec. 754.014.  STANDARDS ADOPTED BY COMMISSIONER.  (a)  The commissioner shall adopt standards for the installation, maintenance, alteration, operation, and inspection of [elevators, escalators, and related] equipment used by the public in:

(1)  buildings owned or operated by the state, a state-owned institution or agency, or a political subdivision of the state; and

(2)  buildings that contain [an elevator, an escalator, or related] equipment that is open to the general public, including a hotel, motel, apartment house, boardinghouse, church, office building, shopping center, or other commercial establishment.

(b)  Standards adopted by the commissioner may not contain requirements in addition to the requirements in the ASME Code A17.1, [or] ASME Code A17.3, ASME Code A18.1, or ASCE Code 21. The standards must allow alteration of existing equipment if the alteration does not diminish the safety of the equipment below the level required by this subchapter at the time of alteration.

(c)  Standards adopted by the commissioner must require [elevators, escalators, and related] equipment to comply with the installation requirements of the [following, whichever is the least restrictive:

[(1)  the] ASME Code A17.1, ASME Code A18.1, or ASCE Code 21 that was in effect and applicable on the date of installation of the [elevators, escalators, and related] equipment[; or

[(2)  an applicable municipal ordinance governing the installation of elevators, escalators, and related equipment that was in effect on the date of installation].

(d)  Standards adopted by the commissioner must require [elevators, escalators, and related] equipment to comply with the installation requirements of the [1994] ASME Code A17.3 that contains minimum safety standards for all [elevators, escalators, and related] equipment, regardless of the date of installation.

(e)  The [On written request, the] commissioner shall grant a delay for compliance with the applicable ASME Code A17.1, [or the 1994] ASME Code A17.3, or ASME Code A18.1 until a specified time if compliance is not readily achievable, as that phrase is defined in the Americans with Disabilities Act (42 U.S.C. Section 12101 et seq.), or regulations adopted under that Act.  The accumulated total time of all delays may not exceed three years, except as provided by Subsection (f) or as allowed in the discretion of the commissioner.

(f)  The [On written request, the] commissioner shall grant a delay until September 1, 2005, for compliance with the requirements for door restrictors or firefighter's service in the [1994] ASME Code A17.3 if those requirements were not included in the ASME Code A17.1 that was in effect on the date of installation [of the elevator, escalator, or related equipment] and the [that] equipment was not subsequently installed [by an owner of the elevator, escalator, or related equipment].

(g)  The commissioner may grant a waiver of compliance from an applicable code requirement [with the applicable ASME Code A17.1 or the 1994 ASME Code A17.3] if the commissioner finds that:

(1)  the building in which the [elevator, escalator, or related] equipment is located is a qualified historic building or facility or the noncompliance is due to structural components of the building; [and]

(2)  noncompliance will not constitute a significant threat to passenger safety; and

(3)  noncompliance, with adequate alternative safeguards, will not constitute a significant threat to worker safety.

(h)  The commissioner shall grant a waiver of compliance if the noncompliance resulted from compliance with a municipal equipment construction code at the time of the original installation and the noncompliance does not pose imminent and significant danger.  The commissioner may grant a waiver of compliance with the firefighter's service provisions of the ASME Code A17.1 or the [1994] ASME Code A17.3 in an elevator that exclusively serves a vehicle parking garage in a building that:

(1)  is used only for parking;

(2)  is constructed of noncombustible materials; and

(3)  is not greater than 75 feet in height.

(i)  This subchapter does not apply to [an elevator, an escalator, or related] equipment in an industrial facility, or in a grain silo, radio antenna, bridge tower, underground facility, or dam, to which access is limited primarily [principally] to employees of or working in that facility or structure.

(j)  [The commissioner may charge a reasonable fee as set by the commission for an application for waiver or delay.]  One application for a waiver or delay may contain all requests related to a unit of equipment [particular building].  A delay may not be granted indefinitely but must be granted for [to] a specified time not to exceed three years.

(k)  For purposes of this section, the date of installation or alteration of equipment is the date that the owner of the real property entered into a contract for the installation or alteration of the [purchase of the elevators, escalators, or related] equipment. If that date cannot be established, the date of installation or alteration is the date of issuance of the municipal building permit under which the [elevators, escalators, or related] equipment was installed or altered [constructed] or, if a municipal building permit was not issued, the date that electrical consumption began for the construction of the building in which the [elevators, escalators, or related] equipment was installed.

Sec. 745.0141.  STANDARDS FOR EQUIPMENT IN SINGLE-FAMILY DWELLINGS; REQUIRED INFORMATION.  (a)  Elevators, chairlifts, or platform lifts installed in a single-family dwelling on or after January 1, 2004, must comply with the ASME Code A17.1 or A18.1, as applicable, and must be inspected by a QEI-1 certified inspector after the installation is complete.  The inspector shall provide the dwelling owner a copy of the inspection report.

(b)  The commissioner shall, before January 1, 2004, adopt rules containing minimum safety standards that must be used by QEI-1 certified inspectors when inspecting elevators, chairlifts, and platform lifts installed in single-family dwellings.

(c)  A municipality may withhold a certificate of occupancy for a dwelling or for the installation of the elevator or chairlift until the owner provides a copy of the QEI-1 inspection report to the municipality.

(d)  A contractor is not required to report to the department any information concerning equipment in a single-family dwelling or the contractor's work on the equipment.

(e)  On completing installation of equipment in a single-family dwelling, a contractor shall provide the dwelling owner with relevant information, in writing, about use, safety, and maintenance of the equipment, including the advisability of having the equipment periodically and timely inspected by a QEI-1 certified inspector.

(f)  An inspection by a QEI-1 certified inspector of equipment in a single-family dwelling may be performed only at the request and with the consent of the owner. The owner of a single-family dwelling is not subject to Section 754.022, 754.023, or 754.024.

Sec. 754.015.  RULES.  (a)  The commissioner by rule shall provide for:

(1)  an annual [the] inspection and certification of the [once each calendar year of elevators, escalators, and related] equipment covered by standards adopted under this subchapter;

(2)  [the] enforcement of those standards;

(3)  registration [the certification] of qualified [persons as] inspectors and contractors [for the purposes of this subchapter]; [and]

(4)  licensure of elevator mechanics and elevator cab renovators;

(5)  the form of [the] inspection documents, contractor reports, [report] and certificates [certificate] of compliance;

(6)  notification to building owners, architects, and other building industry professionals regarding the necessity of annually inspecting equipment;

(7)  approval of continuing education programs for registered QEI-1 certified inspectors and licensed elevator mechanics; and

(8)  standards of conduct for individuals who are licensed or registered under this subchapter.

(b)  The commissioner by rule may not [require that]:

(1)  require inspections of equipment to [inspection] be made more often than every 12 months, except as provided by Subsection (c) [once per year of elevators, escalators, and related equipment];

(2)  require persons to post a bond or furnish insurance or to have minimum experience or education as a condition of certification, registration, or licensure; [and]

(3)  require inspection reports or certificates of compliance to be placed in locations other than one provided in Section 754.019(a)(4);

(4)  require building owners to submit to the department proposed plans for equipment installation or alteration;

(5)  prohibit a QEI-1 certified inspector who is registered with the department from inspecting equipment; or

(6)  require an inspection report or certificate of compliance to be placed inside or immediately outside an elevator cab or escalator or in the lobby or hallways of a building.

(c)  The commissioner by rule may require a reinspection or recertification of equipment if the equipment has been altered and poses a significant threat to passenger or worker safety or if an annual inspection report indicates an existing violation has continued longer than permitted in a delay granted by the commissioner.

(d)  The commissioner by rule may charge a fee for:

(1)  registering or renewing registration of an inspector, not to exceed $200;

(2)  registering or renewing registration of a contractor, not to exceed $300;

(3)  applying for a certificate of compliance, not to exceed $15 for each unit of equipment;

(4)  filing an inspection report as required by Section 754.019(a)(3), 30 days or more after the date the report is due, not to exceed $3 for each day the report remains not filed after the date the report is due;

(5)  applying for a waiver or delay, not to exceed $100 for each violation;

(6)  applying for a license or license renewal, not to exceed $125;

(7)  applying for a 30-day temporary or emergency license or license renewal, not to exceed $125;

(8)  reinstating an expired license in accordance with this subchapter, not to exceed $250;

(9)  applying for approval of a continuing education program for licensed elevator mechanics or registered QEI-1 inspectors, other than a program sponsored by the department, not to exceed $200;

(10)  attending a continuing education program sponsored by the department for licensed elevator mechanics or registered QEI-1 inspectors, not to exceed $75; and

(11)  applying for approval or certification of a long-term education program, not to exceed $500 [754.019(4)].

Sec. 754.016.  INSPECTION DOCUMENTS [REPORT] AND CERTIFICATE OF COMPLIANCE.  (a)  An inspection report and a certificate of compliance required under this subchapter must cover each unit of [all elevators, escalators, and related] equipment [in a building or structure appurtenant to the building, including a parking facility, that are owned by the same person or persons].  There shall be separate [only one] inspection reports [report] and certificates [one certificate] of compliance for each unit of equipment [building].

(b)  An inspector shall date and sign an inspection report and shall issue the report to the building owner not later than the 10th calendar day after the date of inspection.  [The inspection report shall be on forms designated by the commissioner.]

(c)  The commissioner shall [date and sign a certificate of compliance and shall] issue a [the] certificate of compliance to the building owner if an application is submitted by the building owner with applicable fees and the application reflects that:

(1)  the[. The certificate of compliance shall state that the elevators, escalators, and related] equipment has [have] been inspected by a certified inspector;

(2)  the inspection report shows the equipment is [and found by the inspector to be] in compliance with the requirements of this chapter; and

(3)  to the extent the report shows any noncompliance that does not pose an imminent and significant danger, the building owner:

(A)  acknowledges the noncompliance will be remedied within a reasonable period, not later than six months following the date of the inspection report; or

(B)  has been granted a waiver or delay for compliance by the commissioner[, except for any delays or waivers granted by the commissioner and stated in the certificate].

Sec. 754.017.  CERTIFIED INSPECTORS.  (a)  In order to inspect equipment, an individual must:

(1)  be registered [An inspector must register] with the department;

(2)  attend educational programs approved by the department;

(3)  [and] be certified as a QEI-1 [an ASME-QEI-1] inspector by an organization accredited by the American Society of Mechanical Engineers; and

(4)  pay all applicable fees.  [Any certification charges or fees shall be paid by the inspector.]

(b)  [The commissioner may not by rule prohibit an ASME-QEI-1 certified inspector who is registered with the department from inspecting under this subchapter an elevator, an escalator, or related equipment.]  A person assisting a certified inspector and working under the direct, on-site supervision of the inspector is not required to be [ASME-QEI-1] certified.

(c)  A registration expires on the first anniversary of the date of issuance.

(d)  A certified inspector may not be required to attend more than seven hours of continuing education during each licensing period.  [The commissioner may charge a $15 fee to certified inspectors for registering with the department.]

Sec. 754.0171.  CONTRACTOR REGISTRATION.  (a)  A person may not install, repair, or maintain equipment without registering as a contractor with the department as required by this subchapter.

(b)  A contractor shall submit an application for registration and pay appropriate fees to the department.  The registration application form may require information concerning the background, experience, or identity of the applicant.

(c)  A registration expires on the first anniversary of the date of issuance.

(d)  A person registering as a contractor under this subchapter shall submit to the department an initial report, not later than the 60th day following the application date, containing:

(1)  the street address of each building or location at which the person performed installation, repair, alteration, or maintenance of equipment for the previous two years; and

(2)  the name and mailing address of the building owner.

(e)  After the initial report required by Subsection (d), a contractor registered as required by this subchapter shall submit to the department a quarterly report containing:

(1)  the street address of each building or location at which the contractor performed installation, repair, alteration, or maintenance of equipment not reported in the contractor's initial report to the department under Subsection (d); and

(2)  the name and mailing address of the building owner.

(f)  Installation, repair, alteration, and maintenance standards for contractors must be consistent with ASME Code A17.1, ASME Code A17.3, ASME Code A18.1, and ASCE Code 21.

Sec. 754.0172.  ELEVATOR MECHANIC LICENSE.  (a)  Except as provided by this section, an individual may not install, repair, wire, test, or maintain equipment without obtaining an elevator mechanic license or an emergency or temporary elevator mechanic license.

(b)  An individual who is directly supervised by a licensed elevator mechanic on-site in a building or building complex is not required to be licensed under Subsection (a).  The commissioner may adopt rules listing the work activities an unlicensed individual may perform on equipment without being under the direct supervision of a licensed elevator mechanic.

(c)  The commissioner shall adopt rules providing for the issuance of a 30-day emergency license and a  30-day temporary license.  The commissioner may waive any license examination requirement for an applicant with a valid license from another state that has a reciprocity agreement with this state.  An individual who applies for a temporary or emergency license or a license by reciprocity shall pay an application fee not to exceed $125 to the department.

(d)  An applicant for an elevator mechanic license under Subsection (a) must be at least 18 years old.  The application must be in a form prescribed by the commissioner and must be verified and accompanied by:

(1)  a statement of the applicant's practical experience, as described by Subsection (f);

(2)  the examination fee; and

(3)  information about any felony conviction or deferred adjudication history of the applicant.

(e)  Except as provided by this subsection, the commissioner shall issue an elevator mechanic license to an applicant who possesses the required qualifications, passes the appropriate examination, and pays the applicable license fee.  An applicant who fails an examination is eligible for reexamination on compliance with Subsection (d).

(f)  The practical experience must be in the area of installation and repair of equipment.

(g)  Unless the license has been suspended or revoked, the commissioner shall annually renew an elevator mechanic license on receipt of the applicable fee, the application for renewal, and proof of completion of continuing education requirements.  The commissioner shall adopt rules providing for reinstatement of a license on payment of the applicable fee if application for renewal is made not later than the 30th day after the date the license expires.

(h)  The department may recognize and certify continuing education programs and long-term training programs for elevator mechanics.  A program provider shall pay the applicable fee to the department when applying for department approval of a program.

(i)  The examination must primarily be on the subjects described by Subsection (f).  Not later than the 30th day after the date an examination is administered, the commissioner shall notify each examinee of the results of the examination.  If an examination is graded or reviewed by a national testing service, the commissioner shall notify examinees of the results of the examination not later than the 14th day after the date the commissioner receives the results from the testing service.  If the notice of an examination result is delayed for longer than 90 days after the examination date, the commissioner shall notify the examinee of the reason for the delay before the 90th day.

(j)  The commissioner shall prepare and administer examinations and continuing education programs for licenses or certify other persons to perform those functions.  An elevator mechanic licensed under this subchapter must attend seven hours of required continuing education during each licensing period.

Sec. 754.0173.  ELEVATOR CAB RENOVATOR LICENSE.  (a)  Except as provided by this section, an individual may not enter an elevator hoistway to make an evaluation in connection with renovation of an elevator cab or to renovate the interior of the cab without obtaining an elevator cab renovator license.

(b)  A licensed elevator mechanic or an individual who is directly supervised by a person holding an elevator cab renovator license is not required to be licensed under Subsection (a).

(c)  The commissioner may waive any license examination requirement for an applicant with a valid license comparable to an elevator mechanic license or elevator cab renovator license from another state that has a reciprocity agreement with this state.

(d)  An applicant for an elevator cab renovator license under Subsection (a) must be at least 18 years old. The application must be in a form prescribed by the commissioner and must be verified and accompanied by:

(1)  a statement of the applicant's practical experience, as described by Subsection (f);

(2)  the examination fee; and

(3)  information about any felony conviction or deferred adjudication history of the applicant.

(e)  Except as provided by this subsection, the commissioner shall issue an elevator cab renovator license to an applicant who possesses the required qualifications, passes the appropriate examination, and pays the applicable license fee.  An applicant who fails an examination is eligible for reexamination on compliance with Subsection (d).

(f)  The practical experience must be in the safety aspects of lighting, glass, mirrors, fire retardant materials, weight factors, cab finish-out installation, and performance of any aspect of elevator cab renovation that involves stopping or securing an elevator or entering the hoistway of an elevator for cab renovation purposes.

(g)  Unless the license has been suspended or revoked, the commissioner shall annually renew an elevator cab renovator license on receipt of the applicable fee and the application for renewal.  The commissioner shall adopt rules providing for reinstatement of a license on payment of the applicable fee if application for renewal is made not later than the 30th day after the date the license expires.

(h)  The examination must primarily be on the subjects described by Subsection (f).  Not later than the 30th day after the date an examination is administered, the commissioner shall notify each examinee of the results of the examination.  If an examination is graded or reviewed by a national testing service, the commissioner shall notify examinees of the results of the examination not later than the 14th day after the date the commissioner receives the results from the testing service.  If the notice of an examination result is delayed for longer than 90 days after the examination date, the commissioner shall notify the examinee of the reason for the delay before the 90th day and shall issue a temporary license, which shall be valid until the examination result is received.

(i)  The commissioner shall prepare and administer examinations for licenses or certify other persons to perform those functions.

Sec. 754.0174.  INSPECTION FEE.  [(a)  A person inspecting an elevator, an escalator, or related equipment under this subchapter may not charge more than $65 per elevator cab or per escalator for each inspection.

[(b)]  The amount charged for an inspection or the performance of an inspection of equipment under this subchapter may not be contingent on the existence of a maintenance contract between the person performing the inspection and any other person.

Sec. 754.018.  POWERS OF MUNICIPALITIES.  Subject to Section 754.014(h), if [If] a municipality operates a program for the installation, maintenance, alteration, inspection, or [and] certification of [elevators, escalators, and related] equipment, this subchapter shall not apply to the [elevators, escalators, and related] equipment in that municipality, provided that the standards of installation, maintenance, alteration, inspection, and certification are at least equivalent to [no less stringent than] those contained in this subchapter.

Sec. 754.019.  DUTIES OF REAL PROPERTY OWNERS.  (a)  The owner of real property on which [an elevator, an escalator, or related] equipment covered by this subchapter is located shall:

(1)  have the [elevator, escalator, or related] equipment inspected annually by a [an ASME-QEI-1] certified inspector [in accordance with the commissioner's rules];

(2)  obtain an inspection report from the inspector evidencing that all [elevators, escalators, and related] equipment in a building on the real property was [were] inspected in accordance with this subchapter and rules adopted under this subchapter;

(3)  file with the department the [commissioner a copy of each] inspection report for each unit of equipment, and all applicable fees, [and a $20 filing fee for each report, plus $5 for each elevator, escalator, or related equipment] not later than the 60th day after the date on which an inspection is made under this subchapter;

(4)  display the certificate of compliance or a copy of the certificate:

(A)  in each [the] elevator mechanical room if the certificate relates to an elevator;

(B)  in each [the] escalator box if the certificate relates to an escalator; or

(C)  in a place designated by rule if related to equipment other than an elevator or escalator [the commissioner if the certificate relates to related equipment]; and

(5)  display the inspection report at the locations designated in Subdivision (4) until a certificate of compliance is issued [by the commissioner].

(b)  When an inspection report is filed [with the commissioner], the owner shall submit to the department, as applicable [commissioner]:

(1)  verification that any deficiencies in the inspector's report have been remedied or that a bona fide contract to remedy the deficiencies has been entered into; or

(2)  any application for delay or waiver of an applicable standard.

(c)  [An inspection must be made not later than 18 months after the previous calendar year's inspection.  This subsection does not affect the requirement that elevators, escalators, or related equipment be inspected at least once each calendar year.

[(d)]  For the purpose of determining timely filing under Subsection (a)(3) and Section 754.016(b), an inspection report and filing fees [fee] are considered filed on the earlier of:

(1)  the date of personal delivery;

(2)  the date of postmark [mailing] by United States mail if properly addressed to the department; or

(3)  the date of deposit with a commercial courier service, if properly addressed to the department [commissioner].

(d)  [(e)  If the inspection report and fee required by Subsection (a)(3) are not timely filed, the commissioner may charge the owner of the real property on which the elevator, escalator, or related equipment is located an additional $100 fee for late filing.

[(f)  The commissioner may not require that an inspection report or certificate of compliance be placed inside or immediately outside an elevator cab or escalator or in the lobby or hallways of a building.

[(g)]  A fee may not be charged or collected for a certificate of compliance for an institution of higher education as defined in Section 61.003, Education Code.

(e)  An owner shall report to the department each accident involving equipment not later than 72 hours following the accident.

Sec. 754.020.  CHIEF ELEVATOR INSPECTOR [DEPOSIT OF FEES].  The commissioner may appoint a chief elevator inspector to administer the equipment inspection and registration program.  The chief elevator inspector:

(1)  may not have a financial or commercial interest in the manufacture, maintenance, repair, inspection, installation, or sale of equipment; and

(2)  must possess a QEI-1 certification or obtain the certification within six months after becoming chief inspector. [Fees collected under this subchapter shall be deposited to the credit of an account in the general revenue fund that may be used by the commissioner only to administer and enforce this subchapter and to reimburse expenses of board members provided by this subchapter.]

Sec. 754.021.  LIST OF REGISTERED INSPECTORS AND CONTRACTORS AND LICENSED ELEVATOR MECHANICS AND ELEVATOR CAB RENOVATORS [; PERSONNEL].  The commissioner shall [may]:

(1)  compile a list of [ASME-QEI-1] certified inspectors and contractors who are registered with the department and elevator mechanics and elevator cab renovators who are licensed by the department [to perform an inspection under this subchapter]; and

(2)  employ personnel who are [as] necessary to enforce this subchapter.

Sec. 754.022.  NOTICE OF NONCOMPLIANCE.  If the department [commissioner] learns of a situation of noncompliance under Section 754.019, the department [commissioner] shall send notice by certified mail of the noncompliance and the actions required to remedy the noncompliance to the record owner of the real property on which the equipment that is the subject of the noncompliance is located.

Sec. 754.023.  INVESTIGATION; REGISTRATION AND LICENSE PROCEEDINGS; INJUNCTION; EMERGENCY ORDERS.  (a)  If there is good cause [for the commissioner] to believe that [an elevator, an escalator, or related] equipment on real property poses an imminent and significant danger [is dangerous] or that an accident involving [an elevator, an escalator, or related] equipment occurred on the property and serious bodily injury or property damage resulted, a department employee [the commissioner] may enter the property during regular business hours after notice to the owner, operator, or person in charge of the property to inspect the [elevator, escalator, or related] equipment or investigate the danger or accident at no cost to the owner.

(b)  The department employee [commissioner] may enter real property during regular business hours after notice to the owner, operator, or person in charge of the property to verify, at no cost to the owner, whether an inspection report or certificate of compliance has been displayed as required under Section 754.019(a).

(c)  The commissioner may deny, suspend, or revoke a license or [the] registration under this subchapter and may assess an administrative penalty [of any ASME-QEI-1 certified inspector] for:

(1)  obtaining a license or registration [with the commissioner] by fraud or false representation;

(2)  falsifying a [any inspection] report [submitted to the commissioner]; or

(3)  violating this subchapter or a rule adopted under this subchapter.

(d)  Proceedings for the denial, suspension, or revocation of a license or registration and appeals from those proceedings are governed by Chapter 2001, Government Code (the Administrative Procedure Act).

(e)  The commissioner is entitled to appropriate injunctive relief to prevent a violation or threatened violation of this subchapter or a rule adopted under this subchapter.

(f) [(e)]  The commissioner may bring suit in a district court in Travis County or in the county in which the violation or threatened violation occurs.  If requested, the attorney general shall represent the department and its personnel [commissioner] in the suit.

(g)  The commissioner may issue an emergency order as necessary to enforce this subchapter if the commissioner determines that an emergency exists requiring immediate action to protect the public health and safety.

(h)  The commissioner may issue an emergency order with simultaneous notice and without hearing or with the notice and opportunity for hearing practicable under the circumstances.

(i)  If an emergency order is issued under this section without a hearing, the commissioner shall set the time and place for a hearing to affirm, modify, or set aside the emergency order not later than the 10th day after the date the order was issued.

(j)  An emergency order may direct a building owner or manager to disconnect power to or lock out equipment if:

(1)  the department determines imminent and significant danger to passenger safety exists if action is not taken immediately and reasonable effort has been made for voluntary compliance by notification to the building owner or manager of the danger before the issuance of an emergency order; or

(2)  an annual inspection has not been performed in more than two years and:

(A)  the department gives the building owner or manager, or the agent of the building owner or manager, 60 days' written notice by certified mail directing the equipment to be inspected according to this subchapter; and

(B)  after the expiration of the notice period under Paragraph (A), the department gives the building owner or manager, or the agent of the building owner or manager, written notice by certified mail stating that an order to disconnect power or lock out equipment will be made after the seventh day after the date notice is delivered.

(k)  If an emergency order to disconnect power or lock out equipment is issued, the building owner or manager may have the power reconnected or the equipment unlocked only if:

(1)  a registered inspector or contractor or a department representative has filed a written form with the department verifying the imminent and significant danger has been removed by repair, replacement, or other means; and

(2)  the building owner, before the reconnection of power or unlocking of equipment, reimburses the department for all expenses incurred relating to the disconnection of power or lockout.

(l)  The commissioner or the commissioner's designee may allow delayed payment if the building owner or manager commits in writing to pay the department for the expenses required by Subsection (k) not later than the 10th day after the date power is reconnected or equipment is unlocked.

(m)  If an emergency order to disconnect power or lock out equipment is issued and the building owner later notifies the department that the imminent and significant danger no longer exists, the commissioner or the commissioner's designee shall, after the requirements of Subsection (k) are satisfied, promptly issue written permission to reconnect power or unlock the equipment and notify the owner.

Sec. 754.024. CRIMINAL PENALTY.  (a)  A person commits an offense if the person receives notice of noncompliance under Section 754.022 and the person has not remedied the noncompliance or entered into a bona fide contract to remedy the noncompliance before the 61st day after the date on which the notice is received.

(b)  An offense under this section is a Class C misdemeanor.

(c)  Each day of an offense under Subsection (a)  constitutes a separate offense.

Sec. 754.025.  APPLICATION OF CERTAIN LAW.  Chapter 53, Occupations Code, applies to a license or registration under this subchapter.

SECTION 2.  (a)  This Act takes effect September 1, 2003, except that:

(1)  a contractor is not required to be registered under Section 754.0171, Health and Safety Code, as amended by this Act, before January 1, 2004;

(2)  an individual is not required to be licensed under Section 754.0172, Health and Safety Code, as added by this Act, before January 1, 2004; and

(3)  an escalator constructed before September 1, 2003, is not required to comply with step/skirt index requirements imposed under the 2002 American Society of Mechanical Engineers Safety Code for Elevators and Escalators A17.3 before September 1, 2009.

(b)  An applicant for an elevator mechanic license under Section 754.0172, Health and Safety Code,  as added by this Act, or an elevator cab renovator license under Section 754.0173, Health and Safety Code, as added by this Act, who has 36 months of practical experience at the time of application and who applies for the license not later than December 31, 2003, is not required to take the required examination.  The practical experience must be in the areas described by Section 754.0172 or Section 754.0173, as applicable.

(c)  A member of the elevator advisory board serving on the effective date of this Act continues to serve until removed by the governor or until the member's successor is appointed by the governor.