78R8405 JTS-D

By:  Wentworth	S.B. No. 1633

A BILL TO BE ENTITLED

AN ACT

relating to the installation and use of a water softener or reverse osmosis system by an owner of an on-site sewage disposal system.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subchapter B, Chapter 366, Health and Safety Code, is amended by adding Section 366.013 to read as follows:

Sec. 366.013.  INSTALLATION AND USE OF WATER SOFTENERS AND REVERSE OSMOSIS SYSTEMS.  (a)  An owner may install and use a household water softener that discharges effluent into an on-site sewage disposal system only if the installed water softener:

(1)  regenerates through a demand-initiated regeneration control device;

(2)  regenerates not more than 2.5 times each week; and

(3)  produces 250 gallons of effluent or less each week.

(b)  An owner may install and use a household water softener that does not meet the requirements under Subsection (a) if the calculated volume of effluent:

(1)  does not cause hydraulic overloading; or

(2)  has been adequately addressed in the design of the on-site sewage disposal system.

(c)  An owner may install and use a point-of-use reverse osmosis system that discharges effluent into an on-site sewage disposal system.

(d)  An owner may install and use a whole-house reverse osmosis system that discharges effluent into an on-site sewage disposal system if the calculated volume of effluent:

(1)  does not cause hydraulic overloading; or

(2)  has been adequately addressed in the design of the on-site sewage disposal system.

SECTION 2.  This Act takes effect September 1, 2003.