79R298 KCR-D

By:  Eissler	H.B. No. 30

A BILL TO BE ENTITLED

AN ACT

relating to carbon monoxide detectors in certain residential dwellings; providing civil penalties.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subtitle A, Title 9, Health and Safety Code, is amended by adding Chapter 766 to read as follows:

CHAPTER 766.  CARBON MONOXIDE DETECTORS IN CERTAIN RESIDENTIAL DWELLINGS

Sec. 766.001.  DEFINITIONS.  In this chapter:

(1)  "Carbon monoxide detector" means a device that:

(A)  detects and sounds an alarm to indicate the presence of a harmful level of carbon monoxide gas; and

(B)  complies with Underwriters Laboratories, Inc., Standard 2034.

(2)  "Commission" means the Health and Human Services Commission.

(3)  "Dwelling" means a house, manufactured home, condominium unit, duplex unit, apartment unit, or other structure or portion of a structure that is constructed as a residence for an individual.

Sec. 766.002.  CARBON MONOXIDE DETECTORS REQUIRED.  (a) Each dwelling the construction of which commences on or after January 1, 2006, must be equipped with carbon monoxide detectors in accordance with commission rules.

(b)  Each dwelling that is not described by Subsection (a) must be equipped with carbon monoxide detectors in accordance with commission rules before the owner of the dwelling may sell or otherwise transfer ownership of the dwelling to another person.

Sec. 766.003.  RULES.  (a)  The commission shall adopt rules requiring:

(1)  each dwelling the construction of which commences on or after January 1, 2006, to be equipped with carbon monoxide detectors; and

(2)  each dwelling the ownership of which is sold or transferred on or after January 1, 2006, to be equipped with carbon monoxide detectors.

(b)  The rules adopted under Subsection (a) must prescribe requirements relating to the placement, installation, maintenance, and number of carbon monoxide detectors required in a dwelling.

Sec. 766.004.  POLITICAL SUBDIVISION COMPLIANCE.  A political subdivision of this state:

(1)  shall require all dwellings in the political subdivision to be equipped with carbon monoxide detectors in a manner that complies with the rules adopted under Section 766.003; and

(2)  may require all dwellings in the political subdivision to be equipped with carbon monoxide detectors in a manner that is more stringent than a manner that complies with the rules adopted under Section 766.003.

SECTION 2.  Chapter 92, Property Code, is amended by adding Subchapter J to read as follows:

SUBCHAPTER J.  CARBON MONOXIDE DETECTORS

Sec. 92.401.  DEFINITIONS.  In this subchapter:

(1)  "Carbon monoxide detector" means a device that:

(A)  detects and sounds an alarm to indicate the presence of a harmful level of carbon monoxide gas; and

(B)  complies with Underwriters Laboratories, Inc., Standard 2034.

(2)  "Dwelling unit" means a home, mobile home, duplex unit, apartment unit, condominium unit, or any dwelling unit in a multiunit residential structure.  It also means a "dwelling" as defined by Section 92.001.

Sec. 92.402.  APPLICATION OF OTHER LAW; MUNICIPAL REGULATION.  (a)  The duties of a landlord and the remedies of a tenant under this subchapter are in lieu of common law, other statutory law, including Chapter 766, Health and Safety Code, and local ordinances regarding a residential landlord's duty to install, inspect, or repair a carbon monoxide detector in a dwelling unit.

(b)  Notwithstanding Subsection (a), this subchapter does not:

(1)  affect a local ordinance adopted before September 1, 2005, that requires landlords to install carbon monoxide detectors in new or remodeled dwelling units before September 1, 2005, if the ordinance conforms with or is amended to conform with this subchapter;

(2)  limit or prevent adoption or enforcement of a local ordinance relating to fire safety as a part of a building, fire, or housing code, including any requirements relating to the installation of carbon monoxide detectors or the type of carbon monoxide detectors;

(3)  otherwise limit or prevent the adoption of a local ordinance that conforms with this subchapter but that contains additional enforcement provisions, except as provided by Subsection (c); or

(4)  affect a local ordinance that requires regular inspections by local officials of carbon monoxide detectors in dwelling units and that requires carbon monoxide detectors to be operational at the time of inspection.

(c)  If a carbon monoxide detector powered by battery has been installed in a dwelling unit the construction of which commences on or before September 1, 2009, in compliance with this subchapter and local ordinances, a local ordinance may not require that a carbon monoxide detector powered by alternating current be installed in the unit unless:

(1)  the interior of the unit is repaired, remodeled, or rebuilt at a projected cost of more than $2,500 and the repair, remodeling, or rebuilding requires a municipal building permit;

(2)  an addition to the unit is made at a projected cost of more than $2,500;

(3)  a carbon monoxide detector powered by alternating current was installed in the unit at any time before September 1, 2009; or

(4)  a carbon monoxide detector powered by alternating current was required by city ordinance at the time of initial construction of the unit.

Sec. 92.403.  EXEMPTIONS.  This subchapter does not apply to:

(1)  a dwelling unit that is occupied by its owner and no part of which is leased to a tenant;

(2)  a dwelling unit in a building five or more stories in height in which carbon monoxide detectors are required or regulated by local ordinance; or

(3)  a nursing or convalescent home licensed by the Department of Aging and Disability Services and certified to meet the Life Safety Code under federal law and regulations.

Sec. 92.404.  INSTALLATION AND LOCATION IN DWELLING UNITS CONSTRUCTED ON OR AFTER JANUARY 1, 2006.  (a)  In this section, "bedroom" means a room designed with the intent that it be used for sleeping purposes.

(b)  Before the first tenant takes possession of a dwelling unit the construction of which commences on or after January 1, 2006, the landlord shall install at least one carbon monoxide detector in accordance with Section 92.406 so that the carbon monoxide detector is located outside, but in the vicinity of, each separate bedroom in the dwelling unit, except:

(1)  if the dwelling unit is designed to use a single room for dining, living, and sleeping, the carbon monoxide detector must be located inside the room;

(2)  if the bedrooms are served by the same corridor, at least one carbon monoxide detector must be installed in the corridor in the immediate vicinity of the bedrooms; and

(3)  if at least one bedroom is located on a level above the living and cooking area, the carbon monoxide detector for the bedrooms must be placed in the center of the ceiling directly above the top of the stairway.

Sec. 92.405.  INSTALLATION IN DWELLING UNITS CONSTRUCTED BEFORE JANUARY 1, 2006.  (a)  If construction of a dwelling unit commences before January 1, 2006, the landlord, on or before September 1, 2006, shall install at least one carbon monoxide detector in the unit in accordance with Sections 92.404 and 92.406.

(b)  Before September 1, 2006, a tenant may install a battery-operated carbon monoxide detector in the tenant's dwelling unit without the landlord's prior consent if the installation is made in accordance with Sections 92.404 and 92.406.  On termination of the tenant's lease, including after a renewal or extension, the tenant may remove the carbon monoxide detector.  The tenant is liable to the landlord for any unnecessary damages to the dwelling unit caused by the removal.

Sec. 92.406.  INSTALLATION PROCEDURE.  (a)  Subject to Subsections (b) and (c), a carbon monoxide detector must be installed in accordance with the manufacturer's recommended procedures.

(b)  A carbon monoxide detector must be installed on a ceiling or wall but may not be installed within 15 feet of a heating or cooking appliance.  If on a ceiling, the detector must be not closer than six inches to a wall.  If on a wall, the detector must be not closer than six inches and not farther than 12 inches from the ceiling.

(c)  A carbon monoxide detector may be located other than as required by Subsection (b) if a local ordinance or a local or state fire marshal requires or approves the location of the detector.

Sec. 92.407.  LANDLORD'S DUTY TO INSPECT AND REPAIR.  (a)  A landlord shall inspect and repair a carbon monoxide detector according to this section.

(b)  The landlord shall determine that a carbon monoxide detector is in good working order at the beginning of the tenant's possession by testing the carbon monoxide detector following test procedures recommended by the manufacturer of the particular model.

(c)  During the term of a lease or during a renewal or extension, the landlord has a duty to inspect and repair a carbon monoxide detector only if the tenant:

(1)  gives the landlord notice of a malfunction; or

(2)  requests the landlord to inspect or repair the carbon monoxide detector.

(d)  The duty to inspect and repair does not exist with respect to damage or a malfunction caused by the tenant, the tenant's family, or the tenant's guests or invitees during the term of the lease or a renewal or extension, except that the landlord has a duty to repair or replace a carbon monoxide detector if the tenant pays in advance the reasonable repair or replacement cost, including labor, materials, taxes, and overhead.

(e)  The landlord shall comply with the tenant's request for inspection or repair within a reasonable time, considering the availability of material, labor, and utilities.

(f)  The landlord has met the duty to inspect and repair if the carbon monoxide detector is in good working order after the landlord tests the carbon monoxide detector by following the test procedures recommended by the manufacturer of the particular model.

(g)  The landlord does not have a duty to provide batteries for a battery-operated carbon monoxide detector after a tenant takes possession if the carbon monoxide detector was in good working order at the time the tenant took possession.  A carbon monoxide detector that is in good working order at the beginning of a tenant's possession is presumed to be in good working order until the tenant requests repair of the carbon monoxide detector as provided by this subchapter.

Sec. 92.408.  LANDLORD'S FAILURE TO INSTALL, INSPECT, OR REPAIR.  (a)  Subject to Section 92.410, a landlord is liable as provided by Section 92.409 if:

(1)  the landlord does not install a carbon monoxide detector at the time of initial occupancy by the tenant as required by Section 92.404 or a municipal ordinance permitted by this subchapter; or

(2)  the landlord does not install, inspect, or repair the carbon monoxide detector on or before the seventh day after the date the tenant gives the landlord written notice requesting the landlord to install, inspect, or repair a carbon monoxide detector in accordance with this subchapter.

(b)  If the tenant gives notice under Subsection (a)(2) and the tenant's lease is in writing, the lease may require the tenant to make the initial request for installation, inspection, or repair in writing.

Sec. 92.409.  TENANT REMEDIES.  A tenant of a landlord who is liable under Section 92.408 may obtain or exercise one or more of the following remedies:

(1)  a court order directing the landlord to comply with the tenant's request if the tenant is in possession of the dwelling unit;

(2)  a judgment against the landlord for damages suffered by the tenant because of the landlord's violation;

(3)  a judgment against the landlord for a civil penalty of one month's rent plus $100 if the landlord violates Section 92.408(a)(2);

(4)  a judgment against the landlord for court costs;

(5)  a judgment against the landlord for attorney's fees in an action under Subdivision (1), (2), or (3); and

(6)  unilateral termination of the lease without a court proceeding if the landlord violates Section 92.408(a)(2).

Sec. 92.410.  LANDLORD'S DEFENSES.  A landlord is not liable as provided by Section 92.409 if:

(1)  on the date the tenant gives the notice required by Section 92.408 the tenant has not paid all rent due from the tenant; or

(2)  on the date the tenant terminates the lease or files suit the tenant has not fully paid costs requested by the landlord and authorized by Section 92.407.

Sec. 92.411.  TENANT'S DISABLING OF CARBON MONOXIDE DETECTOR; LANDLORD REMEDIES.  (a)  A tenant is liable as provided by this section if the tenant:

(1)  removes a battery from a carbon monoxide detector without immediately replacing it with a working battery; or

(2)  knowingly disconnects or intentionally damages a carbon monoxide detector, causing the detector to malfunction.

(b)  Except as provided by Subsection (c), a landlord of a tenant who is liable under Subsection (a) may obtain a judgment against the tenant for damages incurred by the landlord because of the tenant's conduct described by Subsection (a).

(c)  A tenant is not liable for damages incurred by the landlord if the damage is caused by the landlord's failure to repair the carbon monoxide detector within a reasonable time after the tenant requests that it be repaired, considering the availability of material, labor, and utilities.

(d)  A landlord of a tenant who is liable under Subsection (a) may obtain or exercise one or more of the remedies in Subsection (f) if:

(1)  a lease between the landlord and tenant contains a notice, in underlined or boldface type, that states in substance that the tenant must not disconnect or intentionally damage a carbon monoxide detector or remove the battery without immediately replacing it with a working battery and that the tenant may be subject to damages, civil penalties, and attorney's fees under Section 92.411 of the Property Code for not complying with the notice; and

(2)  the landlord has given notice to the tenant that the landlord intends to exercise the landlord's remedies under this subchapter if the tenant does not reconnect, repair, or replace the carbon monoxide detector or replace the removed battery within seven days after being notified by the landlord to do so.

(e)  The notice in Subsection (d)(2) must be in a separate document furnished to the tenant after the landlord has discovered that the tenant has disconnected or damaged the carbon monoxide detector or removed a battery from it.

(f)  If a tenant is liable under Subsection (a) and the tenant does not comply with the landlord's notice under Subsections (d) and (e), the landlord is entitled to the following remedies against the tenant:

(1)  a court order directing the tenant to comply with the landlord's notice;

(2)  a judgment against the tenant for a civil penalty of one month's rent plus $100;

(3)  a judgment against the tenant for court costs; and

(4)  a judgment against the tenant for reasonable attorney's fees.

Sec. 92.412.  GUEST OR INVITEE REMEDIES.  (a)  A tenant's guest or invitee who incurs damage because of a landlord's failure to install, inspect, or repair a carbon monoxide detector as required by this subchapter may recover a judgment against the landlord for the damage.

(b)  A tenant's guest or invitee who incurs damage because the tenant removed a battery without immediately replacing it with a working battery or because the tenant knowingly disconnected or intentionally damaged the carbon monoxide detector, causing it to malfunction, may recover a judgment against the tenant for the damage.

Sec. 92.413.  AGENT FOR DELIVERY OF NOTICE.  A managing or leasing agent, whether residing or maintaining an office on-site or off-site, is the agent of the landlord for purposes of notice and other communications required or permitted by this subchapter.

SECTION 3.  The Health and Human Services Commission shall adopt rules under Section 766.003, Health and Safety Code, as added by this Act, not later than December 1, 2005.

SECTION 4.  Subchapter J, Chapter 92, Property Code, as added by this Act, applies only to a cause of action that accrues on or after the effective date of this Act.  A cause of action that accrues before the effective date of this Act is governed by the law governing the cause of action immediately before the effective date of this Act, and that law is continued in effect for that purpose.

SECTION 5.  This Act takes effect September 1, 2005.