By:  Puente	H.B. No. 2914

A BILL TO BE ENTITLED

AN ACT

relating to requirements and permits for irrigation systems.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Chapter 401, Local Government Code, is amended by adding Section 401.005 to read as follows:

Sec. 401.005.  IRRIGATION SYSTEMS.  (a)  To protect the public health, safety, and welfare, a municipality with a population of 5,000 or more by ordinance shall require an installer of an irrigation system to obtain a permit before installing a system within the territorial limits or extraterritorial jurisdiction of the municipality.

(b)  The ordinance shall include minimum standards and specifications for designing, installing, and operating irrigation systems in accordance with Section 1903.0535, Occupations Code, and any rules adopted by the Texas Commission on Environmental Quality or its successor agency under that section.

(c)  A municipality may employ or contract with a licensed plumbing inspector or a registered irrigator to enforce the ordinance.

SECTION 2.  Subchapter B, Chapter 1903, Occupations Code, is amended by adding Sections 1903.0535 and 1903.0536 to read as follows:

Sec. 1903.0535.  IRRIGATION SYSTEM REQUIREMENTS:  NEW SYSTEMS.  (a)  Notwithstanding Section 1903.053, an irrigation system installed on or after January 1, 2007, must meet the requirements of this section.

(b)  An irrigation system must have:

(1)  pressure regulation components if the operating pressure at the sprinkler head, emitter, or watering outlet exceeds the manufacturer's recommended operating range;

(2)  check valves on each sprinkler head if an elevation differential may cause more than minimal head drainage; and

(3)  adjustable flow controls on zone valves and on the master valve.

(c)  The zone valves and zones of an irrigation system must be separated based on water use so that areas that have plants with different watering requirements can be watered independently.

(d)  The emission devices within an irrigation system zone must:

(1)  have matched precipitation rates; and

(2)  be installed in a manner that meets the needs of the plant material at maturity.

(e)  An irrigation system zone may have more than one type of emission device.

(f)  The sprinkler heads of an irrigation system must be spaced:

(1)  in a manner that provides for a minimum of head to head coverage; or

(2)  according to the manufacturer's recommendation.

(g)  An irrigation system must be designed for zero runoff.  The system must be designed so that a sprinkler arc does not pass across a paved area.  The commission may impose requirements regarding irrigating near sidewalks, bike paths, and other impervious surfaces.

(h)  An irrigation system must have an automatic irrigation controller capable of dual or multiple programming.  The controller must:

(1)  have at least three start times for each irrigation program;

(2)  contain a water budgeting feature;

(3)  be programmable to irrigate with a frequency of every one to seven days; and

(4)  have a method to allow rain detection, automatic delay, and suspension or termination of the irrigation cycle.

(i)  An automatic irrigation controller that controls electrically activated valves must have a rain shut-off switch or other similarly effective technology installed.  The commission may exempt areas of the state that receive less than 10 inches of annual average precipitation from this requirement.

(j)  An irrigation system for a nonresidential property in an area of the state where freezing occurs frequently, as determined by the commission, must have a freeze sensor.

(k)  The commission shall set appropriate soil depth coverage for pipes and valves for freeze protection and for maintenance and service practices.

(l)  An irrigation system for a property other than a single-family residential property, as defined by the commission, may not spray water on a median, buffer strip between a sidewalk and a street or between a sidewalk and a parking lot, or parking lot island that is less than four feet wide.

(m)  An irrigation system for a single-family residential property, as defined by the commission, may irrigate the area between a sidewalk and a street in the manner determined by the commission.

(n)  An installer shall provide the owner of an irrigation system with:

(1)  an efficient watering schedule by season or month based on 80 percent of historic evapotranspiration or an alternative method determined by the commission; and

(2)  any other information as determined by the commission.

(o)  An installer shall offer to provide, and shall provide on request, the owner of an irrigation system for residential property with an as-built plan of the irrigation system that shows, at a minimum, the location of the mainlines, valves, and sprinkler heads.

(p)  An installer shall provide the owner of an irrigation system for nonresidential property with an as-built plan of the irrigation system that shows, at a minimum, the location of the mainlines and valves.

(q)  The commission by rule may:

(1)  adopt other requirements that the commission determines would increase the efficiency of an irrigation system; and

(2)  require the use of new advanced technology to accomplish the purposes of this section.

Sec. 1903.0536.  IRRIGATION SYSTEM REQUIREMENTS:  EXISTING SYSTEMS.  Notwithstanding Section 1903.053, an owner of an irrigation system installed before January 1, 2007, that has an automatic irrigation controller that controls electrically activated valves must have a rain shut-off switch or other similarly effective technology installed not later than June 1, 2008.  The commission may exempt areas of the state that receive less than 10 inches of annual average precipitation from this requirement.

SECTION 3.  Not later than June 1, 2006, the Texas Commission on Environmental Quality  shall adopt the rules necessary to implement Section 1903.0535, Occupations Code, as added by this Act, to take effect January 1, 2007.

SECTION 4.  Not later than January 1, 2007, a municipality with a population of 5,000 or more shall adopt an ordinance under Section 401.005, Local Government Code, as added by this Act.

SECTION 5.  This Act takes effect September 1, 2005.