2005S0533-1  03/09/05

By:  Barrientos	S.B. No. 1540

A BILL TO BE ENTITLED

AN ACT

relating to the authority of the Texas Commission on Environmental Quality to issue a permit for land application of treated wastewater in certain situations.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  The purpose of this Act is to authorize the Texas Commission on Environmental Quality to issue a water quality permit for a pilot project to reuse treated wastewater effluent in a manner that is protective of the environment and results in conservation of the state's water resources.

SECTION 2.  Subchapter B, Chapter 26, Water Code, is amended by adding Section 26.0287 to read as follows:

Sec. 26.0287.  PERMIT REQUIREMENTS FOR LAND APPLICATION OF TREATED SEWAGE OR MUNICIPAL OR RECREATIONAL WASTE.  (a)  The commission may issue a permit for land application of treated sewage, municipal waste, or recreational waste and amendments to that permit that allow the discharge of the treated sewage, municipal waste, or recreational waste into or adjacent to water in the state if the permit requires that:

(1)  any treated sewage, municipal waste, or recreational waste have a minimum quality of:

(A)  30-day average five-day carbonaceous biochemical oxygen demand of five milligrams per liter;

(B)  30-day average total suspended solids of five milligrams per liter;

(C)  30-day average ammonia-nitrogen of two milligrams per liter;

(D)  30-day average phosphorus of one milligram per liter; and

(E)  sufficient disinfection to reduce 30-day average fecal coliform to 20 colony forming units per 100 milliliters or less;

(2)  the treated sewage, municipal waste, or recreational waste be disposed of by land application;

(3)  the land application area include area located on lots that are platted as single family residences; and

(4)  the land application area be located within a priority groundwater management area designated by the commission but not located within a groundwater conservation district.

(b)  The commission may not require that a person who owns property upon which disposal of the treated sewage, municipal waste, or recreational waste occurs be a permittee and shall only require that the owner of the treatment facilities or disposal system be a permittee.

(c)  The commission may not issue a permit under this section unless a river authority provides potable water to the area served by the permit.

SECTION 3.  This Act takes effect immediately if it receives a vote of two-thirds of all the members elected to each house, as provided by Section 39, Article III, Texas Constitution.  If this Act does not receive the vote necessary for immediate effect, this Act takes effect September 1, 2005.