80R14385 SGA-F

By:  Puente	H.B. No. 1292

Substitute the following for H.B. No. 1292:

By:  Puente	C.S.H.B. No. 1292

A BILL TO BE ENTITLED

AN ACT

relating to the management of groundwater in the area regulated by the Edwards Aquifer Authority and to the operations and oversight of the authority.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 1.11(f), Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, is amended to read as follows:

(f)  The authority may own, finance, design, [contract with a person who uses water from the aquifer for the authority or that person to] construct, operate, or [own, finance, and] maintain recharge [water supply] facilities or contract with a person who uses water from the aquifer for the authority or that person to own, finance, design, construct, operate, or maintain recharge facilities.  [Management fees or special fees may not be used for purchasing or operating these facilities.]  For the purpose of this subsection, "recharge [water supply] facility" means [includes] a dam, reservoir, [treatment facility, transmission facility,] or other form of recharge project and associated facilities, structures, or works.

SECTION 2.  Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, is amended by adding Section 1.111 to read as follows:

Sec. 1.111.  RECOVERY IMPLEMENTATION PROGRAM FOR LISTED THREATENED AND ENDANGERED SPECIES.  (a)  The authority, the commission, the Parks and Wildlife Department, and the Texas Water Development Board shall cooperate in the development of a recovery implementation program for the species that are:

(1)  listed as threatened or endangered species under federal law; and

(2)  associated with the aquifer.

(b)  The recovery implementation program must be developed through a cooperative agreement with the United States secretary of the interior, through the United States Fish and Wildlife Service, under Section 6(c), Endangered Species Act of 1973 (16 U.S.C. Section 1535).  The authority and the state agencies shall use all good faith efforts to approve and execute the cooperative agreement not later than January 1, 2012, so that the agreement may take effect not later than December 31, 2012.  The cooperative agreement must include agreements by the parties to pursue grant funding to the extent available from all available state, federal, and other sources for eligible programs under the cooperative agreement.  In developing the cooperative agreement, the authority, the commission, the Parks and Wildlife Department, and the Texas Water Development Board shall solicit advice from the United States Fish and Wildlife Service and, to the extent practicable, all interested stakeholders, including the San Antonio Water System, other holders of initial regular permits issued by the authority, the South Central Texas Water Advisory Committee, the Guadalupe-Blanco River Authority, other holders of surface water rights in the Guadalupe River Basin, recreational interests in the Guadalupe River Basin, the Guadalupe Basin Coalition, the Texas Farm Bureau, and environmental interests.

(c)  Not later than October 31 of each even-numbered year, the authority shall file with the governor and each house of the legislature a written report on the progress of the recovery implementation program and any actions taken as a result of the program.

(d)  On completion of the recovery implementation program, the results of the program shall provide the basis for reevaluation and adjustment, if necessary, of the amount of permitted withdrawals authorized under Section 1.14(c) of this article and the withdrawal reduction percentages specified by Section 1.26(b) of this article.

SECTION 3.  Sections 1.14(c), (e), (f), and (h), Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, are amended to read as follows:

(c)  Except as provided by Subsections [(d),] (f)[,] and (h) of this section [and Section 1.26 of this article], for the period beginning January 1, 2008, the amount of permitted withdrawals from the aquifer may not exceed the sum of the amounts of groundwater authorized to be withdrawn under:

(1)  all initial regular permits identified in the Order Implementing a Final Phase-2 Proportional Adjustment and Amending Certain Initial Regular Permits issued by the board on November 8, 2005;

(2)  a final order issued by the board granting an application for an initial regular permit that was timely filed and was pending with the authority on November 8, 2005; and

(3)  a final judgment of a court in:

(A)  an administrative appeal from a final decision of the board on an application for an initial regular permit; and

(B)  any other type of cause of action that requires the authority to issue a permit [400,000 acre-feet of water for each calendar year].

(e)  The authority may not allow withdrawals from the aquifer through wells drilled after June 1, 1993[, except additional water as provided by Subsection (d) and then on an interruptible basis].

(f)  If the level of the aquifer is equal to or greater than 660 [650] feet above mean sea level as measured at Well J-17, the authority may authorize withdrawal from the San Antonio pool, on an uninterruptible basis, of permitted amounts.  If the level of the aquifer is equal to or greater than 845 feet at Well J-27, the authority may authorize withdrawal from the Uvalde pool, on an uninterruptible basis, of permitted amounts.  If the springflow of the San Marcos Springs is equal to or greater than 120 cubic feet per second at the San Marcos Springs gauging station, the authority may authorize withdrawal from the San Marcos pool, on an uninterruptible basis, of permitted amounts.  In accordance with Section 1.26 of this article, the [The] authority shall limit the additional withdrawals to ensure that springflows are not affected during critical drought conditions.

(h)  To accomplish the purposes of this article, [by June 1, 1994,] the authority, through a program, shall implement and enforce water management practices, procedures, and methods to ensure that, not later than December 31, 2012, the continuous minimum springflows of the Comal Springs and the San Marcos Springs are maintained to protect endangered and threatened species to the extent required by federal law.  The authority from time to time as appropriate may revise the practices, procedures, and methods.  To meet this requirement, the authority shall require:

(1)  phased reductions in the amount of water that may be used or withdrawn by existing users or categories of other users in accordance with Section 1.26 of this article; or

(2)  implementation of alternative management practices, procedures, and methods.

SECTION 4.  Section 1.15(c), Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, is amended to read as follows:

(c)  The authority may issue regular permits, term permits, and emergency permits.  Except as provided by Sections 1.14(f) and (h) and 1.26 of this article, initial regular permits may not be issued on an interruptible basis, and the total withdrawals authorized by all initial regular permits issued by the authority may not exceed the limitations provided by Section 1.14 of this article.

SECTION 5.  Section 1.19, Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, is amended by amending Subsection (b) and adding Subsection (d) to read as follows:

(b)  Withdrawal of water under a term permit must be consistent with the authority's critical period management plan established under Section 1.26 of this article.  A holder of a term permit may not withdraw water from the San Antonio pool of the aquifer unless the level of the aquifer is higher than 675 [665] feet above sea level, as measured at Well J-17, and the flow at Comal Springs as determined by Section 1.26(c) of this article is greater than 350 cubic feet per second.

(d)  A holder of a term permit may not withdraw water from the San Marcos pool of the aquifer unless the springflow of the San Marcos Springs is greater than 200 cubic feet per second, as measured at the San Marcos Springs gauging station.

SECTION 6.  Sections 1.21 and 1.26, Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, are amended to read as follows:

Sec. 1.21.  PERMIT RETIREMENT.  (a)  If required in order to implement Section 1.14(h) of this article, the [The] authority shall prepare and, by rule, implement a plan to retire [for reducing, by January 1, 2008,] the amount of groundwater [maximum annual volume of water] authorized under Section 1.14(c) of this article to be withdrawn from the aquifer under initial regular permits to the required reduction level [400,000 acre-feet a year or the adjusted amount determined under Subsection (d) of Section 1.14 of this article].

(b)  The plan must be enforceable and must include [water conservation and reuse measures,] measures to retire water rights in order[, and other water management measures designed] to achieve the required reduction level [levels or appropriate management of the resource].

(c)  The authority may implement the retirement plan through voluntary acquisitions.  If voluntary methods are unsuccessful in attaining the required reduction level, the authority shall reduce the amount of water authorized to be withdrawn under each initial regular permit [If, on or after January 1, 2008, the overall volume of water authorized to be withdrawn from the aquifer under regular permits is greater than 400,000 acre-feet a year or greater than the adjusted amount determined under Subsection (d) of Section 1.14 of this article, the maximum authorized withdrawal of each regular permit shall be immediately reduced] by an equal percentage as [is] necessary to achieve the required reduction level [reduce overall maximum demand to 400,000 acre-feet a year or the adjusted amount, as appropriate].  The amount reduced may be restored, in whole or in part, as other appropriate measures are implemented that maintain overall demand at or below the appropriate amount.

Sec. 1.26.  CRITICAL PERIOD MANAGEMENT PLAN.  (a)  The authority shall prepare and coordinate implementation of a [plan for] critical period management plan in a manner consistent with Sections 1.14(f) and (h) of this article [on or before September 1, 1995].  The mechanisms must:

(1)  distinguish between discretionary use and nondiscretionary use;

(2)  require reductions of all discretionary use to the maximum extent feasible;

(3)  require utility pricing, to the maximum extent feasible, to limit discretionary use by the customers of water utilities; and

(4)  require reduction of nondiscretionary use by permitted or contractual users, to the extent further reductions are necessary, in the reverse order of the following water use preferences:

(A)  municipal, domestic, and livestock;

(B)  industrial and crop irrigation;

(C)  residential landscape irrigation;

(D)  recreational and pleasure; and

(E)  other uses that are authorized by law.

(b)  In this section, "MSL" means the elevation, measured in feet, of the surface of the water in a well above mean sea level, and "CFS" means cubic feet per second.  Not later than January 1, 2008, the authority shall, by rule, adopt and enforce a critical period management plan with withdrawal reduction percentages in the amounts indicated in Tables 1, 2, and 3, whether according to the index well levels or Comal Springs flow as may be applicable, for a total in critical period Stage IV of 40 percent of the permitted withdrawals under Table 1, 30 percent under Table 2, and 40 percent under Table 3:

TABLE 1 - CUMULATIVE CRITICAL PERIOD WITHDRAWAL REDUCTION STAGES FOR THE SAN ANTONIO POOL

| INDEX WELL J-17 LEVEL MSL | COMAL SPRINGS FLOW CFS | SAN MARCOS SPRINGS FLOW CFS | CRITICAL PERIOD STAGE | WITHDRAWAL REDUCTION PERCENTAGE |
| --- | --- | --- | --- | --- |
| <660 | N/A | <96 | I | 15% |
| <650 | N/A | <80 | II | 5% |
| <640 | <150 | N/A | III | 10% |
| <630 | <100 | N/A | IV | 10% |

TABLE 2 - CUMULATIVE CRITICAL PERIOD WITHDRAWAL REDUCTION STAGES FOR THE UVALDE POOL

| INDEX WELL J-27 LEVEL MSL | CRITICAL PERIOD STAGE | WITHDRAWAL REDUCTION PERCENTAGE |
| --- | --- | --- |
| N/A | N/A | N/A |
| N/A | II | N/A |
| <845 | III | 15% |
| <842 | IV | 15% |

TABLE 3 - CUMULATIVE CRITICAL PERIOD WITHDRAWAL REDUCTION STAGES FOR THE SAN MARCOS POOL

| SAN MARCOS SPRINGS LEVEL MSL | CRITICAL PERIOD STAGE | WITHDRAWAL REDUCTION PERCENTAGE |
| --- | --- | --- |
| <120 | I | 20% |
| <110 | II | 5% |
| <96 | III | 5% |
| <80 | IV | 10% |

(c)  The authority shall continuously track the average daily discharge rate measured over each period of five consecutive days at the Comal Springs to determine whether a reduction in withdrawals to the Stage III reduction level is required.  The authority shall track the average daily discharge rate measured for any five days in a period of 10 consecutive days to determine whether a reduction in withdrawals to the Stage IV reduction level is required.  If, after a reduction in withdrawals to the Stage IV reduction level is required, the discharge rate at the Comal Springs or the San Marcos Springs declines by an additional 15 percent, the board, by order, may require further withdrawal reductions.  Notwithstanding any other provision of this article, the aggregate permitted withdrawals for the San Antonio pool, the Uvalde pool, and any other pool defined under Section 1.14(g) of this article may not be reduced to less than 340,000 acre-feet for each calendar year.

(d)  From time to time, the authority, by rule, may amend the withdrawal reduction criteria of the authority's critical period management plan as set forth in Subsection (b) of this section based on consultation with and consideration of any recommendations of the United States Fish and Wildlife Service.

SECTION 7.  Sections 1.29(a), (b), (d), and (i), Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, are amended to read as follows:

(a)  Seventy-five percent of the [The] cost of [reducing withdrawals or] permit retirements under Section 1.21 of this article must be borne[:

[(1)  solely by users of the aquifer for reducing withdrawals from the level on the effective date of this article to 450,000 acre-feet a year, or the adjusted amount determined under Subsection (d) of Section 1.14 of this article for the period ending December 31, 2007; and

[(2) equally] by aquifer users and 25 percent of the cost must be borne by [downstream] water rights holders whose points of diversion are downstream of the Comal Springs and the San Marcos Springs in the Guadalupe River Basin [for permit retirements from 450,000 acre-feet a year, or the adjusted amount determined under Subsection (d) of Section 1.14 of this article for the period ending December 31, 2007, to 400,000 acre-feet a year, or the adjusted amount determined under Subsection (d) of Section 1.14 of this article, for the period beginning January 1, 2008].

(b)  The authority shall assess equitable aquifer management fees based on aquifer use under the water management plan to finance its administrative expenses and programs authorized under this article.  Each water district governed by Chapter 36 [52], Water Code, that is within the authority's boundaries may contract with the authority to pay expenses of the authority through taxes in lieu of user fees to be paid by water users in the district.  The contract must provide that the district will pay an amount equal to the amount that the water users in the district would have paid through user fees.  The authority may not collect a total amount of fees and taxes that is more than is reasonably necessary for the administration of the authority.

(d)  The commission shall assess equitable special fees on all [downstream] water rights holders whose points of diversion are downstream of the Comal Springs and the San Marcos Springs in the Guadalupe River Basin to be used solely to finance the retirement of aquifer rights necessary to meet the goals provided by Section 1.21 of this article. Fees assessed under this subsection may not exceed 25 percent [one-half] of the total cost of permit retirements under Section 1.21 of this article [from 450,000 acre-feet a year, or the adjusted amount determined under Subsection (d) of Section 1.14 of this article, for the period ending December 31, 2007, to 400,000 acre-feet a year for the period beginning January 1, 2008].  The authority shall report to the commission the estimated costs of the retirements.  The amount of fees assessed under this subsection shall be determined in accordance with rules adopted by the commission for fees under the South Texas watermaster program with adjustments as necessary to ensure that fees are equitable between users, including priority and nonpriority hydroelectric users. A downstream water rights holder shall pay fees assessed under this subsection to the authority.  A fee may not be assessed by the commission under this subsection on contractual deliveries of water stored in Canyon Lake that may be diverted downstream of the San Marcos Springs or Canyon Dam.  A person or entity making a contractual sale of water stored upstream of Canyon Dam may not establish a systemwide rate that requires purchasers of upstream-stored water to pay the special fee assessed under this subsection.

(i)  The authority shall provide money or services as necessary, but not to exceed $75,000 annually [five percent of the money collected under Subsection (d) of this section], to finance the South Central Texas Water Advisory Committee's administrative expenses and programs authorized under this article.

SECTION 8.  Section 1.45(a), Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, is amended to read as follows:

(a)  The authority may own, finance, design, construct, [build or] operate, and maintain recharge dams and associated facilities, structures, or works in the contributing or recharge area of the aquifer if the recharge is made to increase the yield of the aquifer and the recharge project does not impair senior water rights or vested riparian rights.

SECTION 9.  Sections 1.14(b) and (d) and 1.18, Chapter 626, Acts of the 73rd Legislature, Regular Session, 1993, are repealed.

SECTION 10.  This Act takes effect September 1, 2007.