By:  Bonnen	H.B. No. 3859

A BILL TO BE ENTITLED

AN ACT

relating to certain applications filed with Texas Commission on Environmental Quality.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 382.05185 of the Health and Safety Code is amended to add the following new subsection (j):

(j)  The commission may grant permits for new coal-fired steam electric generating units utilizing conventional pulverized coal or circulating fluidized bed technology with applications filed after or pending as of [DATE] only if the unit meets the following criteria:

(1)  the unit will utilize an air-cooled condenser, or other dry cooling technology, for the steam [alternatively, specify limit on water usage -- i.e., the unit will utilize less than XXX water per megawatt], and

(2)  such other controls are proposed for the site through new permit applications or implementing other measures such as fuel switching, or a combination of new applications and fuel switching, to achieve offsetting emissions for the facilities covered by the application to result in no significant project emissions increase under the Nonattainment New Source Review (NNSR) or Prevention of Significant Deterioration (PSD) permitting programs for nitrogen oxides or sulfur dioxide, nor result in a net site increase in mercury emissions, to be achieved within two years of commercial operation of the new generating unit.

SECTION 2.  This Act takes effect immediately if it receives a vote of two-thirds of all the members elected to each house, as provided by Section 39, Article III, Texas Constitution.  If this Act does not receive the vote necessary for immediate effect, this Act takes effect September 1, 2007.