By:  Van de Putte, et al.	S.B. No. 338

A BILL TO BE ENTITLED

AN ACT

relating to carbon monoxide alarms and smoke detectors in certain residential dwellings.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  This Act shall be known as the Senator Frank Madla Act.

SECTION 2.  Subtitle A, Title 9, Health and Safety Code, is amended by adding Chapter 766 to read as follows:

CHAPTER 766.  FIRE SAFETY IN RESIDENTIAL DWELLINGS

Sec. 766.001.  DEFINITIONS.  In this chapter:

(1)  "Carbon monoxide alarm" means a device that detects and sounds an alarm to indicate the presence of a harmful level of carbon monoxide gas.

(2)  "Department" means the Texas Department of Insurance.

(3)  "Fossil fuel" includes coal, kerosene, oil, wood, fuel gases, and other petroleum or hydrocarbon products.

(4)  "One-family or two-family dwelling" means a structure that has one or two residential units that are occupied as, or designed or intended for occupancy as, a residence by individuals.

(5)  "Smoke detector" means a device or a listed component of a system that detects and sounds an alarm to indicate the presence of visible or invisible products of combustion in the air.

(6)  "Smoke detector for hearing-impaired persons" has the meaning assigned by Section 792.001.

Sec. 766.002.  SMOKE DETECTOR REQUIREMENT.  (a)  Each one-family or two-family dwelling constructed in this state must have working smoke detectors installed in the dwelling in accordance with the smoke detector requirements of the building code in effect in the political subdivision in which the dwelling is located, including performance, location, and power source requirements.

(b)  If a one-family or two-family dwelling does not comply with the smoke detector requirements of the building code in effect in the political subdivision in which the dwelling is located, any home improvement to the dwelling that requires the issuance of a building permit must include the installation of smoke detectors in accordance with the building code in effect in the political subdivision in which the dwelling is located, including performance, location, and power source requirements.

(c)  Title to an existing one-family or two-family dwelling may not be transferred unless there are working smoke detectors installed in the dwelling in accordance with the smoke detector requirements of the building code in effect in the political subdivision in which the dwelling is located, including performance, location, and power source requirements.  If title to an existing one-family or two-family dwelling is transferred to a hearing-impaired person, any smoke detector required under the building code in effect in the political subdivision must be a smoke detector for a hearing-impaired person.

Sec. 766.0025.  FRATERNITY AND SORORITY HOUSES.  (a)  In this section, "fraternity or sorority house" means a dwelling that:

(1)  is a separate structure and that is not a multiunit residential property composed of multiple independent residential units; and

(2)  serves as living quarters for members of a fraternity or sorority.

(b)  The owner of a fraternity or sorority house must have working smoke detectors installed in the fraternity house or sorority house in accordance with the smoke detector requirements of the building code in effect in the political subdivision in which the fraternity or sorority house is located, including performance, location, and power source requirements.

Sec. 766.003.  INFORMATION RELATING TO FIRE SAFETY AND CARBON MONOXIDE DANGERS.  (a)  The department shall prepare information of public interest relating to:

(1)  fire safety in the home; and

(2)  the dangers of carbon monoxide.

(b)  The information must inform the public about:

(1)  ways to prevent fires in the home, and actions to take if a fire occurs in the home;

(2)  the need to test smoke detectors every month to ensure the smoke detector is working;

(3)  replacing the battery in a battery-operated smoke detector every six months;

(4)  the need to have fire safety equipment in the home, including fire extinguishers and emergency escape ladders;

(5)  the need to develop and practice a fire escape plan;

(6)  the availability of carbon monoxide detectors;

(7)  using carbon monoxide alarms as a backup to prevent carbon monoxide poisoning; and

(8)  the need to properly use and maintain fossil fuel-burning appliances.

(c)  The department shall distribute the information described by this section to the public in any manner the department determines is cost-effective, including providing the information on the department's Internet website and publishing informational pamphlets.

SECTION 3.  Subsection (b), Section 5.008, Property Code, is amended to read as follows:

(b)  The notice must be executed and must, at a minimum, read substantially similar to the following:

SELLER'S DISCLOSURE NOTICE

CONCERNING THE PROPERTY AT	___________________________________

(Street Address and City)

THIS NOTICE IS A DISCLOSURE OF SELLER'S KNOWLEDGE OF THE CONDITION OF THE PROPERTY AS OF THE DATE SIGNED BY SELLER AND IS NOT A SUBSTITUTE FOR ANY INSPECTIONS OR WARRANTIES THE PURCHASER MAY WISH TO OBTAIN.  IT IS NOT A WARRANTY OF ANY KIND BY SELLER OR SELLER'S AGENTS.

Seller __ is __ is not occupying the Property.

If unoccupied, how long since Seller has occupied the Property?

________________________________________________________________

1.  The Property has the items checked below:

Write Yes (Y), No (N), or Unknown (U).

| __ Range |  | __ Oven |  | __ Microwave |
| --- | --- | --- | --- | --- |
| __ Dishwasher |  | __ Trash Compactor |  | __ Disposal |
| __ Washer/Dryer |  | __ Window |  | __ Rain Gutters |
| Hookups |  | Screens |  |  |
| __ Security |  | __ Fire Detection |  | __ Intercom |
| System |  | Equipment |  | System |
|  |  | __ Smoke Detector |  |  |
|  |  | __ Smoke Detector - |  |  |
|  |  | Hearing Impaired |  |  |
|  |  | __ Carbon Monoxide |  |  |
|  |  | Alarm |  |  |
|  |  | __ Emergency Escape |  |  |
|  |  | Ladder(s) |  |  |
| __ TV Antenna |  | __ Cable TV |  | __ Satellite |
|  |  | Wiring |  | Dish |
| __ Ceiling Fan(s) |  | __ Attic Fan(s) |  | __ Exhaust |
|  |  |  |  | Fan(s) |
| __ Central A/C |  | __ Central Heating |  | __ Wall/Window Air |
|  |  |  |  | Conditioning |
| __ Plumbing System |  | __ Septic System |  | __ Public Sewer |
|  |  |  |  | System |
| __ Patio/Decking |  | __ Outdoor Grill |  | __ Fences |
| __ Pool |  | __ Sauna |  | __ Spa |
|  |  |  |  | __ Hot Tub |
| __ Pool Equipment |  | __ Pool Heater |  | __ Automatic Lawn |
|  |  |  |  | Sprinkler |
|  |  |  |  | System |
| __ Fireplace(s) & |  |  |  | __ Fireplace(s) & |
| Chimney |  |  |  | Chimney |
| (Woodburning) |  |  |  | (Mock) |
| __ Gas Lines |  |  |  | __ Gas Fixtures |
| (Nat./LP) |  |  |  |  |
| Garage: __ Attached |  | __ Not Attached |  | __ Carport |
| Garage Door Opener(s): |  | __ Electronic |  | __ Control(s) |
| Water Heater: |  | __ Gas |  | __ Electric |
| Water Supply: __ City |  | __ Well __ MUD |  | __ Co-op |

Roof Type: ________________________________Age: _____(approx)

Are you (Seller) aware of any of the above items that are not in working condition, that have known defects, or that are in need of repair?  __ Yes  __ No  __ Unknown.

If yes, then describe.  (Attach additional sheets if necessary):

________________________________________________________________

________________________________________________________________

2.  Are you (Seller) aware of any known defects/malfunctions in any of the following?

Write Yes (Y) if you are aware, write No (N) if you are not aware.

|  | __ Interior Walls |  | __ Ceilings |  | __ Floors |
| --- | --- | --- | --- | --- | --- |
|  | __ Exterior Walls |  | __ Doors |  | __ Windows |
|  | __ Roof |  | __ Foundation/ |  | __ Basement |
|  |  |  | Slab(s) |  |  |
|  | __ Walls/Fences |  | __ Driveways |  | __ Sidewalks |
|  | __ Plumbing/Sewers/ |  | __ Electrical |  | __ Lighting |
|  | Septics |  | Systems |  | Fixtures |

__ Other Structural Components (Describe):	____________________

________________________________________________________________

________________________________________________________________

If the answer to any of the above is yes, explain.  (Attach additional sheets if necessary):	_____________________________

________________________________________________________________

________________________________________________________________

3.  Are you (Seller) aware of any of the following conditions?

Write Yes (Y) if you are aware, write No (N) if you are not aware.

| __ Active Termites |  | __ Previous Structural |
| --- | --- | --- |
| (includes |  | or Roof Repair |
| wood-destroying insects) |  |  |
| __ Termite or Wood Rot Damage |  | __ Hazardous or Toxic Waste |
| Needing Repair |  |  |
| __ Previous Termite Damage |  | __ Asbestos Components |
| __ Previous Termite |  | __ Urea formaldehyde |
| Treatment |  | Insulation |
| __ Previous Flooding |  | __ Radon Gas |
| __ Improper Drainage |  | __ Lead Based Paint |
| __ Water Penetration |  | __ Aluminum Wiring |
| __ Located in 100-Year |  | __ Previous Fires |
| Floodplain |  |  |
| __ Present Flood Insurance |  | __ Unplatted Easements |
| Coverage |  |  |
| __ Landfill, Settling, Soil |  | __ Subsurface |
| Movement, Fault Lines |  | Structure or Pits |

If the answer to any of the above is yes, explain.  (Attach additional sheets if necessary):	_____________________________

________________________________________________________________

________________________________________________________________

4.  Are you (Seller) aware of any item, equipment, or system in or on the property that is in need of repair?  __ Yes (if you are aware)  __ No (if you are not aware).  If yes, explain (attach additional sheets as necessary). ________________________________

5.  Are you (Seller) aware of any of the following?

Write Yes (Y) if you aware, write No (N) if you are not aware.

| __ | Room additions, structural modifications, or other alterations or repairs made without necessary permits or not in compliance with building codes in effect at that time. |
| --- | --- |
| __ | Homeowners' Association or maintenance fees or assessments. |
| __ | Any "common area" (facilities such as pools, tennis courts, walkways, or other areas) co-owned in undivided interest with others. |
| __ | Any notices of violations of deed restrictions or governmental ordinances affecting the condition or use of the Property. |
| __ | Any lawsuits directly or indirectly affecting the Property. |
| __ | Any condition on the Property which materially affects the physical health or safety of an individual. |

If the answer to any of the above is yes, explain.  (Attach additional sheets if necessary):	_____________________________

________________________________________________________________

________________________________________________________________

_______________	________________________________________

Date                     Signature of Seller

The undersigned purchaser hereby acknowledges receipt of the foregoing notice.

_______________	________________________________________

Date                     Signature of Purchaser

SECTION 4.  Subchapter F, Chapter 92, Property Code, is amended by adding Section 92.2571 to read as follows:

Sec. 92.2571.  ALTERNATIVE COMPLIANCE.  A landlord complies with the requirements of this subchapter relating to the provision of smoke detectors in the dwelling unit if the landlord:

(1)  has a fire detection device, as defined by Article 5.43-2, Insurance Code, that includes a smoke detection device installed in a dwelling unit; or

(2)  for a dwelling unit that is a one-family or two-family dwelling unit, installs smoke detectors in compliance with Chapter 766, Health and Safety Code.

SECTION 5.  The change in law made by this Act to Section 5.008, Property Code, applies only to a notice executed on or after the effective date of this Act.  A notice executed before the effective date of this Act is governed by the law in effect immediately before that date, and that law is continued in effect for that purpose.

SECTION 6.  This Act takes effect September 1, 2007.