2011S0573-1  03/04/11

By:  Hinojosa	S.B. No. 1318

A BILL TO BE ENTITLED

AN ACT

relating to design, construction, and renovation standards for state buildings and facilities.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  The purpose of this Act is to implement high-performance building standards in the design and construction or renovation of state buildings in order to realize utility cost savings and operating cost savings to the state.

SECTION 2.  Subchapter I, Chapter 2166, Government Code, is amended by adding Section 2166.407 to read as follows:

Sec. 2166.407.  HIGH-PERFORMANCE, SUSTAINABLE DESIGN, CONSTRUCTION, AND RENOVATION STANDARDS FOR STATE BUILDINGS.  (a)  This section applies to the construction of a state building, or the renovation of a state building the cost of which is more than 50 percent of the value of the building, including a building for education, assembly, or office occupancy under the charge and control of the Texas Department of Transportation, the Parks and Wildlife Department, the Texas Department of Housing and Community Affairs, the Texas State Affordable Housing Corporation, or the Veterans' Land Board that is otherwise exempt from this chapter under Section 2166.003.  This section does not apply to a facility under the charge and control of the Texas Department of Criminal Justice or the Texas Youth Commission.

(b)  A building to which this section applies must be designed and constructed or renovated so that the building meets a high-performance building standard approved by the commission that:

(1)  is developed and revised through a nationally recognized consensus-based process or by a municipally owned utility in this state;

(2)  provides minimum requirements for energy use, natural resources use, and indoor air quality;

(3)  requires substantiating documentation for certification;

(4)  requires an on-site, third-party, post-construction review and verification for certification or a third-party, post-construction, rigorous review of documentation and verification for certification; and

(5)  encourages the use of materials or products manufactured or produced in this state.

(c)  The commission shall appoint an advisory committee to advise the commission in determining which high-performance building standards to approve for use under Subsection (b).  At least once each year, the advisory committee shall review available high-performance building standards and make recommendations to the commission.  The advisory committee consists of:

(1)  the director of facilities construction and space management appointed under Section 2152.104, who serves as the presiding officer of the committee;

(2)  six individuals with experience and expertise in high-performance buildings or related products, including experience and expertise in energy efficiency, water efficiency, or low-impact site development, with one individual selected from each of the following lists of nominees:

(A)  a list submitted by the president of the Texas Society of Architects;

(B)  a list submitted by the presidents of the Texas Council of Engineering Companies and Texas Society of Professional Engineers;

(C)  a list submitted by the president of the Associated Builders and Contractors of Texas and the presiding officer of the executive committee of the Associated General Contractors, Texas Building Branch;

(D)  a list submitted by the president of the Texas chapter of the American Society of Landscape Architects;

(E)  a list submitted by the president of the Texas Chemical Council; and

(F)  a list of registered interior designers submitted by the president of the Texas Association for Interior Design;

(3)  one individual appointed by the comptroller who represents the State Energy Conservation Office;

(4)  one individual representing a state agency that has a substantial ongoing construction program; and

(5)  one individual representing the interests of historically underutilized businesses.

(d)  In addition to meeting the requirements of Subsection (b), a building to which this section applies must be designed and constructed or renovated so that the building:

(1)  meets the American Society of Heating, Refrigerating and Air-Conditioning Engineers energy standards in effect on September 1, 2011, or the International Energy Conservation Code in effect on September 1, 2011, or an updated version of those standards or that code adopted by the State Energy Conservation Office under Subsection (e), if applicable; and

(2)  achieves a 15 percent reduction in water use when compared to water use based on plumbing fixtures selected in accordance with the Energy Policy Act of 1992 (Pub. L. No. 102-486).

(e)  If the State Energy Conservation Office determines, based on written recommendations from the Energy Systems Laboratory at the Texas Engineering Experiment Station of The Texas A&M University System, that the latest published edition of the Heating, Refrigerating and Air-Conditioning Engineers energy standards or the International Energy Conservation Code will result in energy efficiency and air quality that is equivalent to or better than the energy efficiency and air quality achievable under the editions described by Subsection (d)(1), the office by rule shall adopt the equivalent or more stringent editions and substitute them for the standards or code described by Subsection (d)(1).  The rule, if adopted, must establish an effective date for the new standards or code but not earlier than nine months after the date of adoption.  The laboratory shall make its recommendations not later than six months after the date of publication of the new editions.

(f)  A contract between the commission and a private design professional relating to services in connection with the construction or renovation of a building to which this section applies must provide that, for billing purposes, any service provided by the private design professional that is necessary to satisfy the requirements of Subsection (b) or (d) is considered an additional service rather than a basic service.

SECTION 3.  Subchapter B, Chapter 55, Education Code, is amended by adding Section 55.115 to read as follows:

Sec. 55.115.  HIGH-PERFORMANCE, SUSTAINABLE DESIGN, CONSTRUCTION, AND RENOVATION STANDARDS FOR CERTAIN FACILITIES.  (a)  This section applies to the construction of an institution of higher education building, structure, or other facility, or the renovation of a building, structure, or other facility the cost of which is more than 50 percent of the value of the building, structure, or other facility, any part of the construction or renovation of which is financed by revenue bonds issued under this subchapter.

(b)  A building, structure, or other facility to which this section applies must be designed and constructed or renovated so that the building, structure, or other facility complies with high-performance building standards, approved by the board of regents of the institution, that provide minimum requirements for energy use, natural resources use, and indoor air quality in order to realize savings to the institution in utility costs and other operating costs.  In approving high-performance building standards, a board of regents shall consider the standards approved by the Texas Facilities Commission under Section 2166.407, Government Code, and may solicit and consider recommendations from the advisory committee appointed under that section.

(c)  In addition to meeting the requirements of Subsection (b), a building, structure, or other facility to which this section applies must be designed and constructed or renovated to comply with the applicable energy and water conservation design standards established by the State Energy Conservation Office under Section 447.004, Government Code.

SECTION 4.  Section 55.115, Education Code, and Section 2166.407, Government Code, as added by this Act, apply only to an institution of higher education building, structure, or other facility or a state building for which the contract for design services is entered into on or after September 1, 2013.

SECTION 5.  This Act takes effect September 1, 2011.