S.B. No. 1598

AN ACT

relating to the inspection of portable fire extinguishers.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Section 6001.002, Insurance Code, is amended by adding Subdivision (5-a) and amending Subdivision (7) to read as follows:

(5-a)  "Portable fire extinguisher inspection" means a monthly inspection to ensure that a portable fire extinguisher:

(A)  is in the extinguisher's designated location;

(B)  has not been actuated or subject to tampering; and

(C)  does not have any obvious physical damage or another condition that may prevent proper operation of the extinguisher.

(7)  "Service" and "servicing" mean servicing a portable fire extinguisher or a fixed fire extinguisher system by [inspecting,] charging, filling, maintaining, recharging, refilling, repairing, or testing.

SECTION 2.  Subsection (a), Section 6001.156, Insurance Code, is amended to read as follows:

(a)  The licensing provisions of this chapter do not apply to:

(1)  the filling or charging of a portable fire extinguisher by the manufacturer before initial sale of the fire extinguisher;

(2)  the servicing by a firm of the firm's portable fire extinguishers or fixed systems by  the firm's personnel who are specially trained for that servicing;

(2-a) the inspection of a firm's portable fire extinguisher by a person who is:

(A)  specially trained to perform portable fire extinguisher inspections; and

(B)  under contract with the firm for that purpose;

(3)  the installation of portable fire extinguishers in a building by the building owner, the owner's managing agent, or an employee of the building owner or the owner's managing agent;

(4)  the installation or servicing of water sprinkler systems installed in compliance with the National Fire Protection Association's Standards for the Installation of Sprinkler Systems;

(5)  a firm that is engaged in the retail or wholesale sale of portable fire extinguishers that carry an approval label or listing of a testing laboratory approved by the department, but that is not engaged in the installation or servicing of those extinguishers;

(6)  a fire department that services portable fire extinguishers as a public service without charge, if the members of the fire department are trained in the proper servicing of the fire extinguishers;

(7)  a firm that is a party to a contract under which:

(A)  the installation of portable fire extinguishers or a fixed fire extinguisher system is performed under the direct supervision of and certified by a firm appropriately registered to install and certify portable extinguishers or fixed systems; and

(B)  the registered firm assumes full responsibility for the installation; or

(8)  an engineer licensed under Chapter 1001, Occupations Code, while acting solely in the engineer's professional capacity.

SECTION 3.  This Act takes effect September 1, 2011.

______________________________	______________________________
President of the Senate             Speaker of the House

I hereby certify that S.B. No. 1598 passed the Senate on April 21, 2011, by the following vote:  Yeas 31, Nays 0.

______________________________
    Secretary of the Senate

I hereby certify that S.B. No. 1598 passed the House on May 20, 2011, by the following vote:  Yeas 149, Nays 0, one present not voting.

______________________________
    Chief Clerk of the House

Approved:


______________________________
             Date



______________________________
           Governor