88R2708 BDP-D

By:  Canales, Leach, Sherman, Sr., Burrows, H.B. No. 1708

     Moody

A BILL TO BE ENTITLED

AN ACT

relating to the temperature at which a facility operated by the Texas Department of Criminal Justice is maintained.

BE IT ENACTED BY THE LEGISLATURE OF THE STATE OF TEXAS:

SECTION 1.  Subchapter A, Chapter 501, Government Code, is amended by adding Section 501.028 to read as follows:

Sec. 501.028.  TEMPERATURE REQUIREMENTS AT DEPARTMENT FACILITIES. The department shall ensure that the temperature in each facility operated by the department is maintained at not less than 65 degrees Fahrenheit or more than 85 degrees Fahrenheit.

SECTION 2.  The Texas Department of Criminal Justice is not required to comply with the requirements of Section 501.028, Government Code, as added by this Act, until September 1, 2024.

SECTION 3.  This Act takes effect immediately if it receives a vote of two-thirds of all the members elected to each house, as provided by Section 39, Article III, Texas Constitution. If this Act does not receive the vote necessary for immediate effect, this Act takes effect September 1, 2023.